Phase II MS4 Stormwater Management Program

City of Webb City, MO

Permit Number 40046

Permit Term 2021-2026

Date of Revision: January 2021

SWMP Information Page

Table of Contents and Appendices:

MCM 1: Public Education and Outreach							4

MCM 2: Public Involvement/Participation in Program Development			12

MCM 3: Illicit Discharge Detection and Elimination						16

MCM 4: Construction Site Stormwater Runoff Control					23

MCM 5: Post-Construction Stormwater Management in New Development and Redevelopment										30

MCM 6: Pollution Prevention/Good Housekeeping for Municipal Operations		33

Appendices											41

Contact Information (3.1.B):

Primary Contact and Primary Person Responsible for all MCMs:

Russell Ball, Public Works Department Code Enforcement & Stormwater

Phone: 417-673-6297 Ext. 351/Email: rball@webbcity.org

TMDL Information:

Not Applicable

Co-Permittee Information (3.2):

Not Applicable

Stormwater Program Review and BMP Iterative Process (3.3):

The City evaluates the Stormwater Management Program and all BMPs in the SWMP annually for effectiveness and to identify areas for improvement.  The information collected is included in the City’s annual report.

MINIMUM CONTROL MEASURES

MCM 1. Public Education and Outreach of Stormwater Impacts

The permittee shall implement a public education program to distribute educational materials to the community and/or conduct equivalent outreach activities about the impacts of stormwater discharges on water bodies and the steps that the public can take to reduce pollutants in stormwater runoff.

4.1.A  	Identify target audiences and explain why the target audiences are likely to have significant stormwater pollution impacts in the SWMP;

4.1.B    Identify target pollutants and/or sources of pollution that the permittee’s education program is designed to address and how those pollutants/sources relate to the specific target audience(s); and

4.1.C    Develop or utilize appropriate educational BMPs (materials, events, activities, etc.) to be used in conjunction with the target pollutants and target audiences.  Explain opportunities about the BMPs and how the BMPs inform and educate target audiences to reduce pollutants in stormwater runoff.

| Target Audiences: 4.1.A | Explanation of Why Audience was Chosen: | Target Pollutants: 4.1.B | Sources of Pollution: | Educational BMP(s): 401.C | Goal of BMP |
| --- | --- | --- | --- | --- | --- |
| Residents | Every person within our corporate city limits has the potential to cause some sort of stormwater pollution | Oil, grease, fluids from vehicles, grass clippings & leaf litter, vehicle washing, swimming pool discharges, dumping of solid wastes | Vehicle Maintenance, Animal Waste, household waste | Handouts on Household ways to protect stormwater Fact Sheets on common activities Website | Educate residents on impacts of various activities to water quality. |
| Contractors/Developers | Improperly managed land disturbance sites lead to sediment runoff, chemical/toxics spills, trash/waste/floatables leaving the site | Sediment/Suspended Solids, Chemicals/toxics, floatables | Construction workers | 1.Handouts on proper site management given out during permitting 2. Site management discussion during pre-construction meeting | Educate construction workers on the importance of proper installation of site BMPs and site management to reduce target pollutants in runoff |
| Lawn Care Businesses | Improperly managed lawn care activities lead to over-application of fertilizers or weeding chemicals and improper disposal of leaf litter or grass clippings | Fertilizers (nutrients), chemicals/toxics, yard waste | Lawn care workers | Educational mailers to lawn care businesses on proper care and waste disposal | Educate lawn care professionals on the importance of proper application of fertilizers and chemicals and proper disposal of yard waste to reduce target pollutants in runoff |
| Food Service Businesses | As a larger number of businesses in our city, food service has a higher chance for adversely effecting local streams. | Litter, trash containment, Oil, Grease, fluids from vehicles | Power Washing, Litter/Trash Containment | Educational Brochure | Educate these businesses of recommender practices for water quality purposes. |
| Auto/Fuel Businesses | Since just a few drops of petroleum products can contaminate great amounts of water, this audience was chosen | Oil, grease, fluids from vehicles | Oil, Grease, fluids from vehicles | Educational Brochure | Educate these businesses of recommender practices for water quality purposes. |
| Students | If residents can be educated at younger ages, we believe it will be easier to reach future generations | Oil, grease, fluids from vehicles, grass clippings & leaf litter, vehicle washing, swimming pool discharges, dumping of solid wastes | Vehicle Maintenance, Animal Waste, household waste | Handouts School Presentations | Educate students and provide opportunities for volunteers |

| MCM # 1 Measurable Goal BMP 1 | Stormwater Webpage Tracking- Track the number of visitors to our stormwater informational page (include link) and content within the webpage each year. Update the webpage content with the most current and best information available. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | The internet allows for unlimited access to our target audiences to provide education, readily available information, and a platform for 24/7/365 access to submit feedback, questions, or concerns on environmental issues. |  |  |
| Permit Section | 4.1.C |  |  |
| BMP Goal/Intended Outcome | Educate the public and target audiences on environmental issues. The intended outcome for the BMP is to see an increase in webpage use as the public becomes aware of environmental issues. |  | Annual Performance Tracking (per year of permit cycle) Yr. 1 Yr. 2 Yr. 3 Yr. 4 Yr. 5 |
| Total visitors to webpage Stormwater brochure views Yard Waste Fact Sheet views Pet Waste Fact Sheet views Fertilizer Fact Sheet views Litter Fact Sheet views Car Wash Fact Sheet views Separate Storm Sewer Fact Sheet views Rain Barrel brochure views Rain Garden brochure views Citizens Guide to Stopping Pollution views SWMP document reviews |  |  |  |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 1 Measurable Goal BMP 2 | Educational Brochures/Materials- Track the number of educational materials distributed during the permit cycle. The City shall have as its goal to distribute 4,730 educational pieces per year. This number was determined by the number of households in the latest census. Our plan is to separate the community into four sections and we will place door hangers on each residence in quadrant one in 2022, one quadrant in 2023, one quadrant in 2024, and one quadrant in 2025. Additionally, we shall use the following opportunities (below) to meet the goal of educational pieces distributed. - New Resident Guides will be distributed to new households requesting water utility service. In addition to city features, stormwater education will be presented. - Brochures and Activity Books will be distributed to students in the Webb City School District. - Distribute Educational Materials at Booth Displays - Distribute Educational Materials at Annual Training events for residents. - Distribute Educational Materials with Building Permits - Distribute Educational Materials to Contractors - Distribute Educational Materials to Food Industry Businesses - Distribute Educational Materials to Auto/Fuel Businesses |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | Placing reading material in the hands of the members of our community so they are aware of the Stormwater program and its ancillary environmental concerns. |  |  |
| Permit Section | 4.1.C |  |  |
| BMP Goal/Intended Outcome | Educate the public and target audiences on environmental issues. |  | Annual Performance Tracking (per year of permit cycle) Yr.1 Yr. 2 Yr. 3 Yr. 4 Yr. 5 |
| Total Number of Educational Materials Distributed |  |  |  |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 1 Measurable Goal BMP 3 | Media/Advertising Campaign- Develop topics that address activities and/or pollutants of concern. This advertisement will be active for a minimum of three months. Locations to be considered will be Billboards, benches, movie theater, or other area of high visibility. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | Adding a “visual component” to our Education program will help reach the “non-reader” as to the effects of stormwater pollution, etc. |  |  |
| Permit Section | 4.1.C |  |  |
| BMP Goal/Intended Outcome | Educate the public and target audiences on environmental issues. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 1 Measurable Goal BMP 4 | Storm Drain Stenciling- Placard, stencil, or paint a minimum of 10% of all known stormwater inlets per year. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | Visual reminder to residents to not litter. Will also help with MCM #3 on dry weather screenings. |  |  |
| Permit Section | 4.1.C |  |  |
| BMP Goal/Intended Outcome | Educate the public and target audiences on environmental issues and assist with MCM #3 for dry weather screening. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 1 Measurable Goal BMP 5 | Training Events- Train residents or work a project on a stormwater related topic. A minimum of one event shall be held annually. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To not only educate but give residents an opportunity to avoid negative impacts on water quality. |  |  |
| Permit Section | 4.1.D |  |  |
| BMP Goal/Intended Outcome | Educate the public and target audiences on environmental issues; community involvement |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 1 Measurable Goal BMP 6 | Booth Display- A School, public event we shall provide an educational display. A minimum of one event shall be held annually. We shall record number of educational materials distributed and the number of interactions and/or overall attendance. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To not only educate but give residents an opportunity to avoid negative impacts on water quality. |  |  |
| Permit Section | 4.1.D |  |  |
| BMP Goal/Intended Outcome | Educate the public and target audiences on environmental issues; community involvement |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 1 Measurable Goal BMP 7 | City Wide Clean Up Event- Each year the City hosts an event for the disposal of large quantities of trash and refuses. Additionally, stations are provided for e-waste and Household Hazardous Chemical disposal |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To give opportunity for our community to take part in reducing the number of pollutants that might enter our streams |  |  |
| Permit Section | 4.1.D |  |  |
| BMP Goal/Intended Outcome | Educate the public and target audiences on environmental issues; community involvement |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 1 Measurable Goal BMP 8 | Community Recycling Station- The City provides a year-round facility for residents to bring recyclable materials for proper disposal. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To give opportunity for our community to take part in reducing the number of pollutants that might enter our streams |  |  |
| Permit Section | 4.1.D |  |  |
| BMP Goal/Intended Outcome | Educate the public and target audiences on environmental issues; community involvement |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

MCM 2. Public involvement/Participation in Program Development

The permittee shall implement a public involvement/participation program that reaches out and engages the public in the development and implementation of the permittee’s Stormwater Management Program.

4.2.A  	The permittee shall hold a public notice period for a minimum of thirty (30) days on the draft SWMP.  The permittee shall respond to public comments received during the public notice period.  The permittee shall retain copies of any public comments and responses, for a minimum of three years.

The City’s policy is to hold a public notice period for 30 days on the City’s draft SWMP each time significant revisions to the SWMP are made.  The City advertises the public notice of the SWMP on the City’s website under the stormwater webpage webbcitymo.org/department/public_works with the disclaimer that the draft SWMP will be posted for review and public comment for 30 days.  The City also advertises the public notice period in a local newspaper (Jasper County Citizen) under the announcement’s section.  The advertisement in the local newspaper directs the readers to the City’s website to review the draft SWMP.  The City provides public comment submission through the City’s website as well as mail-in option with the address posted on the website and in the local paper.  The City’s policy is to respond to all comments submitted by the public within 30 days of receipt and copies of all comments submitted by the public and the corresponding responses are retained by the City for at least 3 years.

The City held a public notice period for the draft SWMP February 4,2021-March 5, 2021.  The City responds to any comments received.

4.2.B 	The permittee shall hold a public hearing regarding the proposed Stormwater Management Program and Plan within the MS4 service area.  Public notice of the public hearing shall be given at least thirty (30) days before the hearing.  Public notice of the hearing may be given at the same time as public notice of the draft SWMP and the two notices may be combined.

The City’s policy is to hold a public hearing for the proposed SWMP.  Public notice to announce the hearing will be posted on the City’s website and in the local newspaper 30 days prior to the hearing.  The hearing announcement will remain posted on the website the entire 30 days.  The hearing announcement in the local newspaper will run each issue until the hearing date is past.

The City held a public hearing for the proposed SWMP on March 31, 2021.  The meeting agenda and summary notes are available to view at the Public Works Department.

4.2.C	The permittee shall have a publicly available method to accept public inquiries or concerns, and to take information provided by the public about stormwater and stormwater related topics.  This method, or a combination of methods, shall cover all MCMs.

The City also takes concerns telephoned in or e-mailed from the community.  The City’s policy is to respond to all comments/concerns/inquiries within 30 days of receipt.

4.2.D  	If the permittee utilizes a stormwater management panel or committee, the permittee shall provide opportunities for citizen representatives on the panel or committee.

Although the City does not utilize a stormwater management panel or committee, the members of our Planning and Zoning Board (community volunteers) help serve the need for citizen representatives on matters dealing with Stormwater.  This body is included whenever new development is proposed, and while Stormwater needs are not the only area they are involved with, it is an area they have input on.

| MCM # 2 Measurable Goal BMP 1 | Provide public notice period for public to review/comment on SWMP (includes public notice of public meeting). |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To satisfy permit requirement and provide the public the opportunity to review/comment on the SWMP. |  |  |
| Permit Section | 4.2.A, 4.2.B |  |  |
| BMP Goal/Intended Outcome | To facilitate an educated public on the City’s efforts to keep pollutants from local streams |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 2 Measurable Goal BMP 2 | Provide public meeting for public to review SWMP and application and voice comments. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To satisfy permit requirement and provide the public the opportunity to review/comment on the SWMP. |  |  |
| Permit Section | 4.2.B |  |  |
| BMP Goal/Intended Outcome | To facilitate an educated public on the City’s efforts to keep pollutants from local streams |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 2 Measurable Goal BMP 3 | Provide publicly available method to accept comments from public. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To satisfy permit requirement and provide the public the opportunity to voice comments and concerns. |  |  |
| Permit Section | 4.2.C |  |  |
| BMP Goal/Intended Outcome | To facilitate a means for the public to play an active role in stormwater protection and to report concerns/needs |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 2 Measurable Goal BMP 4 | Stormwater Management Committee (Planning and Zoning Board) |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To satisfy permit requirement and provide volunteer citizens an opportunity to assist in Stormwater Management. |  |  |
| Permit Section | 4.2.D, 4.4.J |  |  |
| BMP Goal/Intended Outcome | To facilitate a means for the public to play an active role in stormwater protection and future development. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

MCM 3. Illicit Discharge Detection and Elimination

The permittee shall implement and enforce a program to detect and eliminate illicit discharges (as defined in 10 CSR 20-6.200 at 40 CFR 122.26(b)(2) into the permittee’s regulated MS4.

4.3.A  	Develop, and maintain an up to date storm sewer system map, show the location of all outfalls, the names and locations of all waters of the state that receive discharges from those outfalls, and the boundary of the regulated MS4 area.

- A description of the sources of information or procedures used for the map(s), how the permittee plans to verify the outfall locations with field surveys, and how the map will be regularly updated shall be included in the SWMP.

- The permittee shall make the map and any accompanying necessary information available to the Department upon request.

The City authorized the creation of a storm sewer map in December 2020.  We hired Anderson Engineering to provide a GIS system to maintain and update.  Additionally, the City will utilize a large-scale master hard copy and will utilize field surveys and engineering plans to maintain and update the map as needed.  This map is due completion by mid-April 2021 and will be available to view upon request during audits of our MS4 program.  All data on the map is retained on file for 5 years for investigation, research, and audit purposes.

4.3.B  	To the extent allowable under state, or local law, through ordinance(s), or other regulatory mechanism(s), the permittee shall effectively prohibit, unauthorized non-storm water discharges into the storm sewer system and implement appropriate enforcement procedures and actions.  Identify in the SWMP the regulatory mechanism(s) the permittee will use to effectively prohibit illicit discharges into the MS4 by including a link or a copy of the relevant sections,

The City has a completed Illicit Discharge Ordinance in place.  A copy of the ordinance is attached to the SWMP as Appendix (Page 42). The ordinance is reviewed annually, and updates are made as needed.

4.3.C 	Develop and implement a plan to detect and address unauthorized non-storm water discharges, including illegal dumping, to the system.  An explanation of these strategies shall be included in the SWMP with:

- Applicable response timelines;

- Procedures for tracing the source of an illicit discharge, including specific techniques used to detect the location of the source;

- Procedures for removing the illicit discharge; and

- Other practices that are a part of this plan.

The City has an SOP in place for detecting and addressing unauthorized non-stormwater discharges, including illegal dumping, into the City’s MS4.  A copy of the SOP is attached to the SWMP as Appendix (Page Number50).  The SOP is reviewed annually and updates are made as needed.

4.3.D 	The permitter shall inform public employees, businesses, and the general public of hazards associated with illegal discharges and the improper disposal of waste.  The SWMP shall include a description of how this plan will coordinate with all othe4r minimum control measures, monitoring, Integrated Planning (where applicable), and TMDL implementation (where applicable).

The City’s plan for informing public employees, businesses and the general public of hazards associated with illegal discharges and the improper disposal of waste is…

- In coordination with MCM # 1: Included in our Public Education program is the distribution of educational information on Illicit Discharges.  Not only are they defined, but we also give steps to take to report violations.  Also included are materials about safe practices for residential activities that can impact water quality.

- In coordination with MCM # 2: Included in our Public Participation/Involvement in Program Development, the City provides guidance to members of our Planning and Zoning Board members who serve as volunteers for overseeing future development.  These members are educated on water quality issues and how their review of plats must consider issues related to Stormwater.

- In coordination with MCM # 4: Included in our Construction Site Stormwater Runoff Control program, the City requires pre-construction meetings with any developer who will disturb a site of one acre or greater.  Before permits are issued, a Land Disturbance Permit from the Department of Natural Resources is required.  The City requires the developer to submit a Stormwater Pollution Prevention Plan (SWPPP) and to implement appropriate erosion and sediment control best management practices.

- In coordination with MCM # 5: Included in our Post-Construction Stormwater Management in New Development and Redevelopment, the City contacts the owners of any BMPs not maintained by the City to ensure inspection and proper functioning.  As a part of this dialogue, education is provided to explain the need for proper maintenance.  The City also provides standards to be used for any municipal projects so that those projects will be done with the goal of protecting water quality.

- In coordination with Monitoring: All employees tasked with performing any monitoring are educated in terms of safely performing their tasks and the procedures for submitting samples for testing.

- In coordination with Integrated Planning: N/A, the City does not utilize Integrated Planning.

- In coordination with TMDL Implementation: N/A, the City is not impacted by TMDL.

4.3.E 	Implement a dry weather field screening strategy for unauthorized non-stormwater flows.  The SWMP shall include a description of diagnostic monitoring procedures, including procedures for visual screening, sampling, or field analyzation and what parameters are sampled for to be used as indicators of discharge sources.

The City has an SOP in place for implementation of a dry weather field screening for unauthorized non-stormwater flows.  A copy of the SOP is attached to the SWMP as Appendix (Page 50).  The SOP is reviewed annually and updates are made as needed.

4.3.F 	Maintain and describe procedures to identify priority areas likely to have illicit discharges such as, but not limited to, any area where there is ongoing evidence of illicit discharges or dumping; areas with higher likelihood of illicit connections such as neighborhoods with onsite sewage; or regions with a high percentage of directly connected impervious areas.

The City’s SOP as described in 4.3.E also serve to fulfill the requirement of 4.3.F. A copy of the SOP is attached to the SWMP as Appendix (Page 50).  The SOP is reviewed annually and updates are made as needed.

4.3.G	Provide procedures to ensure the permittee’s illicit discharge ordinance (or other regulatory mechanism) is implemented by means of appropriate enforcement procedures, including fines, and actions.  A description of these enforcement procedures shall be included in the SWMP.

The City has a completed Illicit Discharge Ordinance which includes enforcement procedures in place.  A copy of the ordinance is attached to the SWMP as Appendix (Page 42).  The ordinance is reviewed annually and updates are made as needed.

| MCM # 3 Measurable Goal BMP 1 | Maintain storm sewer map. 60% of all outfalls to be field verified during the permit cycle. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To satisfy permit requirement and to assist in identifying any source of illicit discharge. |  |  |
| Permit Section | 4.3.A |  |  |
| BMP Goal/Intended Outcome | To have a means of GIS capability of maintaining and inspecting infrastructure and finding source points for any illicit discharges. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 3 Measurable Goal BMP 2 | Illicit Discharge Ordinance |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To satisfy permit requirement and to assist in prohibiting illicit discharges and illegal dumping within the limits of Webb City. |  |  |
| Permit Section | 4.3.B |  |  |
| BMP Goal/Intended Outcome | To have a means of prohibiting illegal dumping and illicit connections with enforceable actions to assure compliance. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 3 Measurable Goal BMP 3 | Plan to detect and address unauthorized non-stormwater discharges. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To safely detect and remove any illicit discharges from our stormwater system. |  |  |
| Permit Section | 4.3.C |  |  |
| BMP Goal/Intended Outcome | To have a means of safely tracing and removing illegal discharges into the stormwater system. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 3 Measurable Goal BMP 4 | Inform public employees, businesses, general public of hazards of illegal discharges and improper waste disposal. This will be done in multiple ways. City staff will be trained on spotting illicit discharges as well as safe BMPs for municipal operations (in connection with MCM # 6). Residents will be given brochures on Illicit Discharges (in connection with MCM # 1) Certain businesses will be targeted with education pieces for safer operations in trash management, Illicit Discharges and pavement washing (in connection with MCM # 1). |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To partner with MCM # 1; to communicate the need for public involvement and to provide a means for citizens to report illicit discharges. Database all calls/concerns to track issues and resolutions. |  |  |
| Permit Section | 4.3.D |  |  |
| BMP Goal/Intended Outcome | Fewer illicit discharges and an informed public |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 3 Measurable Goal BMP 5 | Dry Weather Field Screening Plan. 60% of all outfalls to be screened during permit cycle. Maintain database. Will contract out to laboratory for analysis. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To determine the source of any illicit discharge discovered, both in terms to what the source is and where the source is coming from. |  |  |
| Permit Section | 4.3.E |  |  |
| BMP Goal/Intended Outcome | Successful discovery and elimination of the sources of any illicit discharges |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 3 Measurable Goal BMP 6 | Procedures to identify priority areas likely to have illicit discharges. This measure is being linked to 4.3.E. Will inspect 50% of areas in question (Businesses, residential areas, areas not connected to sanitary sewer, city owned properties) during the course of the permit cycle. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To identify areas where illicit discharges are most likely for education canvassing and inspections of these areas. |  |  |
| Permit Section | 4.3.F |  |  |
| BMP Goal/Intended Outcome | Possible sources of contamination to be discovered and eliminated. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 3 Measurable Goal BMP 7 | Procedures to ensure illicit discharge ordinance is implemented through enforcement, actions, and fines. Document all enforcement actions. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure the effectiveness of our Illicit Discharge ordinance. |  |  |
| Permit Section | 4.3.G |  |  |
| BMP Goal/Intended Outcome | To reduce/eliminate illicit discharges through means of enforcement, should education methods prove ineffective. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

MCM 4. Construction Site Stormwater Runoff Control

The permittee shall develop, implement, and enforce a program to reduce pollutants in any storm water runoff to the MS4 from construction activities that result in a land disturbance of greater than or equal to one acre.  Reduction of storm water discharges from construction activity disturbing less than one acre must be included in the program if that construction activity is part of a larger common plan of development or sale that would disturb one acre or more.

4.4.A  	The permittee shall have an ordinance and/or other regulatory mechanism to require construction site operators to implement erosion and sediment control BMPs at construction/land disturbance sites./land disturbance sites greater than or equal to one (1) acre or less than one acre if the construction activity is part of a larger common plan or development or sale that would disturb one acre or more.

- The ordinance or regulatory mechanism shall include sanctions which are designed to ensure compliance, to the extent allowable under State, or local law.

- The SWMP must contain a copy of or a link to the relevant ordinance or regulatory mechanism.

The City has a completed Land Disturbance Construction Ordinance in place.  A copy of the ordinance is attached to the SWMP as Appendix (Page 103).  The ordinance is reviewed annually and updates are made as needed.

4.4.B  	The permittee shall maintain requirements for construction site operators to:

- Implement appropriate erosion and sediment control best management practices; and

- Control waste such as discarded building materials, concrete truck washout, chemicals, litter, and sanitary waste at the construction site that may cause adverse impacts to water quality.

The City utilizes an SOP for construction site operators to ensure construction sites are managed appropriately.  The City’s SOP requires inspection of construction sites based on priority with a minimum of 3 inspections during the life of the project.  The City’s SOP includes the issuance of a City-issued Building permit that includes a requirement for construction site operators to develop and maintain a Stormwater Pollution Prevention Plan (SWPPP) for the site throughout the life of the project or active construction activity on the site.  We require that the SWPPP for the site include details on appropriate installation, implementation, and maintenance of all BMPs used on the site for the life of the project, as well as details on controlling site waste, including, but not limited to discarded building materials, concrete truck washout, chemicals, trash/litter, and sanitary waste.  The SOP is reviewed annually and updates are made as needed.  See Appendices, (Page 234).

4.4.C 	The permittee shall maintain and apply procedures for review of all pre-construction site plans for consideration of potential water quality impacts.

The City has an SOP in place for maintaining and applying procedures for review of all pre-construction site plans for consideration of potential water quality impacts.  A copy of the SOP (SWPPP Checklist) is attached to the SWMP as Appendix (Page 239).  The process consists of requiring a Land Disturbance permit issued from the Department, a review of the SWPPP and identifying which BMPs are to be utilized for the project. The SOP is reviewed annually and updates are made as needed.

4.4.D  	The permittee shall maintain and apply mechanisms for receipt and consideration of information submitted by the public.

The City uses the following mechanism for receiving information from the public.  Prior to approval of construction projects equal or greater than one acre, a public notice is posted on site with contact information for residents to ask questions or voice concerns.  This is a part of the process of meeting approval from the Planning and Zoning Board.

While not actively promoted, the City receives calls and concerns by telephone and email.  Depending upon the nature of the concern, investigations are made within 24-72 hours.  The callers are notified of the results of the investigations and any actions taken.

4.4.E	The permittee shall maintain and apply procedures for site inspection and enforcement of control measures, this shall include prioritization of site inspection processes; AND

4.4.F  	The permittee inspect (or require inspection of) any structure that functions to prevent pollution of stormwater or to remove pollutants from stormwater and ensure that all BMPs are implemented and effective.  This shall include a monitoring plan and/or documentation with implementation schedules described in the SWMP.

The City utilizes an SOP and inspection report for site inspections and enforcement control measures.  The SOP covers the City’s inspection report, inspection schedule, site prioritization factors, BMP implementation and effectiveness evaluation, and references the City’s Land Disturbance and Sediment Control ordinance for enforcement control measures.  A copy of the inspection report is attached to the SWMP as Appendix (Page 234).  The SOP is reviewed annually, and updates are made as needed.

4.4.G  	The permittee shall maintain and apply a plan designed to ensure compliance with the permittee’s erosion and sediment control regulatory mechanism, this shall include the sanctions and enforcement mechanisms to be used to ensure compliance.

The City’s Land Disturbance and Sediment Control ordinance includes an enforcement process, which includes sanctions, fines, and progressive enforcement actions, to ensure compliance.  The enforcement process is reviewed annually along with the rest of the ordinance and updates are made as needed.

| MCM # 4 Measurable Goal BMP 1 | Ordinance requiring construction site operators to implement erosion and sediment control BMPs at construction/land disturbance sites |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure construction activities are performed in environmentally friendly ways, especially as it relates to erosion and sediment control. |  |  |
| Permit Section | 4.4.A |  |  |
| BMP Goal/Intended Outcome | Prevention of water quality impairment, promotion of good waste management and other BMPs for land disturbance activities. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 4 Measurable Goal BMP 2 | Maintain requirements for construction site operators to implement appropriate erosion and sediment control best management practices and to control waste at the construction site that may cause adverse effects on water quality. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure that construction projects are being performed with water quality protection in mind. |  |  |
| Permit Section | 4.4.B |  |  |
| BMP Goal/Intended Outcome | Prevention of water quality impairment, promotion of good waste management and other BMPs for land disturbance activities. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 4 Measurable Goal BMP 3 | Maintain procedures for review of all pre-construction site plans for potential water quality impacts. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure that all projects and BMPs are discussed and approved prior to development for the protection of water quality. |  |  |
| Permit Section | 4.4.C |  |  |
| BMP Goal/Intended Outcome | For all projects in developments that disturb one acre or more to be evaluated prior to the beginning of the projects, checking BMPs for protection of water quality. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 4 Measurable Goal BMP 4 | Maintain mechanism for receipt & consideration of information submitted by the public. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure that any concerns from the public are taken into consideration and investigated prior to the commencement of projects. |  |  |
| Permit Section | 4.4.D |  |  |
| BMP Goal/Intended Outcome | To fully investigate concerns voiced by the community at the Planning and Zoning stage of approval for development. If concerns are valid, to deal with them and find proper solutions. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 4 Measurable Goal BMP 5 | Maintain and apply procedures for site inspection and enforcement of control measures and require inspection of any structure that functions to prevent pollution of stormwater or to remove pollutants from stormwater and ensure that all BMPs are implemented and effective. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure water quality efforts by performing inspections of sites and documenting that the developer is also performing inspections and maintaining BMPs. |  |  |
| Permit Section | 4.4.E and 4.4.F |  |  |
| BMP Goal/Intended Outcome | To see that all development projects disturbing one acre or more are inspected and that conditions meet the standards of the City’s Land Disturbance and Sediment Control Guidelines. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 4 Measurable Goal BMP 6 | Maintain and apply a plan designed to ensure compliance with the Land Disturbance and Sediment Control Guidelines, including sanctions and other enforcement options. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To have the regulatory means to ensure compliance with this permit requirement |  |  |
| Permit Section | 4.4.G |  |  |
| BMP Goal/Intended Outcome | To ensure that all projects are completed successfully in terms of water quality issues. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 4 Measurable Goal BMP 7 | Provide or support access to sediment and erosion control training for MS4 inspectors and plan reviewers at minimum once during this permit cycle. Training to be tracked and documented. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure that MS4 employees and inspectors are knowledgeable of proper sediment and erosion training as they perform their duties. |  |  |
| Permit Section | 4.4.K |  |  |
| BMP Goal/Intended Outcome | To have one training event on erosion and sediment control for inspectors to better function in their inspections |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 4 Measurable Goal BMP 8 | Provide written procedures outlining local inspections and enforcement procedures for our inspectors to ensure consistency among the inspections. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To provide consistency among the MS4 inspectors as they perform their inspection duties. |  |  |
| Permit Section | 4.4.L |  |  |
| BMP Goal/Intended Outcome | Consistency in the inspection process. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 4 Measurable Goal BMP 9 | Annually review the Construction Site Stormwater Runoff Control Program. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To determine if program requirements are sufficient or are in need of updating. |  |  |
| Permit Section | 4.4.M |  |  |
| BMP Goal/Intended Outcome | To ensure the best program as possible. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

MCM 5. Post-Construction Stormwater Management in New Development and Redevelopment

The permittee shall develop, implement, and enforce a program to address stormwater runoff from new development and redevelopment projects that disturb greater than or equal to one acre, including projects less than one acre that are part of a larger common plan of development or sale, that would disturb one acre or more, and that discharge into the permittee’s MS4.

4.5.A  	The permittee shall develop, and implement strategies which include a combination of structural and/or non-structural best management practices (BMPs) appropriate for the community, including, but not limited to the assessment of site characteristics at the beginning of the construction site design phase to ensure adequate planning for stormwater program compliance.  The goal of this approach is to arrive at designs that protect sensitive areas, minimize the creation of stormwater pollution, utilize BMPs that effectively remove stormwater pollution, and attempt to maintain predevelopment runoff conditions.

- Details of these strategies to minimize water quality impacts shall be included in the SWMP.

- The SWMP shall include a link to or copy of standards developed or adopted.

The City has an ordinance or SOP in place of strategies to protect sensitive areas, minimize the creation of stormwater pollution, utilize BMPs that effectively remove stormwater pollution, and attempt to maintain predevelopment runoff conditions. But because of a 2020 audit from DNR, it was determined that our ordinance did not quite measure up to the required standards.  Therefore, the City, in cooperation with the Department’s recommendations plans on adopting the water quality standards of the City of Springfield, Missouri.  The relevant excerpts of the ordinance or SOP to address the permit requirements are included as an attachment to the SWMP as Appendix (Page 248). The ordinance or SOP is reviewed annually, and updates are made as needed.

4.5.B 	To the extent allowable under state, or local law, through ordinance, or other regulatory mechanism, the permittee’s Stormwater Management Program shall address post-construction runoff from new development and redevelopment projects. The regulatory mechanism the permittee will use shall be identified in the SWMP by including a link to or a copy of the ordinance(s) or regulatory mechanism(s). If the permittee needs to develop a mechanism, the schedule for implementation shall be described in the SWMP.

The City has a completed Post-Construction Ordinance in place. A copy of the ordinance is attached to the SWMP as Appendix (Page 243). The ordinance is reviewed annually, and updates are made as needed.

4.5.C  	The permittee shall maintain a plan to ensure adequate long-term operation and maintenance of Post-Construction BMPs, both structural and non-structural. Descriptions of and/or examples of agreements between the permittee and other parties such as post-development landowners or regional authorities shall be included in the SWMP.

4.5.D  	The permittee shall maintain and apply an inspection plan with implementation schedules for post-construction BMPs.

4.5.E	The permittee shall inspect or require the inspection of post-construction stormwater BMPs to ensure all BMPs are implemented and effective.

The City’s Post-Construction ordinance includes a specific section (section here) dedicated to the long-term maintenance of Post-Construction BMPs. The ordinance also details the City’s inspection plan and implementation schedule of post-construction BMPs to ensure all BMPs are implemented and effective (section here). The ordinance is accessible on the City’s website (webbcitymo.org). The enforcement process is reviewed annually along with the rest of the ordinance and updates are made as needed.

| MCM # 5 Measurable Goal BMP 1 | Implement strategies of both structural and non-structural BMPs at the beginning of construction site design to ensure adequate planning for stormwater program compliance. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | Ensure that water quality standards are being addressed in construction projects |  |  |
| Permit Section | 4.5.A |  |  |
| BMP Goal/Intended Outcome | As implied above, the goal’s intended outcome is that design standards for water quality are considered on the front end of projects, thus mitigating negative water quality impacts. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 5 Measurable Goal BMP 2 | Ordinance requiring the SWMP to address post-construction runoff from new development and redevelopment projects |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | The purpose is to provide an additional resource for protecting water quality issues in construction |  |  |
| Permit Section | 4.5.B |  |  |
| BMP Goal/Intended Outcome | As implied above, the goal’s intended outcome is that design standards for water quality are considered on the front end of projects, thus mitigating negative water quality impacts. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 5 Measurable Goal BMP 3 | Maintain a plan to ensure adequate long-term operation and maintenance of Post-Construction BMPs, both structural and non-structural. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure the maximum efficiency of BMPs after project completion. |  |  |
| Permit Section | 4.5.C, 4.5.D, 4.5.E |  |  |
| BMP Goal/Intended Outcome | A systematic inspection of permanent BMPs for Post-Construction with maintenance agreements with private BMP owners. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

MCM 6.  Pollution Prevention/Good Housekeeping for Municipal Operations

The permittee shall develop and implement an operation and maintenance program that includes a training component and has the ultimate goal of preventing or reducing pollutant runoff from municipal operations.

4.6.A  	An employee training program for municipal operations staff who work with material  handling, at municipal vehicle or equipment maintenance areas, storage yards, and material storage facilities. The training shall be used to prevent and reduce stormwater pollution from activities such as, but not limited to, park and open space maintenance, fleet and building maintenance, new construction and land disturbances, and storm water system maintenance. The SWMP shall include:

- A description of any existing, available training material the permittee plans to use such as those available from EPA, the state, or other organizations. Include the frequency of training and topics covered.

- A description of how this training will coordinate with all other MCMs.

- A description of how this training will coordinate with monitoring, integrated planning, and TMDL implementations where applicable.

The City has a training program for all municipal operations staff. The City utilizes training materials on proper management of municipal vehicle and equipment maintenance areas and storage yards; proper land disturbance site management; long-term BMP maintenance; and proper material handling at storage facilities. Trainings are conducted for each new hire, and annual refreshers for each applicable department. If an employee misses their annual training, a make-up training date is scheduled.

The City’s training program coordinates with all other MCMs as follows:

- MCM #1 - by providing education/training to municipal staff; this in itself satisfies how the training program coordinates with MCM #1;

- MCM #2 - by municipal staff participating in the training, this satisfies MCM#2;

- MCM #3 - teaching staff how to recognize, address, and prevent illicit discharges;

- MCM #4 - educating inspection staff on proper land disturbance site management;

- MCM #5 - educating inspection staff on the importance of post-construction BMPs and long-term maintenance of the BMPs; and

- MCM #6 – educating/training municipal staff on good housekeeping practices at municipal facilities

Monitoring, integrated planning, or TMDL implementations are not applicable at this time;

however, if monitoring, integrated planning, or TMDL implementations become applicable,

descriptions of how the City’s training program will coordinate with them will be incorporated

into the SWMP and noted in the City’s annual report. The City’s training program is reviewed

annually and modified as new, updated material becomes available or as the needs of the City

change.

4.6.B  	The permittee shall maintain an updated list of all municipal operations/facilities that are impacted by this operation and maintenance program.

The City-owned and operated municipal facilities impacted by the City’s operation and maintenance program include:

Public Works Department- 1060 N. Madison (Municipal Salt Storage site)

Municipal Parks – King Jack Park, Hall Street Park, Sunset Creek Park, Memorial Park, and Hatten Park

Multiple Well and Sewer Lift Station locations

The City’s list of facilities is reviewed annually and updated as needed.

4.6.C 	The permittee shall maintain an updated list of industrial facilities that the permittee owns or operates that are subject to NPDES permits for discharges of stormwater associated with industrial activity that ultimately discharge to the permittee’s MS4. The permittee shall include the permit number or a copy of the No Exposure Exemption Certification (if applicable) for each facility in the SWMP. NPDES permitted facilities not owned or operated by the permittee are not required to be part of the list, however the permittee should be familiar with all such facilities in their MS4 service area as they may signify a priority area for the IDDE (MCM #3) program.

The City has one City-owned and operated municipal facilities subject to a NPDES permit. The facility is: Center Creek 201 Wastewater Treatment Board – 200 S. Main (MO-0040185)

4.6.D  	The permittee shall develop or maintain controls for reducing or eliminating the discharge of floatables and pollutants from municipal parking lots, maintenance and storage yards, waste transfer station, fleet or maintenance shops with outdoor storage areas, salt/sand storage locations, snow disposal areas owned or operated by the permittee, or other locations expected to contribute floatables and/or pollutants.

The City’s O & M plan addresses control for safe municipal operations for elimination of floatables and pollutants, material storage and safe practices in Municipal Operations.  See Appendix (page 274)

4.6.E  	The permittee shall maintain and apply maintenance procedures, maintenance schedules, and long-term inspection schedules for controls to reduce floatables and other pollutants to the permittee’s regulated MS4.

The City’s O & M plan addresses maintenance procedures, schedules and inspections for reducing floatables and other pollutants to the regulated MS4.  See Appendix (page 274)

4.6.F  	The permittee shall utilize procedures for the proper disposal of waste removed from the separate storm sewers and areas of jurisdiction, including dredged material, accumulated sediments, floatables and other debris.

The City’s policy is to take organic waste/leaves collected from street sweeper activities and related activities to the compost areas of our wetlands area for repurposing.  Any trash collected is then separated and disposed of into our trash collection system.

4.6.G 	The permittee shall utilize procedures for the washing of municipal vehicles and equipment.

- Use of any soap or detergent shall only be where there is connection to sanitary sewer or equivalent; and

- Any wash water that contains pollutants such as salt, oils, grease, sediment, grass clippings, lawn chemicals, or pesticides shall not be discharged to waters of the state or the MS4 system without appropriate treatment to ensure the discharged effluent is in compliance with Missouri Water Quality Standards.

The City’s policy for vehicle washing is that municipal vehicles and equipment washings will take place at a commercial car wash establishment.  In cases where that is not possible, equipment washing occurs at the Public Works Department and is done on the grass.  Soaps, detergents, etc. are then captured on the ground and the soil is the best barrier.  At no time is waste water, soaps, etc. allowed to flow into the MS4.

4.6.H	All paints, solvents, petroleum products and petroleum waste products (except fuels) under the control of the permittee shall be stored so that these materials are not exposed to stormwater.

1. Sufficient practices of spill prevention, control, and/or management shall be provided to prevent any spill of these pollutants from entering waters of the state.

2. Any containment system used to implement this requirement shall be constructed of materials compatible with the substances contained and shall also prevent the contamination of groundwater.

The City’s policy is to never store paints, solvents, petroleum products (except fuel) outdoors.  In areas required, spill prevention and secondary containment are utilized.

4.6.I	If the permittee has new flood management projects (projects developed or designed to reduce flooding), the permittee shall utilize procedures to assess all flood management projects for impacts of water quality, incorporating water quality protection devices or practices.

The City does not have under this permit requirement any new flood management projects.

| MCM # 6 Measurable Goal BMP 1 | Employee Training Program |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure that all municipal employees with duties linked to stormwater related activities are properly trained in the performance of their duties. |  |  |
| Permit Section | 4.6.A |  |  |
| BMP Goal/Intended Outcome | 100% documented training of appropriate municipal staff for stormwater related activities. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 6 Measurable Goal BMP 2 | List of Municipal Facilities impacted by permit program |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To properly identify areas of inspection and compliance with permit |  |  |
| Permit Section | 4.6.B |  |  |
| BMP Goal/Intended Outcome | Permit Compliance |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 6 Measurable Goal BMP 3 | List of Industrial facilities under municipal control subject to NPDES. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To properly identify areas of inspection and compliance with permit |  |  |
| Permit Section | 4.6.C |  |  |
| BMP Goal/Intended Outcome | Permit Compliance |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 6 Measurable Goal BMP 4 | Controls for reducing/eliminating discharge into the MS4 from Municipal Operations. |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure municipal operations are being performed with surety that stormwater regulations are being maintained and pollution is not occurring. |  |  |
| Permit Section | 4.6.D |  |  |
| BMP Goal/Intended Outcome | Documented lowering of floatables/pollution entering into the MS4. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 6 Measurable Goal BMP 5 | Maintenance Procedures and Schedules |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To see a systematic evaluation of municipal operations; to document stormwater pollution prevention efforts and recovery. |  |  |
| Permit Section | 4.6.E |  |  |
| BMP Goal/Intended Outcome | Documented reduction of negative impacts into the MS4 resulting from municipal operations. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 6 Measurable Goal BMP 6 | Waste Disposal Measures |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure the proper disposal of wastes resulting from municipal operations |  |  |
| Permit Section | 4.6.F |  |  |
| BMP Goal/Intended Outcome | To lower the number of floatables and other contaminants from entering the MS4 as a result of municipal operations. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 6 Measurable Goal BMP 7 | Vehicle/Equipment Washings |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure that no pollutants enter the MS4 as a result of vehicle/equipment washing |  |  |
| Permit Section | 4.4.G |  |  |
| BMP Goal/Intended Outcome | Same as above. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 6 Measurable Goal BMP 8 | Material Storage |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | To ensure that no harmful impacts occur as a result of the storage of oils, paints, etc. related to municipal operations |  |  |
| Permit Section | 4.4.H |  |  |
| BMP Goal/Intended Outcome | Same as above. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

| MCM # 6 Measurable Goal BMP 9 | New Flood Management Projects |  |  |
| --- | --- | --- | --- |
| Purpose of BMP | When applicable, to ensure that any flood management projects are performed with maximum efficiency and that no negative environmental impacts are allowed. |  |  |
| Permit Section | 4.4.I |  |  |
| BMP Goal/Intended Outcome | Permit Compliance. |  | Annual Performance Tracking (per year of permit cycle) |
| Yr. 1 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 2 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 3 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 4 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |
| Yr. 5 Progress to Goal: |  | Satisfactory: YES ○ NO ○ |  |
| Explanation: |  |  |  |

Appendices

# Chapter 250 
Illicit Discharge and Connection - Stormwater Regulations

#### Section 250.010 Purpose — Intent.

[Ord. No. 09-7363 §1, 11-24-2009]

A.	The purpose of this Chapter is to provide for the health, safety and general welfare of the citizens of the Webb City, Missouri, through the regulation of non-stormwater discharges to the storm drainage system to the maximum extent practicable as required by Federal and State law. This Chapter establishes methods for controlling the introduction of pollutants into the municipal separate storm sewer system (MS4) in order to comply with requirements of the National Pollutant Discharge Elimination System (NPDES) permit process. The objectives of this Chapter are:

1.	To regulate the contribution of pollutants to the municipal separate storm sewer system (MS4) by stormwater discharges by any user;

2.	To prohibit illicit connections and discharges to the municipal separate storm sewer system; and

3.	To establish legal authority to carry out all inspection, surveillance and monitoring procedures necessary to ensure compliance with this Chapter.

#### Section 250.020 Definitions.

[Ord. No. 09-7363 §1, 11-24-2009]

For purposes of this Chapter, the following shall mean:

BEST MANAGEMENT PRACTICES (BMP)

Schedules of activities, prohibitions of practices, general good housekeeping practices, pollution prevention and educational practices, maintenance procedures and other management practices to prevent or reduce the discharge of pollutants directly or indirectly to stormwater, receiving waters or stormwater conveyance systems. BMP also include treatment practices, operating procedures and practices to control site runoff, spillage or leaks, sludge or water disposal or drainage from raw materials storage.

CLEAN WATER ACT

The Federal Water Pollution Control Act (33 U.S.C. Sections 1251, et seq.) and any subsequent amendments thereto.

CONSTRUCTION ACTIVITY

Activities subject to NPDES construction permits. NPDES Stormwater Phase II permits will be required for construction projects resulting in land disturbance of one (1) acre or more. Such activities include, but are not limited to, clearing and grubbing, grading, excavating and demolition.

HAZARDOUS MATERIALS

Any material, including any substance, waste or combination thereof, which because of its quantity, concentration or physical, chemical or infectious characteristics may cause or significantly contribute to a substantial present or potential hazard to human health, safety, property or the environment when improperly treated, stored, transported, disposed of or otherwise managed.

ILLEGAL DISCHARGE

Any direct or indirect non-stormwater discharge to the storm drain system, except as exempted in Section 250.070(B) of this Chapter.

ILLICIT CONNECTIONS

An illicit connection is defined as either of the following:

1.	Any drain or conveyance, whether on the surface or subsurface, which allows an illegal discharge to enter the storm drain system including, but not limited to, any conveyances which allow any non-stormwater discharge including sewage, process wastewater and wash water to enter the storm drain system and any connections to the storm drain system from indoor drains and sinks, regardless of whether said drain or connection had been previously allowed, permitted or approved by the City; or

2.	Any drain or conveyance connected from a commercial or industrial land use to the storm drain system which has not been documented in plans, maps or equivalent records and approved by the City.

INDUSTRIAL ACTIVITY

Activities subject to NPDES industrial permits as defined in 40 CFR, Section 122.26(b)(14).

NATIONAL POLLUTANT DISCHARGE ELIMINATION SYSTEM (NPDES) STORMWATER DISCHARGE PERMIT

A permit issued by EPA (or by a State under authority delegated pursuant to 33 USC Section 1342(b)) that authorizes the discharge of pollutants to waters of the United States, whether the permit is applicable on an individual, group or general area-wide basis.

NON-STORMWATER DISCHARGE

Any discharge to the storm drain system that is not composed entirely of stormwater.

PERSON

Any individual, association, organization, partnership, firm, corporation or other entity recognized by law and acting as either the owner or as the owner's agent.

POLLUTANT

Anything which causes or contributes to pollution. Pollutants may include, but are not limited to, paints, varnishes and solvents; oil and other automotive fluids; non-hazardous liquid and solid wastes and yard wastes; refuse, rubbish, garbage, litter or other discarded or abandoned objects, ordinances and accumulations, so that same may cause or contribute to pollution; floatables; pesticides, herbicides and fertilizers; hazardous substances and wastes; sewage, fecal coliform and pathogens; dissolved and particulate metals; animal wastes; wastes and residues that result from constructing a building or structure; and noxious or offensive matter of any kind.

PREMISES

Any building, lot, parcel of land or portion of land whether improved or unimproved including adjacent sidewalks and parking strips.

STORM DRAINAGE SYSTEM

Publicly-owned facilities by which stormwater is collected and/or conveyed including, but not limited to, any roads with drainage systems, municipal streets, gutters, curbs, inlets, piped storm drains, pumping facilities, retention and detention basins, natural and human-made or altered drainage channels, reservoirs and other drainage structures.

STORM WATER POLLUTION PREVENTION PLAN

A document which describes the Best Management Practices and activities to be implemented by a person or business to identify sources of pollution or contamination at a site and the actions to eliminate or reduce pollutant discharges to stormwater, stormwater conveyance systems and/or receiving waters to the maximum extent practicable.

STORMWATER

Any surface flow, runoff and drainage consisting entirely of water from any form of natural precipitation and resulting from such precipitation.

WASTEWATER

Any water or other liquid, other than uncontaminated stormwater, discharged from a facility.

#### Section 250.030 Applicability.

[Ord. No. 09-7363 §1, 11-24-2009]

This Chapter shall apply to all water entering the storm drain system generated on any developed and undeveloped lands unless explicitly exempted by the City.

#### Section 250.040 Responsibility For Administration.

[Ord. No. 09-7363 §1, 11-24-2009]

The City shall administer, implement and enforce the provisions of this Chapter. Any powers granted or duties imposed upon the City may be delegated in writing by the City Council to persons or entities acting in the beneficial interest of or in the employ of the agency.

#### Section 250.050 Severability.

[Ord. No. 09-7363 §1, 11-24-2009]

The provisions of this Chapter are hereby declared to be severable. If any provision, clause, sentence or paragraph of this Chapter or the application thereof to any person, establishment or circumstances shall be held invalid, such invalidity shall not affect the other provisions or application of this Chapter.

#### Section 250.060 Ultimate Responsibility.

[Ord. No. 09-7363 §1, 11-24-2009]

The standards set forth herein and promulgated pursuant to this Chapter are minimum standards; therefore, this Chapter does not intend nor imply that compliance by any person will ensure that there will be no contamination, pollution, nor unauthorized discharge of pollutants.

#### Section 250.070 Discharge Prohibitions.

[Ord. No. 09-7363 §1, 11-24-2009]

A.	Prohibition Of Illegal Discharges. No person shall discharge or cause to be discharged into the municipal storm drain system or watercourses any materials, including, but not limited to, pollutants or waters containing any pollutants that cause or contribute to a violation of applicable water quality standards, other than stormwater.

B.	The commencement, conduct or continuance of any illegal discharge to the storm drain system is prohibited except as described as follows:

1.	The following discharges are exempt from discharge prohibitions established by this Chapter: water line flushing or other potable water sources, landscape irrigation or lawn watering, diverted stream flows, rising ground water, ground water infiltration to storm drains, uncontaminated pumped ground water, foundation or footing drains (not including active ground water dewatering systems), crawl space pumps, air-conditioning condensation, springs, non-commercial washing of vehicles, natural riparian habitat or wetland flows, swimming pools (if de-chlorinated—typically less than one (1) PPM chlorine), fire-fighting activities and any other water source not containing pollutants.

2.	Discharges specified in writing by the City as being necessary to protect public health and safety.

3.	Dye testing is an allowable discharge, but requires a verbal notification to the City prior to the time of the test.

4.	The prohibition shall not apply to any non-stormwater discharge permitted under a NPDES permit, waiver or waste discharge order issued to the discharger and administered under the authority of the Federal Environmental Protection Agency; provided that the discharger is in full compliance with all requirements of the permit, waiver or order and other applicable laws and regulations and provided that written approval has been granted for any discharge to the storm drain system.

C.	Prohibition Of Illicit Connections.

1.	The construction, use, maintenance or continued existence of illicit connections to the storm drain system is prohibited.

2.	This prohibition expressly includes, without limitation, illicit connections made in the past, regardless of whether the connection was permissible under law or practices applicable or prevailing at the time of connection.

3.	A person is considered to be in violation of this Chapter if the person connects a line conveying sewage to the MS4 or allows such a connection to continue.

#### Section 250.080 Suspension of MS4 Access.

[Ord. No. 09-7363 §1, 11-24-2009]

A.	Suspension Due To Illicit Discharges In Emergency Situations. The City may, without prior notice, suspend MS4 discharge access to a person when such suspension is necessary to stop an actual or threatened discharge which presents or may present imminent and substantial danger to the environment or to the health or welfare of persons or to the MS4 or waters of the United States. If the violator fails to comply with a suspension order issued in an emergency, the City may take such steps as deemed necessary to prevent or minimize damage to the MS4 or waters of the United States or to minimize danger to persons.

B.	Suspension Due To The Detection Of Illicit Discharge.

1.	Any person discharging to the MS4 in violation of this Chapter may have their MS4 access terminated if such termination would abate or reduce an illicit discharge. The City will notify a violator of the proposed termination of its MS4 access. The violator may petition the City for a reconsideration and hearing.

2.	A person commits an offense if the person reinstates MS4 access to premises terminated pursuant to this Section without the prior written approval of the City.

#### Section 250.090 Industrial or Construction Activity Discharges.

[Ord. No. 09-7363 §1, 11-24-2009]

Any person subject to an industrial or construction activity NPDES stormwater discharge permit shall comply with all provisions of such permit. Proof of compliance with said permit may be required in a form acceptable to the City prior to the allowing of discharges to the MS4.

#### Section 250.100 Monitoring of Discharges.

[Ord. No. 09-7363 §1, 11-24-2009]

A.	Applicability. This Section applies to all facilities that have stormwater discharges associated with industrial activity, including construction activity.

B.	Access To Facilities.

1.	The City shall be permitted to enter and inspect facilities subject to regulation under this Chapter as often as may be necessary to determine compliance with this Chapter. If a discharger has security measures in force which require proper identification and clearance before entry into its premises, the discharger shall make the necessary arrangements to allow access to representatives of the City.

2.	Facility operators shall allow the City ready access to all parts of the premises for the purposes of inspection, sampling, examination and copying of records that must be kept under the conditions of an NPDES permit to discharge stormwater and the performance of any additional duties as defined by State and Federal law.

3.	The City shall have the right to set up on any permitted facility such devices as are necessary, in the opinion of the City, to conduct monitoring and/or sampling of the facility's stormwater discharge.

4.	The City has the right to require the discharger to install monitoring equipment as necessary. The facility's sampling and monitoring equipment shall be maintained at all times in a safe and proper operating condition by the discharger at its own expense. All devices used to measure stormwater flow and quality shall be calibrated annually to ensure their accuracy.

5.	Any temporary or permanent obstruction to safe and easy access to the facility to be inspected and/or sampled shall be promptly removed by the operator at the written or oral request of the City and shall not be replaced. The costs of clearing such access shall be borne by the operator.

6.	Unreasonable delays in allowing the City access to a permitted facility is a violation of a stormwater discharge permit and of this Chapter. A person who is the operator of a facility with a NPDES permit to discharge stormwater associated with industrial activity commits an offense if the person denies the City reasonable access to the permitted facility for the purpose of conducting any activity authorized or required by this Chapter.

7.	If the City has been refused access to any part of the premises from which stormwater is discharged and he/she is able to demonstrate probable cause to believe that there may be a violation of this Chapter or that there is a need to inspect and/or sample as part of a routine inspection and sampling programs designed to verify compliance with this Chapter or any order issued hereunder or to protect the overall public health, safety and welfare of the community, then the City may seek issuance of a search warrant from any court of competent jurisdiction.

#### Section 250.110 Requirement To Prevent, Control and Reduce Stormwater Pollutants By The Use of Best Management Practices.

[Ord. No. 09-7363 §1, 11-24-2009]

The City will adopt requirements identifying Best Management Practices for any activity, operation or facility which may cause or contribute to pollution or contamination of stormwater, the storm drain system or waters of the U.S. The owner or operator of a commercial or industrial establishment shall provide, at their own expense, reasonable protection from accidental discharge of prohibited materials or other wastes into the municipal storm drain system or watercourses through the use of these structural and non-structural BMP. Further, any person responsible for a property or premises which is or may be the source of an illicit discharge may be required to implement, at said person's expense, additional structural and non-structural BMP to prevent the further discharge of pollutants to the municipal separate storm sewer system. Compliance with all terms and conditions of a valid NPDES permit authorizing the discharge of stormwater associated with industrial activity, to the extent practicable, shall be deemed compliant with the provisions of this Section. These BMP shall be part of a Storm Water Pollution Prevention Plan (SWPP) necessary for compliance with requirements of the NPDES permit and a copy shall be maintained in the stormwater manager's office at the Public Works Department.

#### Section 250.120 Watercourse Protection.

[Ord. No. 09-7363 §1, 11-24-2009]

Every person owning property through which a watercourse passes or such person's lessee shall keep and maintain that part of the watercourse within the property free of trash, debris, excessive vegetation and other obstacles that would pollute, contaminate or significantly retard the flow of water through the watercourse. In addition, the owner or lessee shall maintain existing privately owned structures within or adjacent to a watercourse so that such structures will not become a hazard to the use, function or physical integrity of the watercourse.

#### Section 250.130 Notification of Spills.

[Ord. No. 09-7363 §1, 11-24-2009]

Notwithstanding other requirements of law, as soon as any person responsible for a facility or operation or responsible for emergency response for a facility or operation has information of any known or suspected release of materials which are resulting or may result in illegal discharges or pollutants discharging into stormwater, the storm drain system or water of the United States, said person shall take all necessary steps to ensure the discovery, containment and cleanup of such release. In the event of such a release of hazardous materials, said person shall immediately notify emergency response agencies of the occurrence via emergency dispatch services. In the event of a release of non-hazardous materials, said person shall notify the City in person or by phone or facsimile no later than the next business day. Notifications in person or by phone shall be confirmed by written notice addressed and mailed to the City within three (3) business days of the phone notice. If the discharge of prohibited materials emanates from a commercial or industrial establishment, the owner or operator of such establishment shall also retain an on-site written record of the discharge and the actions taken to prevent its recurrence. Such records shall be retained for at least three (3) years.

#### Section 250.140 Enforcement.

[Ord. No. 09-7363 §1, 11-24-2009]

A.	Notice Of Violation. Whenever the City finds that a person has violated a prohibition or failed to meet a requirement of this Chapter, the City may order compliance by written notice of violation to the responsible person. Such notice may require without limitation:

1.	The performance of monitoring, analyses and reporting;

2.	The elimination of illicit connections or discharges;

3.	Violating discharges, practices or operations shall cease and desist;

4.	The abatement or remediation of stormwater pollution or contamination hazards and the restoration of any affected property;

5.	Payment of a fine to cover administrative and remediation costs; and

6.	The implementation of source control or treatment BMP.

B.	If abatement of a violation and/or restoration of affected property are required, the notice shall set forth a deadline within which such remediation or restoration must be completed. Said notice shall further advise that, should the violator fail to remediate or restore within the established deadline, the work will be done by a designated governmental agency or a contractor and the expense thereof shall be charged to the violator.

#### Section 250.150 Appeal of Notice of Violation.

[Ord. No. 09-7363 §1, 11-24-2009]

Any person receiving a notice of violation may appeal the determination of the City. The notice of appeal must be received within ten (10) days from the date of the notice of violation. Hearing on the appeal before the appropriate authority or his/her designee shall take place within fifteen (15) days from the date of receipt of the notice of appeal. The decision of the municipal authority or their designee shall be final.

#### Section 250.160 Enforcement Measures After Appeal.

[Ord. No. 09-7363 §1, 11-24-2009]

If the violation has not been corrected pursuant to the requirements set forth in the notice of violation or in the event of an appeal within thirty (30) days of the decision of the municipal authority upholding the decision of the City, then representatives of the City shall enter upon the subject private property and are authorized to take any and all measures necessary to abate the violation and/or restore the property. It shall be unlawful for any person, owner, agent or person in possession of any premises to refuse to allow the government agency or designated contractor to enter upon the premises for the purposes set forth above.

#### Section 250.170 Cost of Abatement of The Violation.

[Ord. No. 09-7363 §1, 11-24-2009]

A.	Within thirty (30) days after abatement of the violation, the owner of the property will be notified of the cost of abatement, including administrative costs. The property owner may file a written protest objecting to the amount of the assessment within ten (10) days. If the amount due is not paid within a timely manner, as determined by the decision of the municipal authority or by the expiration of the time in which to file an appeal, the charges shall become a special assessment against the property and shall constitute a lien on the property for the amount of the assessment.

B.	Any person violating any of the provisions of this Section shall become liable to the City by reason of such violation.

#### Section 250.180 Injunctive Relief.

[Ord. No. 09-7363 §1, 11-24-2009]

It shall be unlawful for any person to violate any provision or fail to comply with any of the requirements of this Chapter. If a person has violated or continues to violate the provisions of this Chapter, the City may petition for a preliminary or permanent injunction restraining the person from activities which would create further violations or compelling the person to perform abatement or remediation of the violation.

#### Section 250.190 Compensatory Action.

[Ord. No. 09-7363 §1, 11-24-2009]

In lieu of enforcement proceedings, penalties and remedies authorized by this Chapter, the City may impose upon a violator alternative compensatory action such as storm drain stenciling, attendance at compliance workshops, creek cleanup, etc.

#### Section 250.200 Violations Deemed A Public Nuisance.

[Ord. No. 09-7363 §1, 11-24-2009]

In addition to the enforcement processes and penalties provided, any condition caused or permitted to exist, which is in violation of any of the provisions of this Chapter and is a threat to public health, safety and welfare and is declared and deemed a nuisance, may be summarily abated or restored at the violator's expense and/or a civil action to abate, enjoin or otherwise compel the cessation of such nuisance may be taken.

#### Section 250.210 Criminal Prosecution.

[Ord. No. 09-7363 §1, 11-24-2009]

Any person that has violated or continues to violate this Chapter shall be liable to criminal prosecution to the fullest extent of the law. The City may recover all attorneys' fees, court costs and other expenses associated with enforcement of this Chapter, including sampling and monitoring expenses.

#### Section 250.220 Remedies Not Exclusive.

[Ord. No. 09-7363 §1, 11-24-2009]

The remedies listed in this Chapter are not exclusive of any other remedies available under any applicable Federal, State or local law and it is within the discretion of the City to seek cumulative remedies.

Illicit Discharge Detection and

Elimination (IDDE) Plan

Acronyms

Chapter 1: Introduction

Chapter 2: IDDE Program Outline

2.1 Important Terminology

2.2 Land Use and Potential Generating Sites

Table 2.2 Land Use, generating Site activities

2.3 Finding, Fixing, and Preventing Illicit Discharges

2.4 Non-Stormwater Discharges

Chapter 3: Municipal Storm Drain System Mapping

3.1 Current Program

3.2 Mapping

3.3 Outfall(s)

Chapter 4: Prohibiting Illicit Discharges

4.1 Current Ordinances

4.2 Recommendations

4.3 Prohibited MS4 Discharges

Chapter 5: Preventing Illicit Discharges

5.1 Purpose

5.2 Desired Results and/or Outcome

5.3 Overview of Preventing Illicit Discharges

5.4 Preventing Illicit Discharges from Neighborhoods

Figure 5.4.1 Storm box Marker

Figure 5.4.2 Septic Tank Cleaning

Figure 5.4.3 Oil Change

Figure 5.4.4 Car Washing

Figure 5.4.5 Household Hazardous Waste

Figure 5.4.6 Draining Swimming Pool

5.5 Preventing Illicit Discharges from Generating Sites

Table 5.5 Common Discharges Produced at Generating Sites

5.6 Preventing Illicit Discharges from Municipal Operations

5.7 Budgeting and Scoping Pollution Prevention

Chapter 6: Detection and Elimination of Illicit Discharges

6.1 Current Resources

6.2 Proactive Investigation

6.2.1 Prioritization Procedures

Table 6.2.1 Land Use, Activities that Produce Discharges

6.2.2 General Field Assessment Procedures

Figure 6.2.2 City of Webb City Illicit Discharge Field Inspection Report

6.2.3 Physical Parameters

6.2.4 Water Quality Sampling and Testing

Table 6.2.4 Water Quality Test Parameters and Uses

6.2.5 Immediate Response Procedures

6.2.6 Isolating Illicit Discharges (Source Tracking)

6.3 Investigation and Response Procedures

Chapter 7: Public Education

7.1 Public Information

7.2 Hotline

Chapter 8: Reporting and Recordkeeping

8.1 Tracking (Spills, Inspections, and Public Comment/Feedback)

8.2 Record Keeping

Chapter 9: Staff Training

9.1 Training Lead

9.2 Detailed Training

9.3 General Training

Chapter 10: References

10.1 IDDE Program Information

10.2 Websites for downloading Research Materials

Chapter 11: Appendices

Appendix A: Dry Weather Monitoring Sampling

11.1 Dry Weather Monitoring Field Equipment Checklist

11.2 Sampling Procedures and Submission

11.3 Equipment Maintenance

11.4 Quality Control/Quality Assurance

11.5 Health and Safety

Appendix B: Table 1 Summary of Laboratory Sampling and Analysis Requirements

Appendix C: Outfall Reconnaissance Inventory/Sample Collection Field Sheet Pg. 1

Appendix D: Methods of Flow Measurements

Appendix E: Illicit Discharge Hotline Incident Tracking Sheet Pg. 1

Appendix F: City Land Use/Zoning Map

Chapter 12: Evaluation of the IDDE Program

12.1 Introduction

12.2 Evaluation Strategy

Acronyms

BMP – Best Management Practice

CWA – Clean Water Act

EPA – Environmental Protection Agency

GIS – Geographic Information System

GPS – Global Positioning System

IDDE – Illicit Discharge Detection and Elimination

MCM – Minimum Control Measure

MEP – Maximum Extent Practicable

MS4 – Municipal Separate Storm Sewer System

NPDES – National Pollutant Discharge Elimination System

NOV – Notice of Violation

SIC – Standard Industrial Classification

SWMP – Stormwater Management Plan

SWPPP – Stormwater Pollution Prevention Plan

The City – City of Webb City, Missouri

TMDL – Total Maximum Daily Load

CHAPTER 1: INTRODUCTION

The Federal Clean Water Act (CWA) is the cornerstone of surface water quality protection in the United States. Though the CWA does not deal directly with groundwater or with water quantity issues, the statute employs a variety of regulatory and non-regulatory tools to sharply reduce direct pollutant discharges into waterways and manage polluted runoff. These tools are employed to achieve the broader goal of restoring and maintaining the chemical, physical, and biological integrity of the Nation’s waters so that they can support the protection of watersheds. To further reduce the adverse effects of stormwater runoff, the U.S. Environmental Protection Agency (EPA) instituted its Stormwater Phase II Final Rule on December 8, 1999.

Phase II Stormwater Program Administration: As authorized by the CWA, the National Pollutant Discharge Elimination System (NPDES) Permit Program controls water pollution by regulating point sources that discharge pollutants into waters of the United States. The Phase II Stormwater Program is part of the EPA’s NPDES program, which in Missouri is delegated to the Missouri Department of Natural Recourses (MDNR) to administer. Under this authority, MDNR has issued Phase 1 and Phase II NPDES permits regulating the discharge of stormwater. The City is under the regulations of the MS4 NPDES Phase II Municipal Stormwater Permit issued on October 1, 2021 which will remain in effect until September 30, 2026.

Phase II Stormwater Program Regulations: The City of Webb City’s Municipal Separate Storm Sewer System (MS4) is a system that discharges stormwater runoff to surface water, or waters of the State or United States. Phase II regulates discharges from small MS4s located in “urbanized areas” (as delineated by the Census Bureau in the most recent census). Phase II also regulates construction activities that disturb one (1) or more acres of land.

The Role of Illicit Discharges Detection and Elimination (IDDE) in Phase II Stormwater: To comply with the regulation of the NPDES Phase II permit, the City must, within their Stormwater Management Plan (SWMP) develop, implement, and enforce an IDDE program that is designed to reduce the discharge of pollutants to the maximum extent practicable; To protect water quality and satisfy the applicable water quality requirements of the NPDES/MS4 General Operating Permit.

The EPA’s Stormwater Phase II Final Rule states that this SWMP must include the following six Minimum Control Measures (MCMs):

- Public education and outreach on stormwater impacts,

- Public involvement and participation,

- Illicit Discharge Detection and Elimination (IDDE),

- Construction site stormwater runoff control,

- Post-construction stormwater management in new development and redevelopment, and

- Pollution prevention and good housekeeping for municipal operations.

Phase II Stormwater Education: As reflected above, the City, through the successful implementation of the six minimum control measures, has and will continue to provide stormwater education, including IDDE, to City employees, residents, civic groups, owner/operator of Commercial/Industrial facilities as well as the general public.

CHAPTER 2: IDDE PROGRAM OUTLINE

2.1 IMPORTANT TERMINOLOGY

Storm Drain:

A “Storm Drain” System or storm sewer system is designed to drain excess rain and ground water from impervious surfaces such as paved streets, parking lots, driveways and roofs. Normally consists of pipes, junction boxes, inlet boxes, basins, ditches, and open channels used to transport stormwater. The terminology “Storm Sewer” which has been in general use for many years, appears to gradually be changing to “Storm Drain” to help differentiate between sanitary sewers and storm sewers. Throughout the rest of this document the term “Storm Drain” will be utilized in place of “Storm Sewer”. From a regulatory standpoint, “Major” storm drains are defined as enclosed storm drainpipes with a diameter of 36 inches, or greater or open channels that drain more than 50 acres. For industrial land uses, major drains are defined as enclosed storm drainpipes 12 inches or greater in diameter and open channels that drain more than two acres. “Minor” storm drains are smaller than these thresholds. Both major and minor storm drains can be a source of illicit discharges, and both merit investigation.

Stormwater:

“Stormwater” is water that originates during precipitation events and snow/ice melt. Stormwater can soak into the soil (infiltrate), be held on the surface, and evaporate, or runoff and end up (un-treated) in nearby streams, rivers, or other water bodies.

Surface Water:

“Surface water” is water that collects on the surface of the ground, the top layer of a body of water.

Watershed:

A “Watershed” is an area or ridge of land that separates waters flowing to different rivers, basins, or other body of water.

Waters of the State:

“Waters of the State” refers to all rivers, streams, lakes, and other bodies of surface and subsurface water lying within or forming a part of the boundaries of the state which are not entirely confined and located completely upon lands owned, leased, or otherwise controlled by a single person or by two or more persons jointly or as tenants in common and includes waters of the United States lying within the state. (Section 644.016) http://www.moga.missouri.gov/statutes/C600-699/6440000016.HTM

Waters of the United States:

The definition of "waters of the United States" currently in effect is the definition promulgated in 1986/1988, implemented consistent with subsequent Supreme Court decisions and guidance documents. The 2015 revised regulatory definition of "waters of the United States" has been stayed by the U.S. Court of Appeals for the Sixth Circuit. In response to this stay, EPA, Department of Army, and the Army Corps of Engineers resumed nationwide use of the agencies’ prior regulations defining the term “waters of the United States.” On February 28, 2017, the President of the United States issued an Executive Order directing EPA and Department of the Army to review and rescind or revise the 2015 Rule.

Illicit Discharge:

- The term “illicit discharge” is defined in the MDNR Phase II Stormwater regulations as “any discharge to a municipal separate storm sewer system (MS4) that is not composed entirely of stormwater, except discharges resulting from fire-fighting activities.”

- Each illicit discharge has a unique frequency, composition, and mode of entry in the storm drain system.

- Illicit discharges are frequently caused when the sanitary sewage system interacts with the storm drain system. A variety of monitoring techniques may be used to locate and eliminate illegal sewage connections. These techniques are intended to trace sewage flows from the stream or outfall, back up the pipes or conveyances to reach the problem connection, discharge or dumping.

- Illicit discharges of other pollutants are produced from specific source areas and operations known as “generating sites.” Knowledge about these generating sites can be helpful to locate and prevent non-sewage illicit discharges.

Depending on the regulatory status of specific generating sites, education, enforcement, and other pollution prevention techniques can be used to manage this class of illicit discharges.

Discharge Flow Types:

Dry weather discharges are composed of one or more possible flow types.

1. Sewage and septic flows are produced from sewer pipes and septic systems.

2. Washwater flows are generated from a wide variety of activities and operations. Examples include discharges of gray water (laundry) from homes, commercial carwash wastewater, fleet washing, commercial laundry wastewater, and floor washing to shop drains.

3. Liquid wastes refers to a wide variety of flows, such as oil, paint, and process water (radiator flushing water, plating bath wastewater, etc.) that enter the storm drain system.

4. Tap water flows are derived from leaks and losses that occur during the distribution of drinking water in the water supply system.

5. Landscape irrigation flows occur when excess potable water used for residential or commercial irrigation ends up in the storm drain system.

6. Groundwater and spring water flows occur when the local water table rises above the bottom elevation of the storm drain (known as the invert) and enters the storm drain either through cracks and joints, or where open channels or pipes associated with the MS4 may intercept seeps and springs.

Discharge Categories:

Illicit Discharges can be separated into three (3) categories based on frequency of discharge:

1. Transitory Illicit Discharge: These are typically a one-time event. They can result from spills, dumping, and line breaks. These types of discharges are often the most difficult to investigate and trace back to the source. Methods for reducing this type of discharge are to educate the public on stormwater regulations and illicit discharges; establishment of a “hotline” telephone number for the public to call if any discharges are observed; and education of the community’s investigative responses to sources of illicit discharge.

2. Intermittent Illicit Discharge: These are typically discharges that occur occasionally. They can occur several hours per day, week or over the course of a year. They can happen as the result of line breaks or cross connections.

3. Continuous Illicit Discharge: These direct connections into the MS4 can be from sanitary sewers, cross connections, infrastructure problems with a sanitary sewer system, or malfunctioning household sewage treatment systems. This type of discharge is the easiest to find, investigate, trace, and eliminate from the MS4. These types of discharges also tend to have the greatest impact because of the constant pollutant loading into a water body.

Mode of Entry:

Illicit discharges can be further classified based on how they enter the storm drain system. The mode of entry can either be direct or indirect.

1. “Direct entry” means that the discharge is directly connected to the storm drainpipe through a sewage pipe, shop drain, or other kind of pipe. Direct entry usually produces discharges that are continuous or intermittent. Direct entry usually occurs when two different kinds of “plumbing” are improperly connected.

- Sewage cross-connections: A sewer pipe that is improperly connected to the storm drain system produces a continuous discharge of raw sewage to the storm drainpipe. Sewage cross-connections can occur in catchments where combined sewers or septic systems are converted to a separate sewer system, and a few pipes get “crossed.”

- Straight pipe: This term refers to relatively small diameter pipes that intentionally bypass the sanitary connection or septic drain fields, producing a direct discharge into open channels or streams.

- Industrial and commercial cross-connections: These occur when a drainpipe is improperly connected to the storm drain system producing a discharge of wash water, process water or other inappropriate flows into the storm drain pipe, i.e. a floor shop drain that is illicitly connected to the storm drain system. Older industrial areas tend to have a high potential for illicit cross-connections.

2. “Indirect entry” means that flows generated outside the storm drain system enter through storm drain inlets or by infiltrating through the joints of the pipe. Generally, indirect modes of entry produce intermittent or transitory discharges, except for groundwater seepage.

The five main modes of indirect entry for discharges include:

- Groundwater seepage into the storm drainpipe: Seepage frequently occurs in storm drains after long periods of above average rainfall. Seepage discharges can be either continuous or intermittent, depending on the depth of the water table and the season. Groundwater seepage usually consists of relatively clean water that is not an illicit discharge by itself but can mask other illicit discharges. If storm drains are located close to sanitary sewers, groundwater seepage may intermingle with diluted sewage.

- Spills that enter the storm drain system at an inlet: These transitory discharges occur when a spill travels across an impervious surface and enters a storm drain inlet. Spills can occur at many industrial, commercial, and transport-related sites. A very common example is an oil or gas spill from an accident that then travels across the road into the storm drain system.

- Dumping a liquid into a storm drain inlet: This type of transitory discharge is created when liquid wastes such as oil, grease, paint, solvents, and various automotive fluids are dumped into the storm drain. Liquid dumping occurs intermittently at sites that improperly dispose of rinse water and wash water during maintenance and cleanup operations. A common example is cleaning deep fryers in the parking lot of fast food operations.

- Outdoor washing activities that create flow to a storm drain inlet: Outdoor washing may or may not be an illicit discharge, depending on the nature of the generating site that that produces the wash water. For example, hosing off individual sidewalks and driveways may not generate significant flows or pollutant loads. On the other hand, routine washing of fueling areas, outdoor storage areas, and parking lots (power washing), and construction equipment cleanouts may result in unacceptable pollutant loads.

- Non-target irrigation from landscaping or lawns that reaches the storm drain system: Irrigation can produce intermittent discharges from over-watering or misdirected sprinklers that send tap water over impervious areas.

In some instances, non-target irrigation can produce unacceptable loads of nutrients, organic matter, or pesticides. The most common example is a discharge from commercial landscaping areas adjacent to parking lots connected to the storm drain system.

2.2 LAND USE AND POTENTIAL GENERATING SITES (Table 2.2)

Land use can predict the potential for indirect discharges, which are often intermittent or transitory. Many indirect discharges can be identified and prevented using the concept of “generating sites,” which are sites where common operations can generate indirect discharges in a community. Both research and program experience indicate that a small subset of generating sites within a broader land use category can produce most of the indirect discharges. Consequently, the density of potential generating sites within a sub-watershed may be a good indicator of the severity of local illicit discharge problems. Some common generating sites within major land use categories are listed in Table 2.2, and described below.

- Residential Generating Sites: Failing septic systems have historically been the most common residential discharge reported. In addition, residential discharges frequently contained oil, irrigation overflows, swimming pool discharges, and car washing. Many indirect discharges are caused by common residential behaviors and may not be classified as “illicit” even though they can contribute to water quality problems.

- Commercial Generating Sites: Illicit discharges from commercial sites typical include operations such as outdoor washing; disposal of food wastes; car fueling, repair, and washing; parking lot power washing; and poor dumpster management. It is important to note that not all businesses within a generating category actually produce illicit discharges; generally, only a relatively small fraction do.

Consequently, on-site inspections of individual businesses are needed to confirm whether a property is actually a generating site.

- Industrial Generating Sites: Industrial sites produce a wide range of flows that can cause illicit discharges. The most common continuous discharges are operations involving the disposal of rinse water, process water, wash water and contaminated, noncontact cooling water. Spills and leaks, ruptured pipes, and leaking underground storage tanks are also a source of indirect discharges.

Industries are classified according to hundreds of different Standard Industrial Classification (SIC) codes. The SIC coding system also includes commercial, institutional, and municipal operations. Many industries are required to have storm water pollution prevention and spill response plans under EPA’s Industrial Storm Water NPDES Permit Program.

- Institutional Generating Sites: Institutions such as hospitals, corporate campuses, colleges, churches, and cemeteries can be generating sites if routine maintenance practices/operations create discharges from parking lots and other areas. Many large institutional sites have their own areas for fleet maintenance, fueling, outdoor storage, and loading/unloading that can produce indirect discharges.

- Municipal Generating Sites: Municipal generating sites include operations that handle solid waste, water, wastewater, street and storm drain maintenance, fleet washing, and yard waste disposal. Transport-related areas such as streets and highways, and parking lots can also generate indirect discharges from spills, accidents, and dumping.

2.3 FINDING, FIXING, AND PREVENTING ILLICIT DISCHARGES.

The purpose of an IDDE program is to find, fix and prevent illicit discharges, and a series of techniques exist to meet these objectives. The remainder of the manual describes the major tools used to build a local IDDE program, but they are briefly introduced below:

- Locate Problem Areas: Priority areas need to be identified for detailed screening of the system based on the likelihood of illicit connections (e.g., areas with older sanitary sewer lines). Methods that can locate problem areas include visual screening; water sampling from manholes and outfalls during dry weather; the use of infrared and thermal photography, cross-training field staff to detect illicit discharges, and public complaints.

Monitoring can sometimes pick up other types of illicit discharge that occur on a continuous or intermittent basis (e.g., wash water and liquid wastes). Monitoring techniques are classified into three major groups:

• Outfall Reconnaissance / Inventory

• Indicator Monitoring at Storm Water Outfalls and In-stream

• Tracking Discharges to their Source

- Find the Source: Once a problem area or discharge is found, additional efforts usually are necessary to determine the source of the problem. Methods that can find the source of the illicit discharge include: dye-testing buildings in problem areas; dye- or smoke-testing buildings; tracing the discharge upstream in the storm sewer; employing a certification program that shows that buildings have been checked for illicit connections; implementing an inspection program of existing septic systems; and using video to inspect the storm sewers.

- Remove/Correct Illicit Connections: Once the source is the offending discharger is identified that party will be notified and directed to correct the problem. Attempts to educate the offender and work with them to resolve the problem a thorough and timely manner will be the first step, before taking legal action.

Once all amicable avenues have been exhausted and the situation has still not been resolved, then the next step would be to take legal action i.e. citation for ordinance violation.

- Preventing Illicit Discharges: The old adage “an ounce of prevention is worth a pound of cure” certainly applies to illicit discharges. Transitory discharges from generating sites can be minimized through pollution prevention practices and well-executed spill management and response plans. See addendum MCM #6-3 copy of the City’s Spill Prevention and General Response program.

- Document Actions Taken: All actions taken under the plan should be documented. This illustrates that progress is being made to eliminate illicit connections and discharges. Documented actions will be included in annual reports and include information such as: the number of outfalls screened; any complaints received and corrected; the number of discharges and quantities of flow eliminated; and the number of dye or smoke tests conducted.

2.4 NON-STORMWATER DISCHARGES:

According to the MDNR Phase II Stormwater regulations, an IDDE program needs only address the following categories of non-stormwater discharges if the operator of a small MS4 (i.e., City of Webb City) identifies them as significant contributors of pollutants to the MS4 (which the City of Webb City does not):

•Water line flushing

• Irrigation return flow

• Landscape irrigation

•Springs

•Diverted stream flows

• Water from sump pumps (crawl space)

•Rising groundwater

• Footing drains

•Uncontaminated groundwater infiltration 
• Dechlorinated swimming pool discharges

• Street sweeper wash water

• Individual residential car washing

• Foundation drains

• Lawn watering

• Flows from riparian habitats and wetlands

• Uncontaminated pumped groundwater

• Air conditioning condensation

CHAPTER 3: MUNICIPAL STORM DRAIN SYSTEM MAPPING

3.1 CURRENT PROGRAM

The City currently is in progress of having the following stormwater-related information in the GIS

database:

* Storm Drain System

* Catch basins and manholes

* Ditches/Trickle Channels

* Streams (watercourses)

* Outfalls

* Inlet/Outlet pipes

In 2020, the City of Webb City’s MS4 staff, along with Anderson Engineering, began the development of a stormwater GIS System to address the MS4 Phase II mapping requirements. This GPS/GIS system is maintained and updated by the Public Works Department. The City will continue to update this data base and map as new features are expanded, added, and constructed.

3.2 MAPPING

Field Data Collection

- A map of all structural BMPs owned, operated, or maintained by the City. Global Positioning System (GPS) is used to obtain the coordinates (longitude and latitude) and other specific individual identifying information for every aspect of the storm drain system including; inlet/outlet pipes (size and material) basins (area), trickle channels (length and width, material), inlet boxes (curb, area and grated), etc., to compile and update this map.

- For pipe outfalls 24-inch-diameter pipes and watercourse outfalls, a map with the following attributes for each outfall, tributary conveyances (type, material, and size where known), associated drainage areas and land use.

Although most of the watercourses and pipes have a cross-sectional area less than a 24-inch-diameter pipe, the City has elected to map the entire storm drain system and all known features.

As-Built Data Collection

- As-built drawings provide location as well as feature information in a concise manner. Currently, the City of Webb City requires that as-builts be submitted for all new developments, including drainage infrastructure. Electronic information is submitted to the City’s GIS Department, which is used to update the storm drain GIS System. This allows the City to maintain a mapping system that contains an accurate, current, and reliable source of information for the entire storm drain system, even underground features.

3.3 OUTFALL(s)

The paragraph below is an excerpt from EPA’s Stormwater Phase II Final Rule

(USEPA, 1999): The term “outfall” is defined in 40 CFR 122.26(b)(9) as “a point source at the point where a municipal separate storm sewer discharges to waters of the United States.”

The term “Municipal Separate Storm Sewer” is defined at 40 CFR 122.26(b)(8) as “a conveyance or system of conveyances (including roads with drainage systems, municipal streets, catch basins, curbs, gutters, ditches, man-made channels, or storm drains).”

Following the logic of these definitions, a “ditch” may be part of the municipal separate storm sewer system, and at the point where the ditch discharges to waters of the United States (State), it is an outfall. As with any determination about jurisdictional provisions of the CWA, however, final decisions require case-specific evaluations of fact.

CHAPTER 4 – PROHIBITING ILLICIT DISCHARGES

ILLICIT DISCHARGE ORDINANCE

4.1 CURRENT ORDINANCE

Chapter 250 of the City’s Land Disturbance, Illicit Discharge and Erosion Control ordinance prohibits illicit discharges. See addendum MCM #3-1 copy of the Land Disturbance, Illicit Discharge and Erosion Control ordinance.

4.2 RECOMMENDATIONs

As the MDNR’s guidance specifies, a municipal ordinance or other regulatory mechanism created to comply with Phase II regulations must include a prohibition of illicit discharges and an enforcement mechanism. It is essential for the City to establish legal authority to inspect properties suspected of releasing contaminated discharges into the MS4. This authority was established when the stormwater ordinance was adopted in 2009. However, it may be necessary to draft and implement a standalone IDDE ordinance to fully address every aspect of this IDDE manual.

The City of Webb City has taken into account the legal authority granted to it under state law (as a home-rule municipality), the Phase II Permit requirements in the State of Missouri, the enforcement methods the City deems appropriate, and any other locality-specific considerations. Consequently, the City can prohibit illicit discharges to our MS4, as well as enforce the elimination and mitigation of any illicit discharges that may occur, through the following legal regulatory mechanism:

Chapter 250 DISCHARGE PROHIBITIONS of the City’s Land Disturbance, Illicit Discharge & Erosion Control ordinance.

Each day a violation of this Chapter continues shall constitute a separate offense. The City’s Public Works Inspectors are authorized according to the Stormwater ordinance to inspect and examine any public or private property in the City for the purpose of ascertaining the nature and existence of any stormwater pollutant.

4.3 PROHIBITED MS4 DISCHARGES

The following are considered to be illicit (illegal) discharges to the City of Webb City’s MS4 (this list is not considered all inclusive):

Sanitary wastewater sources such as:

• Sanitary wastewater (usually untreated) from improper sewerage connections, exfiltration or leakage.

• Effluent from improperly operating or improperly designed septic tanks; and

•Overflows of sanitary sewer systems (e.g., manholes).

Automobile maintenance and operation sources such as:

•Untreated (e.g., not captured through a well-maintained oil/water separator) commercial car wash wastewater.

•Untreated radiator flushing wastewaters.

•Untreated engine degreasing wastes.

•Improper oil, gasoline, and other automotive fluids disposal.

•Leaky underground storage tanks; and

•Untreated leaking of oils, gasoline, and other automotive fluids for automobiles.

Landscape irrigation sources such as:

•Direct spraying of fertilizers, pesticides, or herbicides onto impervious surfaces; and

•Over-application of fertilizers, pesticides, or herbicides onto landscaping.

Other sources such as:

•Laundry wastes.

•Metal plating baths.

•Dewatering of construction sites.

•Washing of concrete ready-mix trucks.

•Contaminated sump pump discharges.

•Improper disposal of household toxic wastes.

•Spills from roadway and other accidents.

•Chemicals, hazardous materials, garbage, and sanitary sludge landfills and disposal sites.

•Commercial use of soaps and detergents; use in cleaning pavement, vehicles, and equipment.

•Sediment from lack of or improper maintenance of erosion and sedimentation controls.

•Latex/oil-based paints & solvents.

•Trash and debris: littering and dumping, household, or construction waste; and

•Restaurant grease: Improper disposal or spillage.

CHAPTER 5 – PREVENTING ILLICIT DISCHARGES

5.1 PURPOSE

This program component identifies key behaviors of neighborhoods, generating sites, and municipal operations that produce intermittent and transitory discharges. These key “discharge behaviors” are then targeted for improved pollution prevention practices that can prevent or reduce the risk of discharge. The City may then apply a wide range of education and enforcement tools to promote the desired pollution prevention practices.

The intent is to identify the major behaviors that generate intermittent and transitory discharges, once that occurs, specific discharge behaviors and generating sites will be targeted for education and enforcement efforts.

5.2 DESIRED RESULTS AND OR OUTCOME(S)

The desired outcome is a mix of prevention programs that target the most common intermittent and transitory discharges in the community. The City will develop targeted pollution prevention programs for three sectors of the community:

- Neighborhood Discharges. The pollution prevention practices related to discharge prevention in residential neighborhoods include storm drain stenciling, lawn care, septic system maintenance, vehicle fluid changing, car washing, household hazardous waste disposal and swimming pool draining. See MCM #2 Public Involvement and Participation for additional information.

- Generating Sites. This group of pollution prevention practices can reduce spills and transitory discharges generated during common business operations. Practices include business outreach, spill prevention and response plans, employee training and site inspections.

- Municipal Housekeeping. This group of pollution prevention practices is

performed during municipal operations, such as sewer and storm drain maintenance, plumbing code revision, and provision of household hazardous waste and used oil collection services. See MCM #6 Pollution Prevention/Good Housekeeping for Municipal Operations for additional Information.

5.3 OVERVIEW OF PREVENTING ILLICIT DISCHARGES

Intermittent and transitory discharges are difficult to detect through outfall screening or indicator monitoring. The best way to manage these discharges is likely to promote pollution prevention practices in the community that prevent them from occurring. This discharge prevention message is will be tied to the storm water education programs required under the City’s SWMP as:

• Public Education and Outreach

• Public Participation/Involvement

• Municipal Pollution Prevention/Good Housekeeping

5.4 PREVENTING ILLICIT DISCHARGES FROM NEIGHBORHOODS

Many common neighborhood behaviors can cause transitory discharges that are seldom defined or regulated as illicit discharges by most communities. Individually, these behaviors cause relatively small discharges, but collectively, they can produce significant pollutant loads. The City will use outreach and education to promote pollution prevention practices. Some of the more effective practices to influence these behaviors are described in this section:

• Storm drain stenciling

• Septic system maintenance

• Vehicle fluid changing

• Car washing

• Household hazardous waste storage and disposal

• Swimming pool draining

Storm Drain Stenciling: Storm drain stenciling and/or medallion application sends a clear message to keep trash and debris, leaf litter, and pollutants out of the storm drain system, and may deter illegal dumping and discharges. Stenciling may increase watershed awareness and neighborhood stewardship and can be used in any neighborhood with enclosed storm drains. Stenciling is an excellent way to involve the public, and just a few trained volunteers can systematically stencil all the storm drains within a neighborhood in a short time. Volunteers can be recruited from scouting, community service, and watershed organizations, or from high schools and neighborhood associations. (Figure 5.4.1) See MCM #2 Public Involvement and Participation for additional information.

Figure 5.4.1

Septic System Maintenance: Though there are not many septic systems left in the City, it only takes one to fail to have a large impact on our storm drain system. Failing septic systems can be a major source of bacteria, nitrogen, and phosphorus. According to U.S. EPA (2002), more than half of all existing septic systems are more than 30 years old, which is well past their design life. The same study estimates that about 10% of all septic systems are not functioning properly at any given time. Septic systems are a classic case of out of sight and out of mind. Many owners take their septic systems for granted, until they back up or break out on the surface of their lawn. Subsurface failures, which are the most common, go unnoticed. In addition, inspections, pump outs, and repairs can be costly, so many homeowners tend to put off the expense until there is a real problem. (Figure 5.4.2)

Lastly, many septic system owners are not aware of the link between septic systems and water quality. The City can employ a few tools to improve septic system maintenance. These may include:

• Media campaigns and conventional outreach materials to increase awareness about septic system maintenance and water quality (e.g., billboards, radio, newspapers, brochures, bill inserts, and newsletters)

• Mandatory inspections

• Performance certification upon property transfer

Figure 5.4.2

Vehicle Fluid Changing: Dumping of automotive fluids into storm drains can cause major water quality problems, since only a few quarts of oil or a few gallons of antifreeze can severely degrade a small stream. Dumping delivers hydrocarbons, oil and grease, metals, xylene and other pollutants to streams, which can be toxic during dry-weather conditions when existing flow cannot dilute these discharges.

The major culprit has been the backyard mechanic who changes his or her own

automotive fluids (Figure 5.4.3). The City will utilize a range of tools to prevent illegal dumping of car fluids, including:

• Outreach materials distributed at auto parts store and service stations

• Community oil recycling centers

• Directories of used oil collection stations

• Free or discounted oil disposal containers

• Pollution hotlines

• Fines and other enforcement actions

Figure 5.4.3

Car Washing: Car washing is a common neighborhood behavior that can produce transitory discharges of sediment, nutrients, and other pollutants to the curb, and ultimately the storm drain. (Figure 5.4.4) The City may utilize many innovative outreach tools to promote environmentally safe car washing, including:

• Media campaigns

• Brochures promoting nozzles with shut off valves

• Storm drain plug and wet-vac provisions for charity car wash events

• Utility bill inserts promoting environmentally safe car washing products

• Discounted tickets for use at commercial car washes

Figure 5.4.4

Household Hazardous Waste Storage and Disposal: The average garage contains a lot of products that are classified as hazardous wastes, including paints, stains, solvents, used motor oil, pesticides, and cleaning products. While some household hazardous waste (HHW) are on occasion dumped into storm drains, most enters the storm drain system because of outdoor rinsing and cleanup. Improper disposal of HHW can result in acute toxicity to downstream aquatic life. The desired neighborhood behavior is to use appropriate pollution prevention techniques when conducting rinsing, cleaning and fueling operations.

Convenience and awareness appear to be the critical factors in getting residents to participate in household hazardous waste collection programs. The City may utilize a variety of techniques to promote and expand HHW collection, including:

• Mass media campaigns to educate residents about proper outdoor cleaning/rinsing techniques

• Conventional outreach materials notifying residents about HHW and collection days

Figure 5.4.5

Swimming Pool Draining: Routine and end-of-season maintenance tasks for aboveground or in-ground pools can cause the discharge of chlorinated water

or filter back flush water into the storm drain system or the stream. The ideal practice is to discharge chlorinated pool water into the sanitary sewer system or hold it until chlorine and temperature levels are acceptable to permit spreading it over a suitable pervious surface.

Most pool owners understand that regular maintenance is essential to keep pools safe and clean, and they may be more receptive to changing discharge behaviors with proper education. Effective outreach methods that the City may use includes:

• Conventional outreach techniques on proper discharge (pamphlets, utility bill inserts, posters)

• Educational information at the retail outlets selling pool chemicals

• Changes in local plumbing codes to require discharge to sanitary sewer systems

Figure 5.4.6

5.5 PREVENTING ILLICIT DISCHARGES FROM GENERATING SITES

Many indirect discharges can be identified and prevented using the concept of generating sites, which are a small subset of commercial, industrial, institutional, municipal, and transport-related operations that have the greatest risk of generating indirect discharges. The City has become intimately familiar with these types of generating sites, particularly those regulated by industrial NPDES storm water permits.

Some of the more common operations that generate spills and transitory discharges are profiled in Table 5.5. The City considers all non-stormwater discharges from generating sites to be illicit and will take a more regulatory approach. Consequently, pollution prevention practices are more prescriptive, and are frequently incorporated into a pollution prevention plan for a facility or operation. The City may utilize a broad array of tools to promote effective pollution prevention practices at generating sites including:

• Business outreach and education

• Spill prevention and response planning

• Employee training

• Site inspections

Spill Prevention and Response: A spill prevention and response plan is useful for any potential generating site, and is mandatory for any operation that uses, generates, produces, or transports hazardous materials, petroleum products or fertilizers. In addition, all industrial sites regulated by individual or group NPDES stormwater permits must have an updated spill prevention and response plan on its premises. See addendum

Spill prevention and response plans describe the operational procedures to reduce the risks of spills and accidental discharge and ensure that proper controls are in place in the event they do occur. Spill prevention plans standardize everyday procedures and rely on employee training to reduce potential liability, fines and costs associated with clean up. Planning begins with an analysis of how pollutants are handled at the site and how they interact with storm water. The City will incorporate, within the annual site inspection criteria, requirements of a spill prevention plan at all facilities (commercial/industrial) within the City limits having an active NDPES MS4 Stormwater permit. Spill prevention and response plans have five major components:

- A site map and evaluation of past spills and leaks

- An inventory of materials at the site

- Identification of potential spill areas

- A list of required spill response equipment

- Employee training

These spill prevention and response plans should clearly contain the following aspects:

• Identify potential spill sites and their drainage points

• Specify material handling procedures

• Describe spill response procedures

• Ensure that adequate spill clean-up equipment is available

Employee Training: Effective and repeated employee training on the pollution prevention plan is essential to maintain pollution prevention practices at generating sites, particularly at generating sites where the work force turns over frequently.

Site Inspections: Regular inspections of generating sites are a key tool to foster pollution prevention and reduce the risk of illicit discharges. The City possesses authority to conduct inspections of non-regulated sites that connect to the municipal storm drain system.

These are used to assess the site and educate owners/operators about recommended pollution prevention practices. Site inspections are staff intensive and therefore as stated in the SWMP 50 % are completed each year of the permit cycle. An industrial NPDES stormwater permit is an extremely important compliance tool at many generating sites. NPDES permits require operators to prepare a pollution prevention plan for the site and implement the practices specified in the plan.

Inspections are an important tool to improve compliance at generating sites subject to industrial NPDES permits. Inspectors should frequently observe site operations to ensure that the right mix of pollution prevention practices is routinely employed. The City will continue to inspect all commercial/industrial sites within the City limits that discharge to our storm drain system, and refer any violations for subsequent local, state, or federal enforcement as appropriate.

5.6 PREVENTING ILLICIT DISCHARGES FROM MUNICIPAL OPERATIONS

Many municipal operations and services have the potential to create or reduce illicit discharges. The City will review all municipal operations and services to make sure good housekeeping is practiced. See addendum MCM #6-1 a copy of the City’s Municipal Operation and Maintenance Plan.

Routine Sanitary Sewer and Storm Drain Maintenance: Failure to regularly inspect and maintain local sewer and storm drain infrastructure can cause illicit discharges to receiving waters. Within the storm drain system, maintenance should focus on frequent cleaning to keep trash, debris and illegally dumped material from entering the storm drain system. In the sanitary sewer network, maintenance should focus on finding damaged infrastructure that allows sewage discharges from the sanitary sewer. In-stream monitoring, historical data reviews of past complaints, or aging sewer infrastructure can often be used to identify likely problem areas.

Plumbing Code Revisions: The City has established the legal authority to prohibit illicit connections to the storm drain system. If the City moves forward with the adoption and implementation of a standalone illicit discharge ordinance, thorough review of all the plumbing codes will be necessary to prevent any misinterpretation that might create cross connections to the storm drain system.

Household Hazardous Waste Collection Services: Households generate a lot of hazardous wastes, and communities need to educate residents about proper household hazardous waste (HHW) handling and disposal and provide convenient options for pick up and disposal. The City will host a HHW station at our Annual City Wide Clean Up Event.

Used Motor Oil Collection Services: Used motor oil collection has been a common municipal service for many years, and this is another option for the City to encourage cleaner stormwater by seeking increased participation. Typical outreach approaches may include:

• Conventional outreach materials provided at points of sale (e.g., auto parts store, service stations)

• Multilingual outreach materials

• Directories of used oil collection stations

• Free or discounted oil disposal containers

5.7 BUDGETING AND SCOPING POLLUTION PREVENTION

Budget and/or Staff Resources Required: The budget and staff resources needed for prevention programs can be considerable, and should be coordinated with other storm water education, public involvement and municipal housekeeping initiatives required under NPDES Phase II MS4 permits. Special emphasis should be placed on cross-training staff, partnering with local watershed groups, and pooling educational resources with other communities.

CHAPTER 6: DETECTION AND ELIMINATION OF ILLICIT DISCHARGES

6.1 CURRENT RESOURCES

The City currently has one staff member that is assigned to enforce MS4 regulations as part of their daily duties. However, this is only one of the many duties assigned to him and he is not able to work on MS4 regulations full time. A large portion of this IDDE Program will focused on the training of other City staff to assist with identifying and eliminating illicit discharges.

The public can telephone concerns to the Public Works Department and they can find emergency numbers on the City’s website at www.webbcity.org.

Once implemented, ideally, a hotline representative will receive the information and then contact the appropriate City department/staff to visit the location of the complaint if appropriate. The MS4 Coordinator or other staff from the Public Works Department will respond to all reports regarding spills and illicit discharges. Any call received that is a report of major spill or associated with a hazardous chemical, the Webb City Fire Department will then be notified.

The Public Works Inspectors inspect all new storm drain system construction to

ensure that no cross-connections or illegal connections are installed during that phase of development.

The City’s Street Department staff maintains and repairs all storm drain facilities that the City is responsible for, as needed. By making timely repairs to the existing storm drain system, the likelihood of contaminants entering it from the surrounding ground or nearby sanitary sewer pipes is greatly reduced. See addendum MCM #6-1 a copy of the City’s Municipal Operations and Maintenance Plan.

6.2 PROACTIVE INVESTIGATION

6.2.1 Prioritization Procedures:

The City is required to proactively conduct field assessments to check for illicit discharges and illegal connections to the City’s storm drain system and receiving waterbodies.

The first step of this proactive work is to prioritize those areas most likely to contain illicit discharges (“hot spots”) based on an analysis of Land Use and other specific information (see Appendix G City zoning map, and Appendix L City’s Storm drain priority map). Based on previous work, the following types of areas are more likely to generate polluted discharges than others (Center for Watershed Protection & Pitt, 2004):

- Locations where there have been repeated problems in the past. This could include areas with water quality data or where repeated complaints have been filed.

- Older areas of a community typically have a higher percentage of illegal

connections. Also, deteriorating sewer pipes can allow wastewater exfiltration out of the sanitary lines and into the surrounding environment.

- Commercial and industrial areas tend to have a higher percentage of illicit discharges.

- Areas with large and/or many storage vessels of hazardous solids or liquids. (see land use table below Table 6.2.1)

Another consideration for the City of Webb City is the proximity of the higher risk land uses (commercial/industrial) to receiving waters. These areas will have a short flow path and greater chance of adversely affecting a larger aquatic system in the event of an illicit discharge or spill.

6.2.1.1 City of Webb City Priority Areas Identified:

Using the guidelines provided above, the City of Webb City staff identified the following priority areas within the City’s Phase II Permit boundaries:

- Priority Area #1: Industrial-Manufacturing priority area

- Priority Area #2: Commercial priority area

- Priority Area #3 Residential priority areas

The City has and will continue to conduct qualitative assessments of City’s surface waters by walking the streams to identify additional areas of concern. This activity can also be used to ground-truth (information provided by direct observation) the outfall map, determine the accessibility of the streams for future monitoring, and provide a photographic record of existing conditions.

During each “dry weather” inspection, it is expected that field personnel will collect data on the physical conditions at the outfall as well as water samples for lab analysis, if present.

A GIS-based map will be amended to reflect any potential hot spots and prioritized water bodies. It is expected that because of internal training of staff and public outreach efforts required by the NPDES permit, the City will develop a better understanding of the causes and locations of illicit discharges.

The GIS data base and map are and will continue to be regularly updated to reflect reports from staff and the public as well as information learned by the on-going field assessment work as the City’s IDDE program progresses.

Data sampling goals include conventional parameters, nutrients, biological parameters (bacteria and macroinvertebrates), dissolved metals, herbicides, pesticides, and sediment (metals and hydrocarbons). This information provides useful information, assessing the efficacy of stormwater improvements, and looking for trends and/or localized water quality concerns.

The City plans to continue monitoring these locations for compliance with the NPDES permit.

6.2.2 General Field Assessment Procedure:

The following general recommendations apply to the dry weather field inspection and water sampling work.

- Notify the public during field work campaigns. Public notices and

informational mailers can improve the success of the program by educating the citizenry.

- Develop training and protocols to keep workers safe during field work.

- Make good use of the mapping information that has been developed by the City.

- Fill out a standard field inspection form (Figure 6.2.2)

Figure 6.2.2

City of Webb City Stormwater Illicit Discharge Field Inspection Report

General Information:

Latitude: ______________			Object ID # _________________

Longitude: _____________			Date of Inspection: ___________________

Inspector’s Name: ___________________	Inspector’s Signature: ______________________

Inspector’s Title: ____________________	Inspector’s Phone: ____________________

Inspector’s Qualifications: _______________________

Type of Inspection (Circle)

Regular/Annual		Pre-Storm		During Storm		Post-Storm

Weather Information

Date of Most Recent Storm Event: ___________________	Approximate Duration (Hrs) _________

Approximate Precipitation amount (Inches): __________________

Weather at time of Inspection: 		Clear		Cloudy	Rain		Sleet		Snow

Are there any discharges at this time in danger of leaving the site? 		Yes		No

If Yes, describe: ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Comments, Observations, Actions Taken, Corrective Actions Needed:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

6.2.3 Physical Parameters:

During dry weather field inspections, a variety of physical parameters will be recorded at each site to assess conditions. At flowing outfalls this includes flow, odor, color, turbidity, and presence or absence of floatables. The information that is obtained from the physical characteristics observed are indicators and cannot be fully relied upon by themselves.

A qualitative observation of flow (none, trickle, moderate, or substantial) should be made. Flow rates can be estimated by one of the following simple methods:

- Record the time required for the full flow to fill container of a known volume.

- Multiply cross-sectional flow area by flow velocity. For most instances, flow area is based on an estimate of mean depth and width. Flow velocity is based on the time of travel for an object floating near the surface over a known length.

Odor is described by one of the following terms sewage, rancid/sour, petroleum/gas, sulfide, or other. The severity of the odor should also be recorded in the field.

Color can be a description of color type and intensity. It is also a quantitative measurement expressed in cobalt-platinum units (APHA, 1998). Turbidity can be a qualitative descriptor (clear, slight cloudiness, cloudy, or opaque). Alternatively, it can be measured in the field or in the office with a handheld turbidity-meter. It is recommended that the City use a single make and model of meter to reduce the differences in readings associated solely with equipment readings.

Floatables are the best physical indicator. The most common floatables are sewage, suds, and oil sheens. Floatables do not include trash. The observation of sewage at an outfall location indicates that there is a severe problem with that MS4 and should be looked at as to where the source for the sewage is emanating from. Suds can indicate a variety of things. Some suds are naturally formed by the movement of the water.

If the suds are located at a water drop off and break up quickly, this may only be water turbulence related. If the suds have a fragrant odor, this can indicate the presence of laundry water or wash water in the waterbody. Oil sheens need to be looked at to try and determine the source of the oil sheen. Some oil sheens are common and occur naturally by instream processes. This occurs when an iron bacterium forms a sheet-like film. This can be determined by looking at the sheen and seeing if it cracks when disturbed. Synthetic oil sheens, on the other hand, will swirl when disturbed. If this occurs, then the sheen is from an oil source.

The City will develop a few water quality parameters that can be measured with inexpensive probes and test strips in the field. These will likely include temperature, pH, ammonia, conductivity, chlorine, and hardness. Other than temperature these same parameters can be assessed during laboratory analyses, so the field testing is usually unnecessary.

There may be physical indicators of illicit discharges even if no flow is present. These include outfall damage, deposits/stains, abnormal vegetation, poor quality of pooled water, benthic (occurring at the bottom of a body of water growth) in pipe. During a dry weather inspection, observed flows are considered non-stormwater related.

The flow may or may not be the result of an illicit discharge. Also, the absence of a flow does not indicate the absence of an illicit discharge since these discharges can be intermittent or transitory. It is important to observe carefully during the dry weather inspection to determine if an intermittent or transitory pollution problem has occurred.

6.2.4 Water Quality Sampling and Testing:

During dry weather inspections physical clues indicating a pollution problem often are not observable. Therefore, water quality sampling and testing will be an essential part of the City’s IDDE program. Some parameters can be directly measured in the field whereas others require laboratory analysis. The following table lists the parameters to be sampled as well as optional parameters to be sampled to isolate an illicit discharge.

The table also provides the analytical method and benchmark concentration that typically indicate when there is a problem. Note that these benchmark concentrations are based on samples collected from storm drains nationally. Therefore, benchmark concentrations would be lower for samples drawn from watercourses since the natural base flows would likely dilute any pollutants in water discharged from a contributing storm drainage system.

6.2.5 Immediate Response Procedures:

The field crew should be prepared to take immediate action in the event of encountering one of the following situations:

- Individuals actively in the process of introducing possible illegal substances or materials to the storm drain system

- Very strong chemical odor emanating from storm drain system

- Presence of fumes or smoke emanating from storm drain system

- Visible significant stream of a controlled chemical or petroleum product flowing in storm system or downstream waters

- Large chemical plume in stream or downstream of an outfall

- Any condition that poses or could pose an immediate threat to property, human health or safety, or aquatic life.

The crew should take the following steps if one of the above situations is encountered:

- Ensure crew safety and the public by instructing people to stay clear of the area.

- Call 911 to report active illegal dumping or potential fire or significant chemical incident.

- Call the City’s MS4 Coordinator 417-673-6297 to report a possible illegal discharge.

- The following offices must all be called if an unauthorized discharge of oil or hazardous material spill has occurred:

- The National Response Center at 1-800-424-8802;

- Missouri department of natural resources Spill report (573) 634-2436;

- 911

- If a spill is encountered the following information should be recorded if possible:

- Where is the spill?

- What spilled?

- How much spilled?

- How concentrated is the spilled material?

- Who spilled the material?

- Is anyone cleaning up the spill?

- Are there resource damages (e.g. dead fish or oiled birds)?

- Who is reporting the spill?

- Your contact information!

- If possible isolate or contain visible chemical pollution in the effected waterbody with any materials that are accessible. For small discharges earth dams, absorbent pads, and containers may be useful to contain part of the illicit discharge.

- Take detailed notes and photos/video for subsequent investigation by City or other agencies.

At a minimum, follow-up work includes contacting the Missouri Department of Natural Resources to determine if any additional reporting or investigative actions are necessary. (573) 634-2436)

For incidents not determined to be emergencies, the City will investigate or refer to the appropriate agency any complaints, reports, or monitoring information that indicates a potential illicit discharge, spill, or illegal dumping.

6.2.6 Isolating Illicit Discharges (Source Tracing):

In situations where outfall screening identifies an illicit discharge several methods can be used to trace to the source of the illicit discharge.

Tracing techniques include visual inspections of drainage structures and lines, dye testing, damming lines to isolate areas, video inspection, indicator monitoring, smoke testing, and optical brightener monitoring traps. Other more elaborate approaches include using remote sensing tools to identify soil moisture, water temperature, and vegetation anomalies associated with failing septic systems and tracking illegal dumping activities. The most common approach for the City will likely rely upon visual inspections of the catch basins, outfalls, and the storm drain system.

Several resources exist to assist in evaluating the likely source of an illicit discharge. Generally, the sources are wash water, sanitary sewer or septage, potable water leak, animal contamination, illegal dumping, or industrial discharge.

6.3 INVESTIGATION and RESPONSE PROCEDURES

Once an illicit discharge or illegal connection has been located, details about the discharge connection should be documented. Photographs and video will be helpful to record the location and nature of an illicit connection. City staff should determine the name and contact information of property owner.

The response by the City will vary greatly depending on the type, location, frequency, severity, and source of illicit discharge. In general, the City will have several options available to address a specific discharge. In most cases where the violator is identified it is expected that they will voluntarily comply with any action required by the City to eliminate the potential for further illicit discharges.

When the violation is the result on an illegal connection from a building, the property owner should respond once they are made aware of the connection, the environmental consequences, the applicable regulations, and the recommended remedy.

The City will prepare a letter to be sent to the property owner for any illicit discharge or illegal connection. Depending on the circumstances the letter will describe the findings of the investigation, the required remedy, the required deadline for compliance, technical resources, and the enforcement actions, fines, and legal actions that could ensue for non-compliance. The letter should also describe the relevant ordinances, codes and laws. The letter should specify who the property owner should contact for additional information and to notify the City when the required remedy has been completed.

The City will conduct a follow-up inspection following notification that the required remedy has been completed. Should the owner not remedy the discharge, the City may proceed to abate the violation as a public nuisance as well as to seek equitable payment to make this remedy.

Chapter 7: PUBLIC EDUCATION

7.1 PUBLIC INFORMATION

As part of the City’s public outreach program, outreach material in digital and print forms will be made available to citizens. The education campaign will also rely upon the City’s website (http://www.webbcity.org), brochures, print ads, and/or fact sheets to make citizens aware of stormwater, water pollution, and inform them of the City’s hotline for reporting on possible illegal dumping, connections, or discharges. See MCM #1 for additional information.

7.2 HOTLINE

The City has an established phone number for reporting of spills or illicit discharges. The intent is for citizens to be able to leave an illicit discharge complaint/message any time day or night.

Chapter 8: REPORTING and RECORDKEEPING

8.1 REPORTING (Spills, Inspections, and Public Comment/Feedback)

Tracking and documentation is the backbone of the IDDE program. Spills reported to the complaint hotline will be recorded on an “Illicit Discharge Hotline Incident Tracking Sheet” (Appendix E). Field personnel who discover or are involved in a spill will contact the complaint hotline to ensure that proper documentation of the incident is maintained.

8.2 RECORDKEEPING

The information generated from the water quality monitoring activities will be provided as data documents and records. These documents and records will consist of:

- All water quality lab analysis results shall be accessible to all appropriate staff.

- Computer database for all water quality chemical sampling results.

- Field Logbooks for equipment to be stored in the Public Works Department accessible to all staff.

The MS4 program coordinator will be responsible for assessing the completed forms filled out by the field staff once the work is completed to ensure that the documents accurately reflect the completed work. All paper documents will be kept in appropriate files in the Public Works Department office. Staff will always have access to these files. When appropriate the information from these forms will be entered into the Stormwater Management Plan database. The water quality results on these forms will be published annually in a stormwater quality program summary for the work performed that calendar year.

CHAPTER 9: STAFF TRAINING

9.1 TRAINING LEAD

Training will start with those staff that will be directly involved with the implementation of this IDDE program. This training at least initially will be done by the MS4 Coordinator.

9.2 DETAILED TRAINING

Detailed training will be assigned to those individuals specifically involved in the immediate response procedures, source tracking of potential illicit discharges and sampling.

9.3 GENERAL TRAINING

General training will consist of printed material distributed to staff through their supervisors and as provided in the yearly training sessions. DVD, print or webcast material may be distributed if the need arises as the program develops. IDDE Program training will occur once annually during years 2 -5 (2022-2026) of the current permit cycle. See MCM #6 for additional information on staff IDDE training.

CHAPTER 10: REFERENCES

The following references were used to prepare this plan and contain supplemental information that has been helpful to City staff in the development of this IDDE program.

10.1 IDDE PROGRAM INFORMATION

The Center for Watershed Protection and Robert Pitt. Illicit Discharge Detection and Elimination: A Guidance Manual for Program Development and Technical Assessments. October 2004. U.S Environmental Protection Agency. Washington, D.C.

Website for download:

http://www.cwp.org/Resource_Library/Controlling_Runoff_and_Discharges/idde.htm

Cuyahoga County Board of Health. Illicit Discharge Detection and

Elimination Manual: A Guidance Manual for Municipalities in the State of

Ohio. July 2006. Parma, Ohio.

Website for download:

http://www.ccbh.net/ccbh/export/sites/default/CCBH/pdf/stormwater/IDDE_Manual_July_2006_2.pdf

New England Interstate Water Pollution Control Commission. Illicit

Discharge Detection and Elimination: A Handbook for Municipalities.

January 2003. Lowell, Massachusetts

Website for download: www.neiwpcc.org

San Diego Stormwater Committees Jurisdictional Urban Runoff Management Program (URMP). Illicit Connection / Illicit Discharge (IC/ID) Detection and Elimination Model Program Guidance. November 13, 2001.

Website for download (sponsored by Project Clean Water):

http://www.projectcleanwater.org/pdf/Model%20Program%20ICID.pdf

10.2 WEBSITES FOR DOWNLOADING OUTREACH MATERIALS:

North Central Texas Council of Governments:

http://www.nctcog.org/envir/SEEclean/stormwater/pubs/brochures.asp

U.S. Environmental Protection Agency’s Office of Water:

http://www.epa.gov/owow/nps/toolbox/

CHAPTER 11: APPENDICIES

Appendix A: Dry Weather Monitoring Sampling

11.1 Dry Weather Monitoring Field Equipment Checklist

The field equipment listed below are key to conduct dry weather monitoring.

- Clipboard, pens, pencils, Sharpie or other waterproof pens

- MS4 maps

- Digital camera/IPhone

- Field notebook

- Latex gloves

- Protective eyeglasses or goggles

- Rubber boots

- Cooler and ice

- Paper towels

- Tape for securing cooler

- Sample bottles with preservatives

- Polypropylene bucket with rope, or sampling rod to collect samples from larger bodies of water

- Portable field test kits, colorimeters, or spectrophotometer and all reagents for these meters.

- Multi-parameter or individual probes to measure temperature, electrical conductivity, and pH

- Extra batteries for all meters

- Flow measurement equipment (required equipment will depend on method used)

- Measuring tape for measuring stream width

- Folding scale for measuring stream depth

- Current meter or wristwatch

- De-ionized or ultra-pure water in squeeze bottles for rinsing, dilutions, etc. (depending on methods used)

- Thermometer for measuring air temperature (optional)

- Waste disposal bottles

11.2. Sampling Procedures and Submission

Dry weather monitoring typically involves the collection of grab samples only. The following procedures apply:

- Use appropriate containers. See 40 CFR Part 136 for container types. Laboratories routinely provide pre-cleaned sample bottles with preservatives already added.

- Rinse the container with the sample at least twice. Do not rinse pre-cleaned, preserved containers, as the preservative will be lost.

- Use the proper preservatives. Use only analytical or higher-grade reagents for preserving samples. Store samples in an ice chest at 40˚ F until custody is transferred to the analytical laboratory directly or via staff courier.

- Avoid contaminating the sample. Wear latex gloves.

- If practical, collect the sample at about 60% of the stream depth (from the surface) in an area of maximum turbulence (except when sampling for volatile organics). Avoid stagnant pools near the edge of flowing streams unless sampling stagnant pools. Enter the channel downstream of the sampling location and move upstream, disturbing as little of the bottom material as possible.

- Record all qualitative observations and field testing results on the field data sheet. Estimate the flow rate as described on the back of the field data sheet. Also note any changes to standard procedures (for whatever reason) and describe any unusual or noteworthy conditions or results in detail.

- Dispose of all spent reagents, reacted samples, and rinse solutions in the appropriate waste containers. Upon returning to the office or laboratory, decant these wastes into the sanitary sewer system of the office or laboratory unless otherwise instructed by the Wastewater Superintendent.

Be sure to clean all equipment (recheck calibration if any results were

questionable) and restock reagents (if necessary).

- If filtering samples in the field for dissolved trace metals analysis, do not preserve with HNO3 until after the sample is filtered. If field personnel are submitting unfiltered samples for dissolved trace metals analysis those samples should not be preserved with HNO3.

- Samples collected for laboratory analysis should be submitted to the laboratory as soon as possible after collection. Complete the following tasks:

- Fill out the chain-of custody form making sure that all sample bottles are correctly labeled

- Carefully pack the sample bottles in the cooler

- Transport the samples to the laboratory

- Complete the chain-of-custody form Automatic sampling methods may be useful during some source identification or enforcement investigations. Investigators should refer to the manufacturer’s instructions for operating automatic sampling equipment.

11.3. Equipment Maintenance

In order to ensure the quality of field results, maintenance of equipment must be given a high priority. All equipment must be cleaned and serviced at the end of a field shift.

- All water quality meters must be calibrated in the laboratory or office before field use. Calibration solutions should remain uncontaminated and not be used after their expiration dates.

- Field meters and cameras must be in proper working order. Make sure that batteries have sufficient voltage to power the equipment for the entire field trip. Recharge or replace them, as necessary.

Keep extra batteries in the instrument case. Probes should be inspected, cleaned and reconditioned regularly.

- Clean and rinse all other sampling equipment after returning from the field. Store clean equipment in original manufactures storage bags or cases.

- Glassware used in the field (e.g. graduated cylinders for sample dilutions, test kit flasks and/ or beakers) should be cleaned immediately after usage. Use laboratory detergent, a brush, and hot tap water or 10% Analytical Grade HCl. Rinse three to four times with deionized water and wipe the outside of the glassware dry with a white paper towel. Dry in an inverted position. Store the dry glassware in the cabinets with stoppers intact (volumetric flasks) or in an inverted position (beakers).

11.4. Quality Control/ Quality Assurance

QA samples can be in the form of replicates, spikes, field blanks, method blanks, or synthetic samples. Dry weather monitoring programs can use these various types of QA/ QC samples to assess the accuracy and precision of the field and laboratory analyses performed for their dry weather monitoring programs.

- Replicate samples can be collected periodically and submitted to the analytical laboratory to assess the accuracy of the field analyses for nitrate, ammonia, phosphate, electrical conductivity, pH, and turbidity.

- Replicate samples are used to assess laboratory or field precision. They should be collected in the field in one container and split into two samples for analysis.

- Spiked samples can be prepared in the field or the permittee’s contract laboratory/ office. A field sample is spiked with known amounts of analytes (a substance or chemical constituent that is undergoing analysis) and the total volume of this fraction is adjusted to a specific volume (usually 1 liter) using a portion of the original sample as makeup water. Make sure that the volume of the added spike is small compared to the volume of the sample to which it is added.

- Blank samples must be prepared with deionized or ultrapure water (resistivity greater than 17 mega ohms). A trip blank is prepared by filling a sample container in the laboratory/ office and transporting it on a routine monitoring assignment, preserving it in the field (noting the station location), and submitting it with a normal batch of samples. Method or equipment blanks are prepared using the same methods used to collect, process, or contain samples before submittal to the laboratory. An example of an equipment blank would be pouring deionized water into a sample container to test the cleanliness of the container.

- Synthetic samples can be prepared using aliquots of commercially prepared standards or from EPA quality assurance ampules. Deionized water should be used as makeup water and analytical grade NaCl should be used to adjust the electrical conductivity of the QA sample into the range of the environmental samples.

11.5. Health and Safety

Dry weather water sampling may occur when the sampling environment and discharges create hazardous conditions. Always use safety precautions when conducting dry weather monitoring.

Safety Guidelines

- Keep a first aid kit with field equipment.

- Watch out for traffic along the access road when sampling or making observations.

- Do NOT remain in open areas or stand under trees if lightning is occurring in the vicinity.

- Watch your step; the ground may be wet and slippery, steep, or unstable. Do not attempt to climb down unsafe slopes.

- Always wear clean latex rubber gloves when sampling.

- Protect eyes and skin against contact with acids and other preservatives.

- Use common sense when deciding whether to sample during adverse weather conditions. This program is intended to assess dry weather conditions. Do not sample during dangerous conditions such as high winds, lightning storms, or flooding conditions that might be unsafe.

- Do not enter channels during periods of high flow. The general rule of thumb is: If the product of the water depth in feet and the velocity in feet per second is greater than 10, or the level is above your waist, do not go in.

- Do not enter confined spaces for any reason.

- Follow all analytical procedures as prescribed in the equipment manuals. Heed all warnings and precautionary statements.

- Be familiar with Safety Data Sheets for all chemicals used in the field and when calibrating instruments. Know the health hazards and emergency medical treatments and follow proper disposal instructions.

Safety Equipment

The following safety equipment is recommended for use during dry weather sampling:

- First aid kit

- Safety glasses

- Latex gloves

- Rubber boots

- Safety rope

Appendix B: Table 1 Summery of Laboratory Sampling and Analysis Requirements

Appendix C: Outfall Reconnaissance Inventory/Sample Collection Field Sheet

Appendix D: Methods of Flow Measurements

Appendix E: Illicit Discharge Hotline Incident Tracking Sheet

Appendix F: City Land Use/Zoning Map

CHAPTER 12: EVALUATION OF THE IDDE PROGRAM

12.1 INTRODUCTION

The MoDNR recommends that the IDDE Manual include procedures for program Evaluation and Assessment. Program evaluation is the time to step back, look at what has been done, determine what worked and what did not, and adjust planned future actions as appropriate in the City.

12.2 EVALUATION STRATEGY

Evaluation procedures will include documentation of actions taken to locate and eliminate illicit discharges. Such documentation will include numbers of outfalls screened, complaints taken and investigated feet of storm drain system, videotaped (if any), numbers of discharges eliminated, and number of dye or smoke tests conducted (if any). Note that this component of the IDDE Manual fits in with the overall Phase II requirements for identifying measurable goals for each BMP and reporting on progress toward achieving those goals.

Annual and/or bi-annual reports are necessary during the permit cycle to help determine the impact of these actions and an important part of the overall process. Assessment of what worked and what did not, will provide the information needed to make these adjustments to the City’s IDDE Program.

Some steps for assessing the effectiveness of the City’s IDDE strategies may include:

- Evaluate the number of possible illicit discharges that were detected using different detection methods, to help determine which detection methods are most effective.

- Evaluate the number of discharges and/or quantity of discharges eliminated using different possible enforcement and compliance measures.

- Program evaluation will also include procedures for considering efficiency and feasibility.

Some questions to answer may include:

- How much staff time and expense did it take to achieve a given result?

- Were practical difficulties encountered with this approach? What were they, and how much of a problem did they present?

These types of questions will greatly help in determining what procedures the City will use for program evaluation and assessment. These procedures will be most helpful in providing the information needed to move forward with the IDDE Program will be decided as the Program further develops.

# Chapter 255 
Construction Site Stormwater Management Regulations

#### Section 255.005 Purpose — Intent.

[Ord. No. 16-008 §1, 6-13-2016]

A.	The intent of this Chapter is to protect and enhance the water quality of local receiving waters in a manner pursuant to and consistent with the Federal Clean Water Act and also to provide for the health, safety, and general welfare of the citizens of the City through the regulation of nonstormwater discharges to the municipal separate storm sewer system (MS4) according to locally approved standards as required by Federal and State law. The objectives of this Chapter are:

1.	To regulate the contribution of pollutants to the MS4 by stormwater discharges from construction activity and development;

2.	To reduce pollutants in stormwater discharges from construction activity by guiding methods for control of stormwater runoff quantity and/or quality; and

3.	To enable legal authority to carry out all inspection, surveillance, monitoring and enforcement procedures necessary to ensure compliance with this Chapter.

#### Section 255.010 Definitions.

[Ord. No. 16-008 §1, 6-13-2016]

For the purposes of this Chapter, the following words and phrases shall have the meaning set forth in this Section:

BEST MANAGEMENT PRACTICES (BMPs)

Schedules of activities, general good housekeeping practices, pollution prevention, educational practices, maintenance procedures to prevent or reduce the discharge of pollutants directly or indirectly to stormwater, receiving waters, or stormwater conveyance systems.

BUILDING PHASE OF DEVELOPMENT

Period of construction activity when a portion(s) of a common plan of development or sale requires a building permit.

CLEARING

Any activity that removes the vegetative surface cover.

COMMON PLAN OF DEVELOPMENT OR SALE

A contiguous area where multiple separate and distinct land disturbing activities may be taking place at different times, on different schedules, but under one (1) proposed plan which may, include, but is not limited to, any announcement or piece of documentation (including a sign, public notice or hearing, sales pitch, advertisement, drawing, permit application, zoning request, computer design, etc.) or physical demarcation (including boundary signs, lot stakes, surveyor markings, etc.) indicating construction activities may occur on a specific plot.

CONSTRUCTION ACTIVITY

Such activities include but are not limited to clearing and grubbing, grading, excavating, demolition and other land disturbing actions.

CONSTRUCTION SITE

Any location where construction activity occurs.

CONTRACTOR

Any person performing or managing construction work at a construction site, including, but not limited to, any construction manager, general contractor or subcontractor, and any person engaged in anyone or more of the following: earthwork, pipework, paving, building, plumbing, mechanical, electrical, landscaping or material supply.

DISTURBED AREA

Area of the land's surface disturbed by any work or activity upon the property by means, including, but not limited to, grading; excavating; stockpiling soil, fill, or other materials; clearing; vegetation removal; removal or deposit of any rock, soil, or other materials; or other activities which expose soil. Disturbed area does not include the tillage of land that is zoned for agricultural use.

EARTHWORK

The disturbance of soil on a site associated with construction activities.

EROSION

The detachment and movement of soil or rock fragments by water, wind, ice or gravity.

EROSION AND SEDIMENT CONTROL PLAN

A plan that indicates the specific measures and sequencing to be used for controlling sediment and erosion on a development site during construction activity according to locally approved standards, specification, and guidance.

EROSION CONTROL

Measures that prevent soil erosion to the maximum extent practicable.

FINAL DRAINAGE PLAN

A plan that indicates the drainage characteristics of the completed project. The plan will also indicate the future conditions post-construction BMPs will be maintained under.

FINAL STABILIZATION

When all soil disturbing activities at the site have been completed, and vegetative cover has been established with a uniform density of at least seventy percent (70%) of pre-disturbance levels, or equivalent permanent, physical erosion reduction methods have been employed. For purposes of this Chapter, establishment of a vegetative cover capable of providing erosion control equivalent to pre-existing conditions at the site is considered final stabilization.

LAND DEVELOPMENT

Any land change, including, but not limited to, clearing, digging, grubbing, stripping, removal of vegetation, dredging, grading, excavating, transporting and filling of land, construction, paving, and any other installation of impervious cover.

LAND DISTURBANCE ACTIVITY

Any land development that may result in soil erosion from wind, water and/or ice and the movement of sediments into or upon waters, lands, or right-of-way.

MUNICIPAL SEPARATE STORM SEWER SYSTEM (MS4)

Publicly-owned facilities by which stormwater is collected and/or conveyed, including but not limited to any roads with drainage systems, municipal streets, gutters, curbs, catch basins, inlets, piped storm drains, pumping facilities, retention and detention basins, natural and human-made or altered drainage ditches/channels, reservoirs, and other drainage structures.

NATIONAL POLLUTANT DISCHARGE ELIMINATION SYSTEM (NPDES) STORM WATER DISCHARGE PERMIT

A permit issued by the EPA [or by a state under authority delegated pursuant to 33 USC § 1342(b)] that authorizes the discharge of pollutants to Waters of the State.

NON-STORMWATER DISCHARGE

Any discharge to the storm drain system that is not composed entirely of stormwater.

OPERATOR

The individual who has day-to-day supervision and control of activities occurring at the construction site. This can be the owner, the developer, the general contractor or the agent of one of these parties.

OWNER

The person who owns a facility, development, part of a facility, or land.

PERSON

Any individual, association, organization, partnership, firm, corporation, cooperative, limited liability company or other entity recognized by law.

PHASING

Clearing a parcel of land in distinct phases, with the stabilization of each phase before the clearing of the next.

POLLUTANT

Anything which causes or contributes to pollution. Pollutants may include, but are not limited to: paints, varnishes, and solvents; oil and other automotive fluids; non-hazardous liquid and solid wastes and yard wastes; refuse, rubbish, garbage, litter, or other discarded or abandoned objects, ordinances, and accumulations, so that same may cause or contribute to pollution; floatables; pesticides, herbicides, and fertilizers; hazardous substances and wastes; sewage, fecal coliform and pathogens; dissolved and particulate metals; animal wastes; wastes and residues that result from constructing a building or structure; wastes and residues that result from mobile washing operations; and noxious or offensive matter of any kind.

POLLUTION

The presence in Waters of the State of any substances, contaminants, pollutants, or manmade or man-induced impairment of waters or alteration of the chemical, physical, biological, or radiological integrity of water in quantities or at levels which are or may be potentially harmful or injurious to human health or welfare, animal or plant life, or property or which unreasonably interfere with the enjoyment of life or property, including outdoor recreation unless authorized by applicable law.

POST-CONSTRUCTION

The general time period referenced in perpetuity from the approval for final acceptance of the construction phase of any construction activity.

PREMISES

Any building, lot, parcel or tract of land, or portion thereof, whether improved, or un-improved, and including adjacent sidewalks and parking strips.

RECEIVING WATERS

Any Waters of the State, including any and all surface waters that are contained in or flow in or through the State of Missouri; all watercourses, even if they are usually dry, irrigation ditches that receive municipal stormwater, and storm sewer systems owned by other entities.

REDEVELOPMENT

Any construction, alteration or improvement performed on a previously developed site.

SEDIMENT

Soil (or mud) that has been disturbed or eroded and transported naturally by water, wind or gravity, or mechanically by any person.

SEDIMENT CONTROL

Measures that prevent eroded sediment from leaving the site.

SITE

The land or water area where any facility or activity is physically located or conducted, including adjacent land used in connection with the facility or activity.

SPILL

A release of solid or liquid material, which may cause pollution of the MS4 or Waters of the State.

STABILIZATION

The use of practices that prevent exposed soil from eroding.

STORMWATER

Any surface flow, runoff, and drainage consisting entirely of water from any form of natural precipitation and resulting from such precipitation.

STORMWATER POLLUTION PREVENTION PLAN (SWPPP)

A document which describes the Best Management Practices and activities to be implemented by a person during the construction activities, which identifies sources of pollution or contamination at a site and the actions to eliminate or reduce pollutant discharges to stormwater, stormwater conveyance systems, and/or receiving waters.

SUBDIVISION DEVELOPMENT

Includes activities associated with the platting of any parcel of land into two (2) or more lots and all construction activity taking place thereon.

UTILITY AGENCY/CONTRACTOR

Private utility companies, public utility departments, or other utility providers contractors working for such private utility companies, or public entity utility departments, or other utility providers engaged in the construction or maintenance of utility lines and services, including water, sanitary sewer, storm sewer, electric, gas, telephone, television and communication services.

WASTEWATER

Any water or other liquid, other than uncontaminated stormwater, discharged from a facility.

WATERCOURSE

A natural or artificial channel through which water can flow.

WATERS OF THE STATE

Any and all surface and subsurface waters that are contained in or flow in or through the State of Missouri. The definition includes all watercourses, even if they are usually dry.

#### Section 255.020 Liability.

[Ord. No. 16-008 §1, 6-13-2016]

The standards set forth herein and promulgated pursuant to this Chapter are minimum standards that shall apply to all construction activities which require an approval according to Section 255.050 of this Chapter. Compliance with this Chapter does not act as a waiver or defense to any person for operating a construction site in a manner that allows or causes stormwater contamination, pollution, or unauthorized discharge of pollutants. The owner and operator of any approved construction activity shall be responsible for ensuring all activity - including the actions of all contractors, subcontractors, trade professionals, delivery personnel and others present at a construction site - are in compliance with all requirements of this Chapter. An owner shall be responsible for notifying the City when any transfer of ownership and liability under this Chapter occurs.

#### Section 255.030 Responsibility For Administration.

[Ord. No. 16-008 §1, 6-13-2016]

The City shall administer, implement, and enforce the provisions of this Chapter. Any powers granted or duties imposed upon the City may be delegated by the Mayor or City administration or to persons or entities acting in the beneficial interest of or in the employ of the City.

#### Section 255.040 Severability.

[Ord. No. 16-008 §1, 6-13-2016]

The provisions of this Chapter are hereby declared to be severable. If any provision, clause, sentence, or paragraph of this Chapter or the application thereof to any person, establishment, or circumstances shall be held invalid, such invalidity shall not affect the other provisions or application of this Chapter.

#### Section 255.050 Applicability.

[Ord. No. 16-008 §1, 6-13-2016]

A.	This Chapter shall be applicable to all construction activity and land developments requiring/including, but not limited to, site plan applications, subdivision applications, building applications, and right-of-way applications from the City, unless exempt pursuant to Subsection (B) below. These provisions apply to all portions of any common plan of development or sale which would cause the disturbance of at least one (1) acre of soil even though multiple, separate and distinct land development activities may take place at different times on different schedules.

B.	The following activities are exempt from this Chapter:

1.	Any emergency activity that is necessary for the immediate protection of human health, property, or natural resources; and

2.	Construction activity that provides maintenance and repairs performed to maintain the original line and grade, hydraulic capacity, or original purpose of a facility.

#### Section 255.060 Prohibitions.

[Ord. No. 16-008 §1, 6-13-2016]

A.	Except as provided in the Illicit Discharge and Connection Stormwater Regulations Ordinance, it is unlawful for any person to discharge non-stormwater into the MS4.

B.	It is unlawful for any person or representative at a construction site to cause, or allow to be caused the impact, damage and/or removal of any approved stormwater pollution control measure without the owner's knowledge and consent.

C.	Stormwater discharges from construction activities shall not cause or threaten to cause pollution, contamination or degradation of Waters of the State.

#### Section 255.070 Construction.

[Ord. No. 16-008 §1, 6-13-2016]

A.	General Requirements For Construction Activities.

1.	Except for construction activity relating to the building phase of development, the City shall require proof of coverage by a general permit authorization for storm water discharges from construction sites before providing approval for construction activity covered in Section 255.050 of this Chapter.

2.	A pre-construction meeting shall be scheduled with an appointed official with the City to review the installation of all temporary erosion and sediment control BMPs included on the approved erosion and sediment control plan at least two (2) business days before any construction activities are scheduled to start.

3.	Solid waste, industrial waste, yard waste and any other pollutants or waste on any construction site shall be controlled through the use of BMPs. Waste or recycling containers shall be provided and maintained by the owner or contractor on construction sites where there is the potential for release of waste. Uncontained waste that may blow, wash or otherwise be released from the site is prohibited. Sanitary waste facilities shall be provided and maintained in a secured manner.

4.	Ready-mixed concrete, or any materials resulting from the cleaning of vehicles or equipment containing such materials or used in transporting or applying ready-mixed concrete, shall not be allowed to discharge from any construction site.

5.	Cover or perimeter control shall be applied within fourteen (14) days to any soil stockpiles that will remain undisturbed for longer than thirty (30) days.

6.	Disturbed soil shall be managed with BMPs that are adequately designed, installed, and maintained according to locally-approved technical standards, specifications and guidance for the duration of the construction activity to minimize erosion and contain sediment within the construction limits.

7.	Sediment tracked or discharged onto public right-of-way shall be removed immediately.

8.	Bulk storage structures for petroleum products and other chemicals shall have adequate protection to contain all spills and prevent any spilled material from entering the MS4 or Waters of the State.

9.	Temporary BMPs shall be removed and disturbed areas shall be stabilized with permanent BMPs at the conclusion of all approved construction activity.

B.	Requirements For The Building Phase Of Development. Any person who engages in construction activity is responsible for compliance with this Chapter and all applicable terms and conditions of the approved construction activity and SWPPP as it relates to the building phase of development. The following information shall be included with the application for a building permit and be submitted to the Chief Building Official:

1.	Either the legal description and NPDES permit number for the larger common plan of development; or

2.	The location of the property where the building phase of development is to occur; and

3.	A certification that the building phase of development for the property described on the application for the building permit will be conducted in conformance with the construction activity SWPPP.

C.	Construction Stormwater Pollution Prevention Plan.

1.	A SWPPP shall be prepared and updated in accordance with locally-approved technical standards, specification, and guidance for construction activity within the City and shall include an erosion and sediment control plan for land disturbance.

2.	The SWPPP shall include a description of all potential pollution sources, temporary and permanent BMPs that will be implemented at the site as approved by the City.

3.	The erosion and sediment control plan shall be submitted to the City for review with any application covered in Section 255.050 of this Chapter.

4.	Land disturbing activities may not proceed until approval of the erosion and sediment control plan is provided by the City.

5.	The owner or operator is required to have a copy of the SWPPP readily available for review with content that reflects the current condition of the construction activity and all records that demonstrate compliance and are required by this Chapter.

6.	The SWPPP shall include a description of routine site inspections.

a.	The owner or their representative shall inspect all BMPs at intervals of no greater than fourteen (14) calendar days and within twenty-four (24) hours after any precipitation event of at least one half (1/2) inch.

b.	Inspections of BMPs shall be conducted by an individual who is personally knowledgeable in the principles and practice of erosion and sediment controls who possesses the skills to assess conditions at the construction site that could impact stormwater quality and to assess the effectiveness of any erosion and sediment control measures selected to control the quality of stormwater discharges from the construction activity.

c.	Inspection reports shall provide the name and qualification of the inspector, date of the evaluation, risks to stormwater quality identified, and all corrective actions necessary to prevent stormwater pollution.

d.	The owner or operator of a construction activity may be requested to submit copies of inspection reports for review on a periodic basis by the City.

7.	Based on inspections performed by the owner, operator, authorized City personnel, State or Federal regulators modifications to the SWPPP will be necessary if at any time the specified BMPs do not meet the objectives of this Chapter. In this case, the owner shall meet with an appointed official of the City to determine the appropriate modifications. All required modifications shall be completed within seven (7) calendar days of receiving notice of inspection findings, and shall be recorded in the SWPPP.

8.	The owner or operator of a construction site shall be responsible for amending the SWPPP whenever there is a significant change in design, construction, operation, or maintenance, which has a significant effect on the potential for discharge of pollutants to the MS4 or receiving waters, or if the SWPPP proves to be ineffective in achieving the general objectives of controlling pollutants in stormwater discharges associated with land disturbance.

9.	Records of inspection are to be maintained with the SWPPP for the life of the project. Inspection records are to be available to City inspectors upon request. Delay in providing a copy of the SWPPP or any requested records shall constitute a violation of this Chapter.

D.	Requirements For Utility Construction.

1.	Utility agencies or their representatives shall develop and implement BMPs to prevent the discharge of pollutants on any site of utility construction within the City. The City may require additional BMPs on utility construction activity. If the utility construction disturbs greater than one (1) acre, the utility agency must comply with the requirements of Section 255.070(A) & (B) of this Chapter.

2.	Utility agencies or their representatives shall implement BMPs to prevent the release of sediment from utility construction sites. Disturbed areas shall be minimized, disturbed soil shall be managed and construction site exits shall be managed to prevent sediment tracking. Sediment tracked onto public right-of-way shall be removed immediately.

3.	Prior to entering a construction site or subdivision development, utility agencies or their representatives shall obtain and comply with any approved erosion and sediment control plans for the project. Any impact to construction and post-construction BMPs resulting from utility construction shall be repaired by the utility company within forty-eight (48) hours.

#### (Proposed Addition to Chapter 255)

#### Section 255.080. Failure to Comply.

Enforcement of this Chapter shall be the responsibility of the Director of Public Works or his representative. The party or parties responsible and liable for actions or non-action in regards to this Chapter, including responsibility for abating violations of this Chapter, shall be the property owner or person authorized to act on the property owner's behalf; or any person allowing, causing or contributing to a violation of this Chapter. If an investigation or inspection results in a finding of non-compliance with this Chapter, the Director is authorized to issue a Notice of Violation (NOV) that may, at the discretion of the Director, include a stop work order or a citation. The NOV shall specify the deficiencies, what corrective action is necessary, and a specific time frame in which the responsible party is to achieve compliance. The written NOV, including a stop work order or citation as applicable, shall be mailed, postage prepaid, or hand-delivered to both the permittee and owner. Failure to comply with a notice from the Director shall result in the issuance of a stop work order or citation. Issuance of a stop work order shall result in a suspension of all construction activity on the site, except for work related to remediation of the violation, until the violation is resolved to the City's satisfaction. The stop work order shall also suspend the right of the permittee, applicant, owner, contractor, developer or any related entity to build or construct any structure or public improvement on any portion of the site. It shall be unlawful for any person or responsible party to fail to comply with a stop work order. The Director and the Building and Development Department, upon issuance of a stop work order, are authorized to suspend the issuance of building permits and occupancy permits for structures on any portion of the site, terminate City utility services to the site, and to suspend all inspections and plan review related to any other work that is taking place on the site, until such time as the violation is resolved to the City's satisfaction. Stop work orders shall specifically state the provisions of this Chapter or the land disturbance permit being violated. Any person, who shall continue any work in or about the site after having been served with a stop work order, except such work related to remediation of the violation, shall be subject to penalties as specified in Section 255.090. Said stop work order may be lifted upon the presentation and construction of an accepted plan to avoid sediment runoff and the removal of any such sediment as ordered. All stop work orders that are issued by the Director must be posted on the site on which the grading activity is taking place, and in reasonable proximity to a location where the grading activity is taking place. All stop work orders posted in this manner shall be considered validly delivered. It shall be the responsibility of the owner to ensure that no violation of this Chapter occurs on his/her property. If the responsible party fails to comply with a NOV, stop work order, or there is no immediate settlement, a summons to court may be issued to the responsible party. The summons to court shall contain all the information required by the City Code and will be enforced and issued through the Municipal Court. The Director shall have the option of causing a summons to Municipal Court to be issued immediately upon discovery of a violation, in lieu of a NOV.

#### Section 255.090. Penalties for Violation.

A. Any person who violates the provisions of this Chapter shall be subject to the following penalties per day and each and every day shall be deemed a separate offense.

1. Penalties shall be an applicable dollar amount per violation per day and/or imprisonment for a period of time per violation per day. The dollar amount and imprisonment period shall be the established amounts at the time of violation. Such dollar amounts and imprisonment periods shall be established in a schedule periodically adjusted by ordinance.

2.  The City may recover all attorneys' fees, court costs (fines or penalties assessed against the City by the MODNR) and other expenses associated with enforcement of this Chapter.

Notes of Explanation as to why these additions are being requested.

- Our MS4 permit sections 4.4.E and 4.4.F requires our Construction Site Stormwater Management Regulations/Land Disturbance and Sediment Control ordinance to include an enforcement process, including sanctions, fines, and progressive enforcement actions.  Our current ordinance does not categorically state our enforcement process.

- While not a big deal in the overall purpose of this ordinance, we are requesting that we rename Chapter 255 to “Construction Site Stormwater Management Regulations/Land Disturbance and Sediment Control.”  DNR seems to want cities to bring attention to the Land Disturbance/Sediment Control angle.  This wouldn’t change the ordinance at all, with the exception of the items in this document (addition of 255.080 and 255.090).

Best Management Practices (BMP)

Manual for Land Disturbance Activities

TABLE OF CONTENTS

Introduction---------------------------------------------------------------------------------------------------------1

Section 1: Erosion Control BMP’s------------------------------------------------------------------------------2

Phasing/Sequencing-------------------------------------------------------------------------------------2

Preservation of Existing Vegetation-----------------------------------------------------------------3

Tree Preservation----------------------------------------------------------------------------------------4

Tree Protection Detail-----------------------------------------------------------------------------------6

Vegetated Filter Strip------------------------------------------------------------------------------------7

Vegetated Filter Strip Detail----------------------------------------------------------------------------9

Erosion Control Blankets--------------------------------------------------------------------------------10

Erosion Control Blankets Detail------------------------------------------------------------------------11

Turf Reinforcement Mats--------------------------------------------------------------------------------12

Turf Reinforcement Mats Detail------------------------------------------------------------------------13

Hydro-Seeding----------------------------------------------------------------------------------------------14

Seeding-------------------------------------------------------------------------------------------------------15

Sodding-------------------------------------------------------------------------------------------------------16

Sodding Detail-----------------------------------------------------------------------------------------------17

Mulching-----------------------------------------------------------------------------------------------------18

Soil Binders--------------------------------------------------------------------------------------------------19

Slope Drains-------------------------------------------------------------------------------------------------20

Slope Drains Detail-----------------------------------------------------------------------------------------21

Temporary Stream Crossings----------------------------------------------------------------------------22

Temporary Stream Crossings Detail-------------------------------------------------------------------23

Water Diversion--------------------------------------------------------------------------------------------24

Water Diversion Detail------------------------------------------------------------------------------------25

Dust Control/Wind Erosion------------------------------------------------------------------------------26

Section 2: Sediment Control BMP’s-----------------------------------------------------------------------------27

Construction Exit-------------------------------------------------------------------------------------------27

Construction Exit Detail----------------------------------------------------------------------------------28

Street Cleaning---------------------------------------------------------------------------------------------29

Compost Filter Socks--------------------------------------------------------------------------------------30

Compost Filter Socks Detail------------------------------------------------------------------------------31

Compost Filter Socks Robust Method Detail--------------------------------------------------------32

Silt Fence-----------------------------------------------------------------------------------------------------33

Silt Fence Detail---------------------------------------------------------------------------------------------34

Ditch Checks-------------------------------------------------------------------------------------------------35

Ditch Checks Detail----------------------------------------------------------------------------------------36

Check Dams--------------------------------------------------------------------------------------------------37

Check Dams Detail-----------------------------------------------------------------------------------------38

Inlet Protection---------------------------------------------------------------------------------------------39

Inlet Protection Gravel Bags Detail--------------------------------------------------------------------40

Gravel Bags--------------------------------------------------------------------------------------------------41

Gravel Bags Detail-----------------------------------------------------------------------------------------42

Fiber Rolls/Wattles----------------------------------------------------------------------------------------43

Fiber Rolls/Wattles Detail--------------------------------------------------------------------------------44

De-watering Operations----------------------------------------------------------------------------------45

De-watering Operations Bag Detail--------------------------------------------------------------------46

Sediment Basin---------------------------------------------------------------------------------------------47

Sediment Trap----------------------------------------------------------------------------------------------49

Stockpile Protection---------------------------------------------------------------------------------------50

Plastic Sheeting Detail------------------------------------------------------------------------------------51

Protection of Permanent Infiltration Practices-----------------------------------------------------52

Section 3: Housekeeping-------------------------------------------------------------------------------------------54

Housekeeping-----------------------------------------------------------------------------------------------54

Pollution Prevention Procedures-----------------------------------------------------------------------55

Concrete Washout Pit-------------------------------------------------------------------------------------57

Concrete Washout Pit Detail----------------------------------------------------------------------------58

Introduction

Like many cities nationwide, Webb City’s stormwater drainage system flows directly into local streams and lakes.  When it rains, stormwater picks up and carries sediment and other pollutants into these waterways where it can affect water quality and the health of fish and other aquatic life.  The Federal Clean Water Act was amended in 1987 to enact regulations to address water quality impact of polluted stormwater runoff from construction sites and other sources.  These Federal regulations are implemented through state and local agencies.  Sites in Webb City that disturb one (1) acre or greater, and sites that disturb less than one (1) acre that are part of a larger common plan of development are required to obtain a land disturbance permit from the Missouri Department of Natural Resources.

The State permits and Webb City code require a site-specific Stormwater Pollution Prevention Plan (SWPPP) that details the design, installation, and maintenance of effective BMPs to minimize the discharge of pollutants.  Per the State permit, the SWPPP shall provide the following general information for each BMP that will be used:

- Physical description of the BMP

- Site and physical conditions that must be met for effective use of the BMP

- BMP installation/construction procedures, including typical drawings

- Operation and maintenance procedures for the BMP.

The purpose of this manual is to provide general information for each BMP for SWPPP preparers to utilize in the SWPPP.  SWPPP preparers should supplement this general information with site-specific information for each BMP in a SWPPP, including as applicable: phasing, product types, site-specific or manufacturer’s details, and site-specific conditions for removal.

Manufacturer’s specifications, if applicable, should be followed when selecting and designing BMPs.  Detailed guidance on BMP design, installation, and maintenance can also be found in MDNR’s guide titled, “Protecting Water Quality: A field guide to erosion, sediment and stormwater Best Management Practices for development sites in Missouri and Kansas.”  This guide is available at http://www.dnr.mo.gov/env/wpp/wpcp-guide.htm.

Sites less than one (1) acre that are not required to have a land disturbance permit and SWPPP should also install basic BMPs to minimize the discharge of sediment and should refer to this manual, the MDNR guide, and manufacturer’s specifications for BMP design, selection, installation, and maintenance.  This manual is not comprehensive; other BMPs may be acceptable.

Phasing/Sequencing

Definition & Purpose

Phasing involves developing a schedule that includes the sequencing of construction activities with the implementation of construction site BMPs.  The purpose of phasing is to reduce the amount and duration of soil exposed to erosion and to implement and maintain BMPs in coordination with the sequence of construction activities.

Conditions for Effective Use

A schedule of the sequence and timing of construction activities is a permit requirement for all sites that disturb one (1) acre or greater.  Projects should be phased when possible to reduce the amount and duration of soil exposed at any one time.  The phasing plan should be developed during the project design phase.  Disturbed areas in one phase should be stabilized before disturbing subsequent phases.  When possible, land disturbance and construction in and around waterways should be scheduled during a typically dry weather period.

Installation/Construction Procedures

Sequencing and Estimated Dates of Construction Activities shall be outlined in the SWPPP.

Operation & Maintenance Procedures

During inspections, verify that work is progressing in accordance with the phasing shown in the SWPPP and that BMPs are installed prior to the start of each construction phase.  If phasing sequence has changed, update the Sediment and Erosion Control site plan, and document the update on the next regular site inspection report.

Preservation of Existing Vegetation

Definition & Purpose

Permanent preservation of existing vegetation and topsoil minimizes the area of disturbance, reducing the need for erosion and sediment control BMPs and the potential for violations.  It also likely provides a financial benefit by reducing the cost of grading, BMPs, topsoil, and seeding.  Preserved areas can provide long-term stormwater benefits through increased absorption of rainfall compared to turf grass areas with compacted soil.

Conditions for Effective Use

Preservation of existing vegetation requires planning and should be the first step in the design process.  The site should be surveyed to identify high quality soils, trees, vegetation, and steep slopes to be preserved.  The site improvements, including any temporary roadways, should be designed around those features and follow existing contours to reduce cutting and filling.  Sediment control BMPs such as compost filter sock or silt fence may be desirable to protect the preservation area from significant sediment accumulation.

Installation/Construction Procedures

Protection of preservation areas with temporary construction fencing and any sediment control BMPs shall be provided prior to the commencement of clearing and grubbing operations or other soil-disturbing activities.  Construction materials, equipment storage, and parking areas should be located outside of protected areas where they will not cause root compaction.

Operation & Maintenance Procedures

During weekly and rain event inspections, verify that temporary construction fencing and any sediment control BMPs to protect preservation areas are still in place and operational.  If the area to be preserved is adjusted during construction, update the Sediment and Erosion Control site plan and document it on the next regular site inspection report.

Site Conditions for Removal

Temporary fencing and any sediment control BMPs shall be removed after final stabilization of the site has occurred.

Companion BMPs

- Tree Preservation

Tree Preservation

Definition & Purpose

Tree preservation is the process of protecting trees from damage related to construction activity.  Tree preservation provides erosion control and long-term stormwater benefits by intercepting and absorbing rainfall.  Trees also tend to increase property values and the marketability of a development.  Additional benefits of trees include improved air quality, shading of buildings, and habitat for birds and people.

Conditions for Effective Use

Tree preservation requires planning and should be one of the first steps in the design process.  The site should be surveyed to identify trees to be preserved based upon their size, species, condition, location, historical significance, or any combination of these factors.  The site improvements, including any temporary roadways, should be designed around these trees.  The site should also be designed to follow existing contours as much as possible.  Cutting and filling can make it difficult to avoid grading within tree protection zones, reducing the number of trees that can be effectively preserved.

Installation/Construction Procedures

Marking and fencing of trees shall be done prior to the commencement of clearing and grubbing operations or other soil-disturbing activities.  Sites requiring a Land Disturbance Permit, tree protection fencing shall be installed prior to the issuance of the City of Webb City permit.  The critical root zone is generally 10 feet beyond the dripline of a tree.  Fencing shall be located to protect as much of the critical root zone as possible.  If the entire critical root zone cannot be protected, work may encroach into this zone on one side of the tree.  Fencing should be at least 4 feet high and supported at a maximum of 10-foot intervals by metal T-posts or other approved methods sufficient to keep the fence upright and in place.  T-posts shall be a minimum of 2 feet in the ground.  In some cases, a layer of wood chip mulch may be used for temporary road access and to reduce compaction in and near tree population areas.  When used for this purpose, at least 12 inches of chips should be applied where vehicles will travel or park.  Mulching may also be utilized within the tree protection zone during construction to protect the soil from compaction, conserve soil moisture and moderate soil temperature.  Spread wood chips to a depth of 4 inches, leaving the trunk clear of mulch.  See Typical Detail.

Operation & Maintenance Procedures

At a minimum, inspect weekly for areas where fence has fallen and/or needs repair.  No equipment, materials, and/or debris shall be stored within the tree protection zone fencing.  When work requires encroaching within the tree preservation zone, a certified arborist shall be consulted before proceeding with construction activities.

Site Conditions for Removal

Temporary fencing shall be removed after final stabilization of the site has been achieved.

Companion BMPs

- Preservation of Existing Vegetation

- Mulching

Vegetated Filter Strip

Definition & Purpose

Vegetated filter strips are areas of vegetation that are used as sediment control practices during construction.  Vegetation slows down stormwater runoff and filters out sediment.

Conditions for Effective Use

Vegetated filter strips are appropriate where a strip of existing vegetation can be left in place in downhill areas to provide sediment control in place of or in addition to other sediment control BMPs.  They should be used in areas of sheet flow only.  Level spreaders may be needed to ensure sheet flow.  Filter strip width and length should be determined based on the size and slope of the drainage area and type of vegetation.  See MDNR Guide Section 6-201.  If the vegetated filter strip is part of a preservation area (See Preservation of Existing Vegetation), additional sediment control BMPs may be desired to protect the preservation area from excessive sediment deposition.  Vegetated filter strips installed as a permanent stormwater quality control measure should not be used as a sediment control BMP.

Installation/Construction Procedures

Existing vegetation that will be used as a vegetated filter strip should be marked and the width and length shown on the Sediment and Erosion Control plan prior to construction and designated as “Do Not Disturb.”  It may be desirable to fence off the filter strip to protect it from construction activities.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event of ½” or greater.  Verify that the vegetated filter strip has not been removed or damaged by construction activities.  Remove excessive sediment accumulation if needed for functionality.  Seed areas of erosion or dead vegetation as needed.  Install additional BMPs if the vegetated filter strip becomes ineffective and update the Sediment and Erosion Control site plan and note it on the next regular site inspection report.

Site Conditions for Removal

The vegetated filter strip should remain in place until the drainage area is stabilized, at which point it is typically replaced with permanent vegetation or, in the case of a phased site, replaced with improvements.  The SWPPP should provide site-specific information on removal or replacement of the vegetated filter strip.

Alternatives

- Compost Filter Sock

- Silt Fence

Companion BMPs

- Preservation of Existing Vegetation

Erosion Control Blankets

Definition & Purpose

An Erosion Control Blanket (ECB) is a blanket of synthetic or natural fibers to protect soil from the erosive impact of precipitation and overland flow, typically on slopes and in channels.  ECBs also retain moisture and facilitate the establishment of vegetation.  Erosion Control Blankets are also sometimes referred to as Rolled Erosion Control Products (RECPs).

Conditions for Effective Use

Factors in the selection of ECB include soil conditions, steepness and length of slope, sheer stress, and type duration of protection needed to establish desired vegetation.  Products are available for a variety of uses and longevity, typically 3 months from to 36 months.  Manufacturer’s specifications should be followed in ECB selection.  See MDNR Guide Section 6-97 for general guidance on ECB use and selection.

Installation/Construction Procedures

The type of ECB shown on the plans should be installed immediately after completion of a phase of grading and/or seeding.  Follow manufacturer’s specifications for installation, particularly noting requirements for check slots, fastening devices (staples), and the need for firm contact with soil.  See Typical Detail.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site until adequate vegetation is established.  Repair erosion and/or undermining at top of slope.  Repair undermining beneath blankets.  Pull back the blankets, fill and compact eroded area, re-seed and then firmly secure the blankets.  Reposition or replace blankets that have moved along the slope or have been damaged.

Site Conditions for Removal

ECB is typically left in place and designed to degrade over time.

Alternatives

- Turf Reinforcement Mat

Turf Reinforcement Mat

Definition & Purpose

A Turf Reinforcement Mat (TRM) is a rolled mat of non-degradable synthetic material that provides a matrix to greatly reinforce the root system of the desired vegetation for permanent erosion protection in high flow channels and on critical slopes.

Conditions for Effective Use

Factors in the selection of TRM include soil conditions, steepness and length of slope, depth of flow, runoff velocities, and time required to establish desired vegetation.  Manufacturer’s recommendations should be followed in TRM selection.  See MDNR Guide 6-97 for general guidance on TRM use and selection.

Installation/Construction Procedures

The type of TRM shown on the plans should be installed immediately after completion of a phase of grading and/or seeding.  Follow manufacturer’s specifications for installation, particularly noting requirements for check slots, fastening devices (staples), and the need for firm contact with soil.  See Typical Detail.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site until adequate vegetation is established.  Repair erosion and/or undermining at the top of the slope.  Repair undermining beneath mats.  Pull back the mats, fill and compact eroded area, seed, and then secure mats firmly.  Reposition or replace mats that have moved along the slope or channel and secure firmly.  Replace damaged mats.

Site Conditions for Removal

TRMs are left in permanently.

Alternatives

- Plastic Transition Mat

Companion BMPs

- Ditch Checks in channels

- Fiber Rolls on slopes

Hydroseeding

Definition & Purpose

Hydroseeding is a method of seeding that consists of applying a mixture of water, seed, wood fiber, and soil stabilizer (if used) with hydroseeding equipment.

Conditions for Effective Use

To select appropriate hydroseeding mixtures, an evaluation of site conditions shall be performed with respect to: soil conditions, site topography, season and climate, vegetation types, maintenance requirements, sensitive adjacent areas, water availability, and plans for permanent vegetation (if hydroseeding is done for temporary vegetation).  Soil should be loose (un-compacted) at time of application.  For best results, cover the hydroseed layer with a mulch layer to help protect the seed from wind and erosion, retain soil moisture, and control soil temperature during establishment.  Mulching should also be used when there is not sufficient time in the season to ensure adequate vegetation establishment and coverage for erosion control.  Conduct a soil test to determine if soil amendments are needed.  Fertilizer should only be applied if a soil test indicates it is needed.  The hydroseeding mixture should be determined by an industry professional.  See MDNR Guide Section 6-87 for additional guidance.

Installation/Construction Procedures

Hydroseeding should be done immediately after completion of a phase of grading.  Hydroseeding can be accomplished using a multiple-step or one-step process.  The multiple-step process ensures maximum direct contact of the seeds to the soil.  When the one-step process is used to apply the mixture of seed, fiber, etc., the seed rate shall be increased to compensate for all seeds not having direct contact with the soil.  Follow-up applications shall be made as needed to cover weak spots.  Avoid overspray on existing vegetation, waterways, sidewalks, and roadways.  Straw or other mulch should be applied to reduce the erosive capacity of stormwater and keep soil and seed in place.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site.  Hydroseeded areas should be inspected for failures and re-seeded and mulched within the planting season, using not less than half the original application rates.

Alternatives

- Sod

- Turf Reinforcement Mat

- Control Blankets

Seeding

Definition & Purpose

Seeding is used to establish temporary or permanent vegetation in order to protect exposed soil from erosion.

Conditions for Effective Use

The SWPPP should include a site-specific seeding specification for permanent seeding and for temporary seeding if needed. See MDNR Guide Section 6-71 Temporary Seeding and Section 6-77 Permanent Seeding for other specifications and guidance. Conduct a soil test to determine the need for soil amendments. Specifications for topsoil and soil amendments should be followed to ensure vegetation establishment and growth. Fertilizer should only be applied if a soil test indicates it is needed. Use additional stabilization (Erosion Control Blankets, etc.) on slopes steeper than 3:1 and in areas of concentrated flow.

Installation/Construction Procedures

Seeding should be done immediately after completion of a phase of grading, or in areas where construction activity has ceased for 14 days. Follow seeding specification for topsoil, soil amendments, seed type, seeding rate, and seeding dates. Apply straw or other mulch (see Mulching). Water immediately, to a depth of 4 inches.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Protect seeded areas from vehicular and foot traffic. Reseed and mulch areas that have not sprouted within 21 days of planting. Repair damaged or eroded areas and reseed/mulch as needed. Do not mow until 4 inches of growth occurs. During the first 4 months, mow no more than 1/3 the grass height. Seeded areas should be repaired and reseeded/mulched for one year following permanent seeding to ensure successful establishment.

Alternatives

- Sod and Hydroseed

Sodding

Definition & Purpose

Sod is a mat of grass with an established root system used to provide immediate vegetation for erosion control.

Conditions for Effective Use

Sod is an effective way to achieve immediate erosion protection in areas of sheet flow and low concentrated flows with velocities less than 5 feet/second. A soil test should be performed to determine if soil amendments are needed. Fertilizer should only be applied if a soil test indicates it is needed.

Installation/Construction Procedures

Install immediately after finish grading. Remove debris larger than 1 inch in diameter and concentrated areas of smaller debris. Level and roll soil lightly to provide an even grade and firm the surface. Soil should not be excessively wet or dry. Lay first row of sod perpendicular to the slope or direction of flow. Lay subsequent rows tightly against previous rows with joints staggered in a brick-like pattern. Fill minor gaps with good soil and roll entire surface to ensure contact. Stake, staple and/or net corners and centers of sod strips as required, especially in areas of concentrated flow. Water the sod immediately after installation, enough to soak 4 inches into the soil without causing runoff. For additional guidance see MDNR Guide Section 6-107.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Water the sod as often as necessary to maintain moist soil to a depth of at least 4 inches. Reposition areas of sod that have moved along the slope. Remove sediment accumulations and replace sod if necessary. Repair and replace sod in eroded areas as needed. Do not mow sod until 3 inches of new growth occurs. During the first 4 months, mow no more than 1/3 the grass height.

Mulching

Definition & Purpose

A layer of organic material designed to protect exposed soil or freshly seeded areas from erosion by eliminating direct impact of precipitation and slowing overland flows. Mulch materials include grass, hay, straw, wood chips, wood fibers, and shredded bark.

Conditions for Effective Use

Mulching can be used in areas of sheet flow for temporary soil stabilization on disturbed areas and applied to seeded areas to protect the seed and retain moisture for plant establishment. It is essential to seeding success in most conditions. In landscape areas, mulch is installed for permanent use. Where slopes are 3:1 or greater, hydraulic mulch bonded fiber matrix, erosion control blankets, or turf reinforcement mats should be used. See MDNR Guide Section 6-91 for additional guidance.

Installation/Construction Procedures

Install immediately after grading landscaped areas or after seeding in other areas. Grade area and remove all debris larger than 1 inch if area is to be vegetated and mowed in the future, larger than 2 inches if area is to be permanently mulched. If area is to be seeded, follow requirements of seeding. Spread mulch evenly and anchor by crimping it into the ground or using netting.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site until adequate vegetation is established. For permanent mulch, inspect annually. Protect from vehicular and foot traffic. Repair damaged or eroded areas and reseed and replace mulch as needed.

Site Conditions for Removal

Mulching is biodegradable and will remain in place.

Soil Binders

Definition & Purpose

Soil binders are materials applied to the soil surface to temporarily prevent water-induced erosion of exposed soils on construction sites. These materials must be made for this purpose and Safety Data Sheet available upon request. Soil binders also provide temporary dust, wind, and soil stabilization (erosion control) benefits. The useful life of most products is 3 to 6 months.

Conditions for Effective Use

Soil binders should be used in areas of sheet flow only. Soil binders are typically applied to disturbed areas requiring short-term, temporary protection and in combination with other BMPs, such as perimeter controls, seeding, and mulching. Because soil binders can often be incorporated into the work, they may be a good choice for areas where grading activities will soon resume. Binders can also be applied to stockpiles to prevent water and wind erosion. See MDNR Guide Section 6-103 on Dust Control for more information on soil binders.

Installation/Construction Procedures

Consider drying time for the selected soil binder and apply with sufficient time before anticipated rainfall. Soil binders shall not be applied during or immediately before rainfall. Soil binders may not cure if low temperatures occur within 24 hours of application. Follow manufacturer's specifications for application rates, pre-wetting of application area, and cleaning of equipment after use. Use the recommendations to maximize usefulness and avoid formation of pools or impervious areas where stormwater cannot infiltrate.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site, looking for damage from vehicles, runoff, or freeze-thaw conditions. Reapply product or utilize additional BMPs.

Site Conditions for Removal

Soil binders are typically left in place to degrade naturally.

Companion BMPs

- Seeding and Hydroseeding

Slope Drains

Definition & Purpose

A slope drain is a pipe or lined channel which extends from the top to the bottom of a cut or fill slope.

Conditions for Effective Use

These structures are designed to convey concentrated runoff to protect exposed slopes from upstream runoff. They can be used for sheet flow and concentrated flow. Slope drains typically extend beyond the toe of the slope to a stable area or outlet. They should be designed by a registered design professional. See MDNR Guide Section 6-153 for additional guidance.

Installation/Construction Procedures

Install concurrently with diversion devices, as soon as cut and fill operations have occurred. Install according to plans. Typical installation is as follows. Install slope drain down the slope, perpendicular to slope contours, extending beyond the toe of slope. At top of slope, grade a diversion channel toward the slope drain. Install flared end or t-section at pipe inlet. Section should be well entrenched and stable so water can enter freely. Ensure that all pipe connections are secure and watertight. Securely anchor the exposed section of the drain with stakes. Install flared end section at pipe outlet and discharge into a sediment trap or other stabilized outlet. Protect area around inlet with filter fabric. Protect outlet with rip rap or other energy dissipation device.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on site. Remove sediment and trash accumulation at inlet. Repair settlement, cracking, or piping holes. Repair leaks or inadequate anchoring along pipe. Remove sediment and stabilize eroded areas at outlet. Extend the outlet if necessary.

Site Conditions for Removal

Remove concurrently with upstream diversion device after slope has been stabilized. Stabilize the exposed areas where the slope drain and diversion device were removed.

Robust Alternatives

- Conveyance Channel

Companion BMPs

- Plastic Transition Mat and Rip-Rap

Temporary Stream Crossing

Definition & Purpose

A temporary stream crossing is a structure placed across a waterway that allows vehicles to cross the waterway during construction to minimize erosion and downstream sedimentation.

Conditions for Effective Use

Temporary stream crossings are installed at sites where construction equipment or vehicles need to frequently cross a waterway, and when alternate access routes are not feasible. They should be designed by a registered design professional. Appropriate permits (404, 401, etc.) must be obtained. Design considerations include: current and proposed watershed conditions, average and peak discharge (typically, 2-year rainfall intensity event), effect on water surface elevation off-site, velocity, sediment removal, and protection of fish and trees. General guidelines for a low water crossing include: light traffic, bank height less than 5 feet, and perpendicular to flow or with a slight upstream arc. General guidelines for a culvert crossing include: sized for 2-year rainfall intensity event with 1 foot freeboard and no flooding of offsite areas, pipe parallel to flow, embankment perpendicular to channel or with a slight upstream arc, rip rap on exposed faces sized for overtopping during a peak storm period. See MDNR Guide Section 6-29 for additional guidance.

Installation/Construction Procedures

Install during periods of dry weather. Installation may require dewatering or temporary diversion of the stream. Procedures are specific to the type of crossing used. Generally, provide a stable means to bypass normal channel flow prior to disturbing the channel. Stabilize the channel bottom, install culvert (if used), grade and compact access ramps and soil embankment, install fabric, stone, and rip rap according to design.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site, checking for: blockage in channel, debris buildup, erosion of abutments, channel scour, rip rap displacement, piping of soil, and structural weakening. Remove sediment and trash accumulation. Repair and stabilize eroded areas. Extend rip rap if necessary.

Site Conditions for Removal

Remove as soon as alternative access is available. All foreign materials should be removed from creek. The streambed/banks should be returned to the original contour and stabilized if necessary.

Water Diversions

Description & Purpose

Water diversions consist of practices that intercept and divert water around a construction site.

Conditions for Effective Use

A water diversion is implemented when work is performed in a body of water or when runoff needs to be diverted around a construction site to keep the runoff clean. Diversion of stream flow should generally be combined with other in-stream BMPs downstream of the diversion such as check dams to act as secondary measures for sediment control. Excavation of a bypass channel or passing the flow through a pipe is appropriate for the diversion of streams generally less than 20 feet wide, with flow rates less than 99 cubic feet/second. Water diversions may be used with other practices, such as pumps. Pumped diversions are suitable for intermittent and low flow streams. Temporary berms, excavated channels, or a combination of both can be used to divert runoff around a construction site. Diversions should be designed by a registered design professional. See MDNR Guide Section 6-143 for additional guidance.

Installation/Construction Procedures

Install the diversion according to the plans prior to starting construction in the area that water will be diverted around. When working in a body of water, install downstream sediment controls such as check dams before installing the diversion to catch any sediment released during installation.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Remove debris and sediment from area.

Site Conditions for Removal

Remove the water diversion when work in the area is completed.

Companion BMPs

- Dewatering

- Temporary Stream Crossing

Dust Control/Wind Erosion

Definition & Purpose

Practices of controlling wind-borne dust include phasing, preservation of trees and existing vegetation, minimization of soil disturbance, mulching, watering, wind barriers, and soil binders.

Conditions for Effective Use

Phase work to the extent practical to minimize the amount of area disturbed at one time (see Phasing/Sequencing). Preservation of grass and trees and the use of solid board fences may also serve as wind barriers. For areas not subjected to traffic, vegetation provides the most practical method of dust control and should be established as early as possible. Effectiveness of application of water, adhesives, and chemical treatment depends on soil, temperature, humidity, and wind velocity. See MDNR Guide Section 6-103 for additional guidance.

Installation/Construction Procedures

Use dust control when clearing and grading activities create blowing dust, especially during periods of dry weather. Water shall be applied by means of pressure-type distributors or pipelines equipped with a spray system or hoses and nozzles that will ensure even distribution. Place barriers at right angles to prevailing wind at intervals of about 10 times their height to control soil blowing. Paved areas that have soil on them from construction sites should be cleaned with street sweeper. Mulching offers a fast and effective means of controlling dust when properly applied. Binders and tackifiers should be used on organic mulches. NOTE: If calcium chloride or spray-on adhesives are used for dust control, a permit may be required from MDNR. Follow manufacturer's specifications for binders and tackifiers.

Operation & Maintenance Procedures

Check areas where mulch or binders have been applied for dust control and adjust/reapply as needed, according to manufacturer's specifications.

Site Conditions for Removal

Dust control practices can be terminated when stabilization has been achieved.

Robust Alternatives

- Binders and Tackifiers

Construction Exit

Definition & Purpose

A stabilized exit to a construction site is designed to minimize the amount of sediment tracked from the site on vehicles and equipment. Mud and sediment fall off of tires as they bounce along the stabilized entrance.

Conditions for Effective Use

Limit the number of points of ingress/egress and locate them where it is safe for construction vehicles and equipment to access public road. Avoid placing construction exit in low areas, where stormwater can accumulate and discharge off site. If possible, locate where permanent roads will eventually be constructed. See MDNR Guide Sections 6-7 through 6-15 for construction exit and robust alternatives.

Installation/Construction Procedures

Install prior to the start of construction. Properly grade and compact each construction entrance/exit to prevent runoff from leaving the site. Install culvert under entrance if needed to maintain positive drainage. Install woven geotextile fabric and cover with 3 to 6” aggregate to a depth of 6”. Construction exit should have a length of 50’ and a turn radius of 25 or full width of roadway. All contractors, subcontractors, and suppliers should be instructed to utilize construction entrance/exit before entering or exiting unstable areas.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Add a new lift of rock, or turn stones when voids become inundated with sediment and pad becomes smooth. Keep all temporary roadway ditches clear. Immediately remove any mud, rock or debris tracked onto paved surfaces. Use a street sweeper adjacent with the construction exit to reduce track out from site.

Site Conditions for Removal

Remove exit when vehicles and equipment will no longer access unpaved areas.

Robust Alternatives

• Rumble Plate, Bamboo Mat, Automated Wheel Wash Systems

Companion BMPs

- Triangular Foam Perimeter control

- Street cleaning

- Stabilized gravel access road

Street Cleaning

Definition & Purpose

Street cleaning includes shoveling, brooming, sweeping, and/or vacuuming to remove track-out of sediment from paved public roads.

Conditions for Effective Use

Shoveling should be used to remove mud layers and large dirt clods. Sweeping and vacuuming may not be effective when paved roads are wet or muddy.

Installation/Construction Procedures

If track out is present, street cleaning should be performed as soon as possible, at the end of the workday, and before rain events. If not mixed with debris or trash, consider incorporating the removed sediment back into the project. Otherwise, sweeper waste should be disposed in a solid waste dumpster on or off-site. Do not wash any sediment or debris down the storm drain.

Operation & Maintenance Procedures

Inspect ingress/egress access points daily, and clean tracked sediment as needed and/or required.

Compost Filter Socks

Definition & Purpose

A compost filter sock is a mesh tube filled with composted material used to control sediment through settling and filtration.

Conditions for Effective Use

Compost filter socks are generally placed along the perimeter of a site, at intervals along a slope, or as ditch checks to slow down runoff and retain sediment, allowing cleaned water to flow through. Compost material shall be screened <2 inches. Filter socks generally come in 8", 12", and 18" diameters. Compost filter socks can be used for sheet flow and small concentrated flows. Common industry practice is that drainage areas should not exceed 0.25 acres per 100 feet of sock length and flow should not exceed one cubic foot per second. Manufacturer's specifications should be followed for selecting the sock diameter. See MDNR Guide Section 6-167 for additional guidance.

Installation/Construction Procedures

Install prior to disturbance of the site. Follow manufacturer's specifications. See Typical Detail.

Operation Detail & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Prevent vehicles and machinery from damaging sock. Remove accumulated sediment generally when it reaches half the height of the sock, replace broken stakes, and repair or replace sections that are torn.

Site Conditions for Removal

Removal of sock can occur after permanent vegetation is established. The mesh material can be cut open and removed, leaving the compost to degrade naturally.

Robust Alternatives

- Tie Down Composted River Sock

- Silt fence

Silt Fence

Definition & Purpose

A silt fence consists of a run of filter fabric, stretched, trenched in the ground and attached to anchored posts. Silt fence used as a perimeter control BMP encourages ponding of runoff and settling of sediment from stormwater.

Conditions for Effective Use

Install silt fence along slopes, at bases of slopes, and around the perimeter of a site as a final barrier to sediment being carried off site. Silt fence should follow level contour lines with ends turned upslope in a J-Hook. Silt fence should never be used in areas of concentrated flow. Common industry practice is that drainage areas should not exceed 0.25 acres per 100 feet of fence length. See MDNR Guide Section 6-137 for additional guidance.

Installation/Construction Procedures

Install silt fence prior to disturbance and at intervals during construction of fill slopes. Follow Manufacturer’s Specifications. See Typical Detail.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Remove sediment buildup once it accumulates to 6 inches. Replace torn/clogged fabric, and repair loose fabric and broken stakes.

Site Conditions for Removal

Remove silt fence after permanent vegetation is established. Remove fence, grade trench area, and vegetate.

Alternatives

- Compost Sock

Ditch Checks

Definition & Purpose

Ditch checks are used in channels to reduce water velocity, dissipate energy, and contain sediment in ditches. A ditch check is constructed of 12” or greater compost filter sock, rock-lined geotextile or rock bags.

Conditions for Effective Use

Ditch checks should be placed at specified intervals to slow velocities and provide adequate sediment storage capacity. Ditch checks should be designed by a registered design professional based on the hydraulics/hydrology of the site. See MDNR Guide Section 6-191 for additional guidance.

Installation/Construction Procedures

Immediately following excavation of ditch line, install ditch checks according to plan specifications. Ditch checks need to be installed perpendicular to the ditch. It is important to establish elevation of center mass to be lower than the outside edges. Water should never be allowed to flow around ends of a check dam, as this will cause erosion and deteriorate ditch walls.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur onsite. Remove accumulation of trash and debris. Remove sediment when depth reaches one-half of the ditch check height. Repair/restore ditch check structure, if necessary, to original configuration.

Site Condition for Removal

Remove ditch checks after stabilization of ditch line. Clean out sediment. Remove materials that make up ditch checks.

Alternatives

- Triangular Dikes

Robust Alternatives

- Check Dam and Pyramid Sock

Check Dams

Definition & Purpose

Check dams reduce flow velocity, allowing sediment to settle out. A check dam is a device constructed of rock, rock bags, or proprietary products placed across a natural or man-made channel or swale. They are similar to ditch checks but designed to be more robust. Not to be constructed from silt fence.

Conditions for Effective Use

Check dams should be designed by a registered design professional and consists of one or more dams placed at intervals in channels and swales to slow velocities, reducing erosion and allowing sediment to settle out. They can also be used as an alternative to a sediment basin for sites with a drainage area of 20 acres or less. They can also be used as a secondary sediment control measure in streams but should be combined with water diversion and other BMPs. See MDNR Guide Section 6-187 for additional guidance.

Installation/Construction Procedures

Install before disturbing vegetation in contributing drainage area and immediately following excavation of channels or swales. Check dams must be placed perpendicular to flow of water. Install geotextile filter fabric below rock. When using rock bags, no geotextile is needed. Check dam must be long enough to assure that center mass is lower than outside edge so that water will run over the middle and not undermine outside edges.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Remove accumulation of trash and leaves. Remove sediment when depth reaches one-half of the check dam height. Repair/restore dam structure, if necessary, to original configuration.

Site Conditions for Removal

Remove check dam after contributing areas have been stabilized. Clean out sediment. Remove check dam material and return steam or channel back to original condition.

Robust Alternatives

- Constructed Conveyance Channel and Diversion Practices

Inlet Protection

Definition & Purpose

A temporary sediment control barrier placed around an inlet that minimizes sediment from entering the storm drain.

Conditions for Effective Use

All functional inlets that drain disturbed areas should have inlet protection. The type of inlet protection should be determined based on the type of inlet, drainage area, slope, and whether the inlet is in a high traffic area. Types of inlet protection include gravel bags and proprietary inserts and covers. Compost filter sock or silt fence can be used for protection of area inlets where the sock and fence can be properly staked into the ground. Compost filter sock may also be used on pavement for curb inlet protection, but gravel bags may be a better choice in high traffic areas because of their higher flow rate.

Installation/Construction Procedures

Install before land disturbing activities begin on existing inlets, or immediately after installation of a new inlet. Gravel bags may be placed either as a j-hook on the upstream end of the inlet or as a full barrier, sometimes stacked 2 bags high, across the entire opening of the inlet). Create an overflow bypass in the inlet protection structure so that excessive ponding of water around the inlet will not become a safety issue.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Remove sediment and construction debris that impedes flow to the inlet and replace or repair poorly functioning inlet protection.

Site Conditions for Removal

Remove after contributing drainage areas have been adequately stabilized.

Robust Alternatives

- Inlet Filter Inserts

Gravel Bags

Definition & Purpose

Open mesh nylon or burlap bags of gravel designed to pond water and cause sediment to settle out.

Appropriate Applications

Gravel bags may be implemented on a project-by-project basis with other BMPs.

Conditions for Effective Use

Type of Flow: Sheet flow and concentrated flow. Gravel bags can be used alone or with other BMPs. They can be used as inlet protection, check dams in streams and channels, outfall protection, for water diversions, to create temporary sediment basins, and as barriers.

Installation/Construction Procedures

Time of installation is dependent upon the function gravel bags are intended to perform. When used as a linear control for sediment removal, install along a level contour and turn ends of gravel bag row up slope (-hook style) to prevent flow around the ends. When used for concentrated flows, stack gravel bags to required height using a pyramid approach. The upper rows of gravel bags should overlap joints in lower rows.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Replace or stabilize any damaged bags or bags that have moved out of place. Repair washouts or other damages as needed. Inspect gravel bags for sediment accumulations, and remove sediment when accumulation reaches the height of the structure.

Site Conditions for Removal

Remove upon completion of upstream/upslope work and vegetation/stabilization of contributing runoff areas.

Fiber Rolls/Wattles

Definition & Purpose

Fiber rolls or straw wattles are a rolled erosion control product filled with straw, flax, rice, coconut fiber material, or composted material. Each roll is wrapped with UV degradable polypropylene netting or with biodegradable materials like burlap, jute, or coir. These devices are slope dissipaters that reduce velocity of runoff as sheet flow and catch sediment on steep slopes.

Conditions for Effective Use

Fiber rolls can be used in areas of low shear stress including: along the toe, top, face, and at grade breaks on exposed and erodible slopes to shorten slope length and spread runoff as sheet flow, at the end of a downward slope where it transitions to a steeper slope, along the perimeter of a project (less than 1/3 acre) or down-slope of a stockpile, and down-slope of other exposed soil areas. See MDNR Guide Section 6-195 for additional guidance.

Installation/Construction Procedures

Install fiber roll immediately after rough grading and prior to seeding or mulching. On slopes, install fiber rolls along the contour with a slight downward angle at the end of each row to prevent ponding at the midsection. Turn the ends of each fiber roll upslope (like a j-hook) to prevent runoff from flowing around the roll. Determine using manufacturer's specification the vertical spacing for slope installations. Straw wattles can float or move if not properly staked and trenched in.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on site. Remove sediment accumulation when it reaches 12 the height of the roll/wattle. Repair or replace split, torn, unraveled, or slumping fiber rolls.

Site Conditions for Removal

Fiber rolls are typically left in place on slopes. If they are removed after stabilization has been achieved, collect, and dispose of the accumulated sediment.

Robust Alternatives

- Compost Sock

Companion BMPs

- Erosion Control Blanket

Dewatering Operations

Definition & Purpose

Dewatering operations are practices using dewatering bags, filter socks, rock bags or a Suction pump with skimmer to manage the discharge of pollutants when stormwater and non-stormwater must be removed from a construction site. Water cannot be directly pumped into storm sewer system, streams, or lakes without first going through a sediment control BMP.

Conditions for Effective Use

These practices are implemented for removing standing stormwater and allowable non stormwater discharges from construction sites. Non-stormwater removal includes groundwater, water from cofferdams, water diversions, and waters used during construction activities that must be removed from a work area and are authorized discharges in the state land disturbance permit. Site conditions will dictate the design. A dewatering plan should be submitted as part of the SWPPP detailing the location of dewatering activities, equipment, BMPs and discharge point. Additional permits or special permission from other agencies may be required for some dewatering operations. It is best if stormwater is allowed to settle in the trap or basin for a minimum of 24 hours after a storm event. The intake hose of the dewatering pump should be elevated off the bottom. Dewatering discharges must not cause erosion at the discharge point. See MDNR Guide Section 6-207 for additional guidance.

Installation/Construction Procedures

Implement the dewatering plan detailed in the SWPPP as needed to dewater work areas.

Operation & Maintenance Procedures

Dewatering operations should be closely attended when in use to ensure BMPs are functioning properly. Accumulated sediment removed during the maintenance of a dewatering device can be incorporated into the site.

Site Conditions for Removal

Remove the dewatering operation when dewatering the site is no longer necessary.

SEDIMENT BASIN

Definition & Purpose

A sediment basin is a temporary settling pond designed to slowly release runoff, detaining it long enough to allow sediment to settle out. Sediment basins may also be retrofitted to permanent stormwater detention or retention basins after construction has ended.

Conditions for Effective Use

The basin should be designed by a registered design professional. Sediment basins are required by the state land disturbance permit for each drainage area with 10 or more acres disturbed at one time and shall be sized to contain a volume of at least 3,600 cubic feet per each disturbed acre draining thereto. Other similarly effective BMPs can be specified if a sediment basin is impractical. Sediment basins must have a stabilized spillway and utilize outlet structures that withdraw water from the surface unless infeasible. Basins should be located as close to the sediment source as possible. A sediment basin should not be used in areas of continuously running water (live streams) or in areas where failure of the embankment will result in loss of life, damage to homes or structures, or prevent the use of roadways or utilities. See MDNR Guide Section 6-209 for additional guidance.

Installation/Construction Procedures

Sediment basins should be constructed according to the design plans prior to disturbance of the drainage area.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Remove trash accumulation at outlet. Remove sediment accumulations at a minimum when the basin is 50% full. Any sediment accumulation must be removed prior to converting the sediment basin into a permanent stormwater basin. If not removed, the accumulated sediment reduces the basin's capacity and makes it difficult to achieve adequate vegetation. Repair and reseed any erosion damage on spillway. Repair settlement, cracking, piping holes, or seepage at embankment. Replace gravel around riser if basin does not drain properly.

Site Conditions for Removal

If the basin is to be converted to a permanent stormwater basin, it will remain in place. For temporary sediment basins, remove after upstream areas are stabilized. Grade surface as appropriate and vegetate immediately.

Alternatives

- Sediment Traps and Check Dams

Companion BMPs

- Gravel Bags

SEDIMENT TRAP

Definition & Purpose

A sediment trap is a temporary pond where sediment-laden stormwater is detained, allowing sediment to settle out before runoff is discharged through a stabilized spillway/dewatering pipe.

Conditions for Effective Use

Sediment traps should be designed by a registered design professional. Sediment traps can be used where runoff can be directed into them at low velocities, typically at the outlets of stormwater diversion structures, channels, slope drains, construction site entrances, vehicle wash areas, or other runoff conveyances. The maximum drainage area is 5 acres. They should be located where sufficient access for sediment removal is available. See MDNR Guide Section 6-177 for additional guidance.

Installation/Construction Procedures

Install sediment trap prior to disturbance of all other natural vegetation. When excavating an area for a sediment trap, make sure the side slopes are no steeper than 2:1 and the embankment height is no more than 5 feet from the original ground surface. Install an outlet pipe and riser if necessary. Place and compact fill to construct embankments and the spillway. To reduce velocity of runoff from the trap, line the outlet with rip rap and gravel over the riser pipe.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after rain events that cause stormwater runoff to occur on site. Remove trash accumulation. Remove sediment accumulations once sediment reaches the design depth.

Site Conditions for Removal

Remove after upstream areas are stabilized. Grade surface as appropriate and vegetate.

Robust Alternatives

- Sediment Basin

Companion BMPs

- Gravel Bags and Compost Sock

- Composted Filter Sock and Triangular Foam Log

Stockpile Protection

Definition & Purpose

Geotextiles or plastic covers may be placed over stockpiles or disturbed soil areas to protect against wind and/or water erosion. Compost filter sock or sediment fence may also be used when necessary to retain stockpiled sediment.

Conditions for Effective Use

Applications include small graded areas and stockpiles. The use of plastics and impermeable geotextiles may result in 100% runoff, which may cause erosion problems in the areas receiving the increased velocities and flow. Additional BMPs may need to be installed. Covers can be secured in place with wire staples or sandbags. Avoid stockpiling on impervious surfaces, near storm drains, and on steep slopes. Stockpile side slopes should not exceed 2:1. When installing on slopes, key into the top of the slope and along edges to prevent infiltration of surface water under the geotextile. Seams are typically taped or weighted down their entire length. Off-site borrow/fill areas should also be protected by adequate sediment and erosion control BMPs, and if part of a job >1 acre, their location should be noted within the SWPPP.

Installation/Construction Procedures

Installation should occur when stockpile is generated, dependent upon intended use.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site, checking for erosion, undermining, and anchorage failure. Any failures shall be repaired immediately. If washout or breakages occur, the material shall be re-installed after repairing the damage to the slope.

Site Conditions for Removal

Remove upon establishment of other temporary stabilization BMPs, or after permanent stabilization has occurred.

Robust Alternatives

- Stabilizing stockpile with vegetation.

Companion BMPs

- Perimeter control BMP

Protection of Permanent

Infiltration Practices During Construction

Definition & Purpose

Permanent infiltration practices are post-construction BMPs which are designed to improve the quality and manage the volume of stormwater runoff by encouraging natural infiltration on-site. These practices, which include, but are not limited to, grass swales, infiltration basins and trenches, and pervious pavement and pavers, must be protected during construction in order to prevent them from becoming clogged with sediment and/or compacted by equipment.

Conditions for Effective Use

In areas where infiltration practices will be installed, soil compaction should be minimized by limiting equipment/vehicle traffic. The first step in protecting permanent infiltration practices during construction is to utilize phasing to minimize the exposure of these structures to sediment. Install pervious pavement, infiltration basins and trenches after all upstream areas have been stabilized. If this is not possible, protect pervious paving with a perimeter control BMP, or leave plastic used for curing in place until all upstream areas have been stabilized. Protect infiltration trenches and basins by placing inlet protection in curb cuts and perimeter control where necessary.

Installation/Construction Procedures

Before construction, utilize phasing to schedule installation of permanent infiltration practices after stabilization of upstream areas. Use the site map to locate the staging area and stockpiled material away from areas where infiltration practices will be installed. Install structural BMPs immediately following construction of the infiltration practice. See standards and specifications for the BMPs which will be utilized. BMPs may include Phasing, Compost Filter Sock, Gravel Bags, and Inlet Protection.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after every rain event that causes stormwater runoff to occur on-site. Make sure that areas that will be used for permanent infiltration practices are not becoming compacted by equipment/vehicle traffic, material storage, or other construction activities. Loosen and prepare compacted soil as needed. Remove accumulated sediment from behind structural BMPs. Excavate sediment accumulation in infiltration basins, swales and trenches. If basins and/or trenches will be used as sediment traps during construction to manage stormwater volume, they mu completely excavated prior to adding subbase, base and surface materials for conversion into permanent infiltration practices. Sediment accumulation in pervious paving requires cleaning by sweeper/vacuum truck. Never use a broom to sweep dirt off pervious pavement.

Site Conditions for Removal

Remove after upstream areas are stabilized.

Companion BMPs

- Phasing/sequencing

Housekeeping

Definition & Purpose

Housekeeping refers to construction site management measures that are designed and implemented to minimize discharge of pollutants from the site. Chemicals, hazardous materials, solid waste, human waste, and construction debris are some materials stored on site that can be sources of stormwater pollution without proper BMPs and good manufacturer's specifications and refer to safety data sheets for proper use and disposal of chemicals.

Conditions for Effective Use

An effective management system requires training and signage to promote proper storage, handling, and disposal of materials. Storage areas should be regularly inspected for compliance. Plans should contain notes clearly stating requirements for addressing potential pollutants. Provide sufficient temporary toilet facilities to serve the number of workers on the site. Temporary sanitary facilities should not be placed on top of storm inlets or near waterways. Secondary containment can be added at the base of porta potties to address leaks/spills. The porta-pottie can be tied down using t-posts to prevent tipping over. Collection of trash and construction debris should be in covered dumpsters. Products should be stored in original containers and tightly sealed. Fueling should be done in areas that do not receive a substantial amount of runoff and do not drain directly to lakes, creeks, streams, rivers, sewers, groundwater, wetlands, or road ditches. Place waste receptacles near area of work and empty them on a regular basis. All fueling activities present on the site shall adhere to applicable federal and state regulations concerning underground storage, above ground storage, and dispensers, Hazardous wastes shall be managed according to Missouri Hazardous Waste Laws and Regulations. Install appropriate signage. Post guidelines for proper handling, storage and disposal of materials, and emergency spill clean-up on site. See MDNR Guide Section 2 for additional guidance.

Installation/Construction Procedures

Good housekeeping starts concurrently with work at the site.

Operation & Maintenance Procedures

Inspect for good housekeeping in storage areas and throughout the site weekly and within 48 hours of every rain event which causes stormwater runoff to occur on site. Maintenance of temporary toilet facilities should be frequent and thorough. Make necessary corrections and repairs.

Site Conditions for Removal

Housekeeping measures can be removed at the completion of the project.

Pollution Prevention Procedures

(General Pollution Notes)

Spill Prevention Controls

Keep a spill kit on-site with equipment necessary for spill clean-up. Equipment and materials include, but are not limited to: brooms, dust pans, mops, rags, gloves, goggles, kitty litter, sawdust, oil-absorbent booms, and trash containers.

Fueling. Maintenance of Equipment & Vehicles

No fueling, servicing, maintenance or repair of equipment or machinery should be done within 100 feet of a stream, or within 150 feet of a classified stream, losing stream, or sinkhole. Tarps or drop cloths and drip pads should be used when se or performing maintenance on construction equipment in the field. When work is complete, the contaminated materials should be disposed of appropriately.

WASHING OF EQUIPMENT & VEHICLES

No wash water is allowed to discharge into storm drains or drainage way without proper treatment.

PESTICIDES, HERBICIDES, INSECTICIDES, FERTILIZERS & LANDSCAPE MATERIALS

Exposure of these chemicals to precipitation and stormwater on-site should be minimized.

DIESEL FUEL, OIL, HYDRAULIC FLUIDS, OTHER PETROLEUM PRODUCTS & CHEMICALS

All fueling facilities present on the site shall adhere to applicable federal and state regulations concerning underground storage, above ground storage, and dispensers. All fuel, oil, and other fluids exposed to precipitation shall be stored in watertight, structurally sound, closed containers. Minimize the discharge of fluids from spills and leaks by implementing chemical spill and leak prevention and response procedures, including, but not limited to, installation of containment berms and use of drip pans. Machinery should be kept out of the waterway as much as possible.

HAZARDOUS OR TOXIC WASTE

Hazardous wastes shall be Missouri Hazardous Waste Laws and Regulations. Post guidelines for proper handling, storage and disposal of materials, and emergency spill cleanup on site. An accurate, up-to-date inventory of materials delivered and stored on site should be kept. Retain original labels and safety data sheets. All paint, solvents, petroleum products, petroleum waste products and storage containers such as drums, cans, or cartons shall be stored using best management practices.

Materials exposed to precipitation shall be stored in watertight, structurally sound, closed containers with proper labels. Store bagged and boxed materials on pallets. Cover bagged and boxed materials during nonworking days and prior to rain events. Incompatible materials, such as ammonia and chlorine, must not be stored in the same temporary

containment facility. Containers for proper disposal of waste paints, solvents, and cleaning compounds shall be provided. All hazardous wastes that are transported, stored, or used for maintenance, cleaning, or repair shall be managed according to the provisions of the Missouri Hazardous Waste Laws and Regulations. For guidance, contact 1-800 361-4827.

Concrete Wash-Out Pit

Definition & Purpose

Concrete wash-out pits are used to contain concrete wash-out when cement truck chutes, drums and/or hoses are rinsed out after delivery to construction site. Disposal can occur when concrete wash-out becomes a solid. Concrete wash-out water is a pollutant because of the high pH level and chemical additives in the wash-out. Concrete wash-out management prevents the contamination of stormwater with high Ph and additives that may cause adverse impact to water quality.

Conditions for Effective Use

Concrete wash-out pits must be implemented on construction projects where concrete slurries are generated. Wash-out should be located a minimum of 50 feet from storm drains, ditches, and 100 feet from classified streams, losing streams or sinkholes. Design concrete wash-out pits to sufficiently hold all liquid and concrete waste. Plastic liner should be a minimum of 10 mil. polyethylene sheeting. See MDNR Guide Section 6-63 for additional guidance.

Installation/Construction Procedures

Install concrete wash-out pits prior to concrete pouring activities. See Typical Detail.

Operation & Maintenance Procedures

Inspect every week and within 48 hours after a rain event that causes stormwater runoff to occur on-site. Remove and dispose of solid concrete material. Wash-out facilities must be cleaned when volume reaches 75% of capacity. Cover the concrete wash-out pit before predicted rain events to prevent overflow.

Site Conditions for Removal

Remove concrete wash-out pit when concrete wash-out activity ceases.

Alternatives

Return unwanted concrete back to concrete batch plant to wash-out, proprietary disposal boxes, roll-off Dumpster.

EROSION PREVENTION AND SEDIMENT CONTROL GUIDELINES

City of Webb City

Department of Public Works

Storm Water Services Division

1060 N Madison

Webb City, MO 64870

417-673-6297

May 2013

Preface and Disclaimer

PREFACE

The purpose of the Manual is to provide a comprehensive and detailed approach towards preventing erosion and controlling sediment on construction sites. It includes the latest information regarding materials and installation practices that have proven effective over the past years. There are numerous other resources available and readers are encouraged to refer to the reference document listed in the Appendices.

Another unique feature of this manual is its educational value. Under the National Pollution Discharge Elimination System (NPDES) rules, public involvement and educational outreach will be a major part of water quality standards.

DISCLAIMER

The Erosion Prevention and Sediment Control Guidelines Manual was developed for the sole purpose of providing the most updated Erosion Prevention, Run-off Management, Sediment and Tracking Controls, and Pollution Prevention Best Management Practices (BMP's). The contents of this manual should not be interpreted as necessarily representing the policies or recommendations of other referenced agencies or organizations.

The mention of trade names, products or companies does not constitute an endorsement.

Periodic updates will be made as materials, practices, and policies change within the industry and are made available.

DESIGN   +   INSTALLATION   +   MAINTENANCE

All three aspects of a SWPPP must be properly implemented!

TABLE OF CONTENTS

INTRODUCTION

Overview

General Design Guidelines

EROSION CONTROL BMPs

Scheduling (EC-1)

Preservation of Existing Vegetation (EC-2)

Dust (Wind Erosion) Control (EC-3)

Hydraulic Mulch-Bonded Fiber Matrix (EC-4)

Mulching (EC-5)

Soil Binders (EC-6)

Seeding (EC-7)

Hydroseeding (EC-8)

Sodding (EC-9)

Erosion Control Blankets (EC-10)

Turf Reinforcement Mat (EC-11)

Geotextiles and Plastic Covers (EC-12)

Outlets/Velocity Dissipation Devices (EC-13)

Streambank Stabilization (EC-14)

Temporary Stream Crossing (EC-15)

RUNOFF MANAGEMENT BMPs

Check Dams (RM-1)

Earth Berms and Drainage Swales (RM-2)

Water Diversions (RM-3)

Terracing (RM-4)

Grass Lined Channel (RM-5)

Slope Drains (RM-6)

Gravel Bags (RM-7)

Level Spreaders (RM-8)

Soil Roughening (RM-9)

Fiber Rolls/Wattles (RM-10)

Dewatering Operations (RM-11)

SEDIMENT CONTROL BMPs

Vegetated Filter Strip (SC-1)

Silt Fence (SC-2)

Compost Filter Socks (SC-3)

Compost Filter Berms (SC-4)

Sediment Basins (SC-5)

Sediment Traps (SC-6)

Sediment Filters and Chambers (SC-7)

Inlet Protection-Curb and Gutter (SC-8)

Inlet Protection-Recessed (SC-9)

Street Sweeping and Vacuuming (SC-10)

TRACKING CONTROL BMPs

Construction Entrance/Exit (TC-1)

Construction Parking (TC-2)

Stabilized Construction Roadway (TC-3)

Washdown Station (TC-4)

POLLUTION PREVENTION BMPs

Non-Sediment Pollution Control (PP-1)

Concrete Washout (PP-2)

APPENDIX

Acronyms

Bibliography

Inspection Checklist

Companion Guide for the Inspection Checklist

INTRODUCTION

OVERVIEW

Best Management Practices (BMPs) are effective, practical, structural or nonstructural methods which prevent, reduce, or control the movement of sediment and other pollutants from the land to surface or ground water, or which otherwise protect water quality from potential adverse effects of land disturbing activities. These guidelines and BMPs are intended to provide the designer, contractor and builder with design criteria and minimum standards for the installation of erosion and sediment controls to comply with the City of Webb City’s Land Disturbance Regulations. The regulations were enacted to protect the health, safety, and property of the citizens of Webb City and to help protect area water resources from pollution due to erosion and transportation of sediment and other pollutants. The regulations are applicable to all land development and land disturbance activity within the City of Webb City where the area of disturbance is greater than one acre or near valuable natural resources. The regulations require that no person cause or allow sediment to be deposited in any public street, public land, or on any property not under their control as a result of land disturbance from construction activities.

You can comply with the regulations by meeting the following objectives:

a. Minimize the area disturbed by construction and development;

b. Provide for containment of sediment until areas are stabilized;

c. Stabilize disturbed areas as soon as practical after project completion; and

d. Provide permanent erosion, drainage, and detention controls.

GENERAL DESIGN GUIDELINES

Erosion is a natural process where soil and rock are loosened and removed. Natural erosion normally occurs at a very slow pace, but when land is disturbed on a construction site, the erosion rate often increases dramatically. When erosion occurs on a construction site and runoff carries sediment off the site, there is often a negative impact on downstream drainage systems and water quality.

The purposes of erosion and sediment controls are to minimize the amount of erosion that occurs as a result of construction activity and to prevent the sediment that is produced from leaving the property. Effective erosion and sediment control requires that the soil surface be protected from the erosive forces of wind, rain, and runoff and that the eroded soil be captured and retained onsite. The following principles are effective when they are integrated into a system of control practices and management techniques to control erosion and prevent sedimentation offsite.

When designing sediment and erosion controls, it is necessary to determine whether there is sheet flow or concentrated flow of stormwater on the property. Sheet flow occurs on gently sloping land without defined drainage ways. The stormwater tends to disperse evenly across the property, although the drainage may be in one direction due to the overall slope of the property. Concentrated flow occurs on property where there are defined drainageways that may range from gentle swales to clearly defined waterways. It is possible to have a combination of sheet flow and concentrated flow on the same property.

Erosion Protection

Proper planning will help identify potential erosion problems, particularly highly susceptible areas, such as areas of concentrated flow. Removing the vegetative cover and altering the soil structure by clearing, grading, and compacting the surface increases an area's susceptibility to erosion. Scheduling can be a very effective means of reducing erosion. Schedule construction activities to minimize the exposed area and the duration of exposure. Apply stabilizing measures as soon as possible after the land is disturbed.

Plan and implement temporary or permanent vegetation, mulches, or other protective practices to correspond with construction activities. Protect channels from erosion forces by using protective linings and the appropriate channel design. Consider possible future repairs and maintenance of these practices in the design. In scheduling, take into account the season and the weather forecast.

Clearing existing vegetation reduces the surface roughness and infiltration rate and increases runoff velocities and volumes. This is particularly a concern in areas of concentrated flow. Use measures that break the slopes to reduce the problems associated with concentrated flow volumes and runoff velocities. Practical ways to reduce velocities include conveying stormwater runoff away from steep slopes to stabilized outlets, preserving natural vegetation where possible, and mulching and vegetating exposed areas immediately after construction.

Sediment Containment

Even with careful planning some erosion is unavoidable, and the resulting sediment must be trapped on the site. In areas where runoff occurs primarily as sheet flow, containment of sediment is relatively simple. In these areas, temporary containment devices may be sufficient. Where concentrations of flow occur, containment of sediment becomes more difficult as the rate and volume of flow increase. In these areas, more extensive or permanent control devices need to be provided. Areas of steep topography and cut or fill slopes need to be given special consideration. Due to the environmental sensitivity of streams, rivers, losing streams, sinkholes, and other karst topographic features, special consideration also needs to be given to these areas. Plan the location where sediment deposition will occur and maintain access for periodic removal of accumulated sediment. Protect low points below disturbed areas by building barriers to reduce sediment loss. Sediment traps and basins should be constructed before other land-disturbing activities.

Temporary Versus Permanent Controls

Temporary controls, such as silt fences, erosion control blankets, etc., are provided for the purpose of controlling erosion and containing sediment until construction is complete. Temporary controls are not needed after the area is stabilized.

Permanent controls consist of riprap, concrete trickle channels, detention basins, etc., which will remain in place through the life of the development. It is possible for the same structure to serve both a temporary and permanent purpose.

Maintenance

Inspection and maintenance are vital to the performance of erosion and sedimentation control measures. If not properly maintained, some practices may cause more damage than they prevent. Always evaluate the consequences of a measure failing when considering which control measure to use, since failure of a practice may be hazardous or damaging to both people and property. For example, a large sediment basin failure can have disastrous results, and low points in dikes can cause major gullies to form on a fill slope. It is essential to inspect all practices to determine that they are working properly and to ensure that problems are corrected as soon as they develop.

CATEGORY: Erosion Control

USE GROUP: Temporary

ISSUED: 10-1-2009

SCHEDULING (EC-1)

DEFINITION AND PURPOSE:

This BMP involves developing, for every project, a schedule that includes the sequencing of construction activities with the implementation of construction site BMPs, such as temporary soil stabilization (erosion control) and temporary sediment control measures. The purpose is to reduce the amount and duration of soil exposed to erosion by wind, rain, runoff and vehicle tracking, and to perform the construction activities and control practices in accordance with the planned schedule.

APPROPRIATE APPLICATIONS:

Construction sequencing shall be scheduled to minimize land disturbance for all projects at all times.

CONDITIONS FOR EFFECTIVE USE:

All land disturbing activities.

WHEN BMP IS TO BE INSTALLED:

Scheduling should take place during the planning stages of the project.

STANDARDS AND SPECIFICATIONS:

Developing a schedule and planning the project are the very first steps in an effective storm water program. The construction schedule shall be incorporated into the SWPPP. Develop the sequencing and timetable for the start and completion of each item such as site clearing and grubbing, grading, excavation, paving, pouring foundations, installing utilities, etc., to minimize the active construction area during the rainy season. Schedule major grading operations for the non-rainy season when practical. Try to incorporate phasing of the project into the schedule to reduce the amount of land disturbed at any one time. Incorporate staged seeding and re-vegetation of graded slopes as work progresses. Consider scheduling when establishing permanent and temporary vegetation (appropriate

planting time for specified vegetation can be found in sections EC-7, EC-8, and EC-9).

OPERATION AND MAINTENANCE PROCEDURES:

Verify that work is progressing in accordance with the schedule. If progress deviates, take corrective actions. Amend the schedule when changes are warranted. Remember that BMPs need to be installed prior to the start of construction.

SITE CONDITIONS FOR REMOVAL:

Schedule should be followed throughout the life of the project.

CATEGORY: Erosion Control

USE GROUP: Permanent

ISSUED: 10-1-2009

PRESERVATION OF EXISTING VEGETATION (EC-2)

DEFINITION AND PURPOSE:

Preservation of existing vegetation and topsoil is the identification and protection of desirable vegetation that provides erosion and sediment control benefits.

APPROPRIATE APPLICATIONS:

Preserve existing vegetation at areas on a site where no construction activity is planned or will occur at a later date.

CONDITIONS FOR EFFECTIVE USE:

Protection of existing vegetation requires planning, and may limit the area available for construction activities.

WHEN BMP IS TO BE INSTALLED:

Preservation of existing vegetation shall be provided prior to the commencement of clearing and grubbing operations or other soil-disturbing activities in areas identified on the plans to be preserved.

STANDARDS AND SPECIFICATIONS:

Minimize the disturbed areas by locating temporary roadways to avoid stands of trees and shrubs and to follow existing contours to reduce cutting and filling. Mark vegetated/natural resource areas to be preserved with temporary fencing that is at least 1 meter (3.2 ft.) tall. The fence post spacing and depth shall be adequate to completely support the fence in an upright position. Construction materials, equipment storage, and parking areas shall be located where they will not cause root compaction. Keep equipment away from trees to prevent trunk and root damage. Employees and subcontractors shall be instructed to honor protective devices. No heavy equipment, vehicular traffic, or storage piles of any construction materials shall be permitted within the drip line of any tree to be retained. Trenching shall be as far away from tree trunks as possible, usually outside of the tree drip line or canopy. The ends of damaged or cut roots shall be cut off smoothly.

OPERATION AND MAINTENANCE PROCEDURES:

During construction, limits of disturbance shall remain clearly marked at all times. If damage to protected trees occurs, the injured tree shall be attended to by an arborist.

SITE CONDITIONS FOR REMOVAL:

Temporary fencing shall be removed after final stabilization of the site has occurred.

CATEGORY: Erosion Control

USE GROUP: Temporary

ISSUED: 10-1-2009

DUST (WIND EROSION) CONTROL (EC-3)

DEFINITION AND PURPOSE:

Wind erosion control consists of applying water and/or other dust palliatives as necessary to prevent or alleviate erosion by the forces of wind. Dust control shall be applied at all sites. Alternatives to applying water or other dust palliatives include vegetative cover, wind barriers, minimization of soil disturbance, spray on adhesives, and chemical treatment.

APPROPRIATE APPLICATIONS:

This practice is implemented on all exposed soils subject to wind erosion.

CONDITIONS FOR EFFECTIVE USE:

Effectiveness depends on soil, temperature, humidity and wind velocity.

WHEN BMP IS TO BE INSTALLED:

Routinely, especially in advance of and during periods of dry weather.

STANDARDS AND SPECIFICATIONS:

Water shall be applied by means of pressure-type distributors or pipelines equipped with a spray system or hoses and nozzles that will ensure even distribution. Phase work to the extent practical to minimize concurrent areas of soil disturbance. For areas not subjected to traffic, vegetation provides the most practical method of dust control and should be established as early as possible. Wind barriers such as solid board fences, snow fences, burlap fences, crate walls, and similar materials can be used to control air currents and blowing soil. Barriers placed at right angles to prevailing wind currents at intervals of about 10 times their height are effective in controlling soil blowing. Paved areas that have soil on them from construction sites should be cleaned continuously, at least daily, utilizing a street sweeper or bucket type endloader or scraper. Mulching offers a fast and effective means of controlling dust when properly applied. Binders and tackifiers should be used on organic mulches. NOTE: If calcium chloride or spray-on adhesives are used for dust control, a permit may be required from MoDNR.

OPERATION AND MAINTENANCE PROCEDURES:

Check areas that have been protected to ensure coverage.

SITE CONDITIONS FOR REMOVAL:

Dust control should be implemented while soils are exposed at the project.

CATEGORY: Erosion Control

USE GROUP: Temporary

ISSUED: 10-1-2009

HYDRAULIC MULCH-BONDED FIBER MATRIX (EC-4)

DEFINITION AND PURPOSE:

Hydraulic mulch consists of applying a mixture of shredded wood fiber or a hydraulic bonded fiber matrix (BFM) and a stabilizing emulsion or tackifier with hydroseeding equipment, which temporarily protects exposed soil from erosion by raindrop impact or wind. BFMs adhere directly to the soil, eliminating gaps between the product and the soil. A water-insensitive crust does not form, therefore plant growth is not inhibited. Mulch and BFMs biodegrade completely into material known to be beneficial to plant growth.

APPROPRIATE APPLICATIONS:

Hydraulic mulch and BFMs are applied to disturbed areas requiring temporary protection until permanent vegetation is established or disturbed areas that must be re-disturbed following an extended period of inactivity.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow:              Sheet flow only.

Wood fiber hydraulic mulches and BFMs are generally short-lived (only last part of a growing season) and need 24 hours to dry before rainfall occurs to be effective.

WHEN BMP IS TO BE INSTALLED:

Immediately after completion of a phase of grading.

STANDARDS AND SPECIFICATIONS:

Follow manufacturer’s recommendations to maximize usefulness. Avoid mulch over-spray onto the traveled way, sidewalks, lined drainage channels, and existing vegetation. Materials for wood fiber-based hydraulic mulches and bonded fiber matrices shall meet environmental quality standards and not be a detriment to stormwater discharges from the site.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event until vegetation is fully established. Repair eroded areas and reapply product and vegetation.

SITE CONDITIONS FOR REMOVAL:

Typically left in place to degrade naturally.

CATEGORY: Erosion Control

USE GROUP: Temporary or Permanent

ISSUED: 10-1-2009

MULCHING (EC-5)

DEFINITION AND PURPOSE:

A layer of organic material designed to protect exposed soil or freshly seeded areas from erosion by eliminating direct impact of precipitation and slowing overland flows. Mulch materials may include, but are not limited to, such things as grass, hay, straw, wood chips, wood fibers, and shredded bark.

APPROPRIATE APPLICATIONS:

Typically used for soil stabilization as a temporary surface cover on disturbed areas until soils can be prepared for re-vegetation and permanent vegetation is established. Installed in landscape areas for permanent use.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow:            Sheet flow only

The use of appropriate mulch will help ensure the vegetation is established under normal conditions and is essential to seeding success under harsh site conditions. General mulch recommendations to protect disturbed soils from raindrop splash and sheet flow include: straw applied at 2-2.5 tons/acre, wood fiber or wood cellulose applied at 0.5-1 ton/acre, wood chips applied at 5-6 tons/acre, and bark applied at 35 yd3/acre. Where slopes are 33 percent (3:1) or greater grade, hydraulic mulch-bonded fiber matrix (EC-4), erosion control blankets (EC-10), or turf reinforcement mats (EC-11) are required.

WHEN BMP IS TO BE INSTALLED:

Immediately after grading landscaped areas or seeding other areas.

STANDARDS AND SPECIFICATIONS:

Install upstream BMPs to protect area to be mulched. Rough grade area and remove all debris larger than 1 inch if area is to be vegetated and mowed in the future, larger than 2 inches if area is to be permanently mulched. If area is to be seeded, follow requirements of Seeding (EC-7). Spread mulch evenly and anchor by punching it into the ground, using netting, or tacking with liquid binder.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event until adequate vegetation is established; annually for permanent mulch. Protect from vehicular and foot traffic. Repair damaged, degraded or eroded areas-reseed as needed and replace mulch.

SITE CONDITIONS FOR REMOVAL:

Temporary mulch should be removed when adequate vegetation is established.

CATEGORY: Erosion Control

USE GROUP: Temporary

ISSUED: 10-1-2009

SOIL BINDERS (EC-6)

S O I L B I N D E R S EC‐6

DEFINITION AND PURPOSE:

Soil binders consist of applying and maintaining a soil stabilizer to exposed soil surfaces. Soil binders are material applied to the soil surface to temporarily prevent water-induced erosion of exposed soils on construction sites. Examples of materials used include: vegetable-based adhesives, copolymers, petroleum oils, and resin-emulsions. Soil binders also provide temporary dust, wind, and soil stabilization (erosion control) benefits. The useful life of most products is 3 to 6 months.

APPROPRIATE APPLICATIONS:

Soil binders are typically applied to disturbed areas requiring short-term temporary protection and in combination with other BMPs such as perimeter controls, seeding, and mulching. Because soil binders can often be incorporated into the work, they may be a good choice for areas where grading activities will soon resume. Application can occur on stockpiles to prevent water and wind erosion.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow:              Sheet flow only

Consider drying time for the selected soil binder and apply with sufficient time before anticipated rainfall. Soil binders shall not be applied during or immediately before rainfall. May not cure if low temperatures occur within 24 hours of application.

WHEN BMP IS TO BE INSTALLED:

Immediately after completion of a phase of grading.

STANDARDS AND SPECIFICATIONS:

Follow manufacturer’s recommendations for application rates, pre-wetting of application area, and cleaning of equipment after use. Use the recommendations to maximize usefulness and avoid formation of pools or impervious areas where stormwater cannot infiltrate.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after ½” storm event for damage from vehicles, runoff, or freeze-thaw conditions. Reapply product or utilize additional BMP.

SITE CONDITIONS FOR REMOVAL:

Typically left in place to degrade naturally.

CATEGORY: Erosion Control

USE GROUP: Temporary or Permanent

ISSUED: 10-1-2009

SEEDING (EC-7)

DEFINITION AND PURPOSE:

Establishment of vegetation by spreading grass seed designed to protect exposed soil from erosion by eliminating direct impact of precipitation and slowing overland flow rates. Once established, the vegetative cover will also filter pollutants from the runoff.

APPROPRIATE APPLICATIONS:

Exposed soil after a phase of rough or finish grading has been completed, or areas where no activity will occur for 14 days.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and concentrated flow (additional stabilization is necessary).

Minimum Rates: See attached chart.

Acceptable Dates: See attached chart.

WHEN BMP IS TO BE INSTALLED:

Immediately after rough or finished grading is completed.

STANDARDS AND SPECIFICATIONS:

Install upstream BMPs to protect area to be seeded. Complete grading and remove all debris larger than 1 inch. Loosen compacted soils to a depth of 4 inches. Groove or furrow on the contour if necessary. Spread loose topsoil at a depth of 4 inches. Mix soil amendments (lime, fertilizer, etc.) into the top 4 inches of soil. Plant seed ¼ to ½ inches deep using a cyclone seeder, drill, cultipacker seeder, or hydroseeder. Roll lightly to firm surface. Cover seeded area with mulch. Install additional stabilization (erosion control blankets, netting, bonded fiber matrix, etc.) on slopes steeper than 3:1 and in areas of concentrated flow. Water immediately-enough to soak 4 inches into the soil without causing runoff.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect at least every two weeks and after every storm. Protect seeded areas from vehicular and foot traffic. Reseed and mulch areas that have not sprouted within 21 days of planting. Repair damaged or eroded areas and reseed/mulch and stabilize as needed. Do not mow until 4 inches of growth occurs. During the first 4 months, mow no more than 1/3 the grass height. Seeded areas should be maintained for one year following permanent seeding to ensure a healthy lawn.

SITE CONDITIONS FOR REMOVAL:

Does not require removal, temporary vegetation may be removed prior to work returning to an area.

TYPICAL DETAILS: See attached “Vegetation Requirements Chart.”

VEGETATION REQUIREMENTS CHART

CATEGORY: Erosion Control

USE GROUP: Temporary or Permanent

ISSUED: 10-1-2009

HYDROSEEDING (EC-8)

DEFINITION AND PURPOSE:

Hydroseeding typically consists of applying a mixture of seed, wood fiber, fertilizer, and stabilizing emulsion with hydro-mulch equipment, which temporarily protects exposed soils from erosion by water and wind.

APPROPRIATE APPLICATIONS:

Hydroseeding is applied on disturbed soil areas requiring temporary protection until permanent vegetation is established or disturbed soil areas that must be re-disturbed following an extended period of inactivity.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow:       Sheet flow only.

Hydroseeding may be used alone only when there is sufficient time in the season to ensure adequate vegetation establishment and erosion control. Otherwise, hydroseeding must be used in conjuction with a soil binder or mulching.

WHEN BMP IS TO BE INSTALLED:

Immediately after completion of a phase of grading.

STANDARDS AND SPECIFICATIONS:

To select appropriate hydroseeding mixtures, an evaluation of site conditions shall be performed with respect to: soil conditions, site topography, season and climate, vegetation types, maintenance requirements, sensitive adjacent areas, water availability, and plans for permanent vegetation. Hydroseeding can be accomplished using a multiple-step or one-step process. The multiple-step process ensures maximum direct contact of the seeds to soil. When the one-step process is used to apply the mixture of seed, fiber, etc., the seed rate shall be increased to compensate for all seeds not having direct contact with the soil. Follow-up applications shall be made as needed to cover weak spots.

OPERATION AND MAINTENANCE PROCEDURES:

All seeded areas shall be inspected for failures and re-seeded, fertilized, and mulched within the planting season, using not less than half the original application rates. After any rainfall event, the Permittee is responsible for maintaining all slopes to prevent erosion.

SITE CONDITIONS FOR REMOVAL:

Typically left in place to degrade naturally.

CATEGORY: Erosion Control

USE GROUP: Permanent

ISSUED: 10-1-2009

SODDING (EC-9)

DEFINITION AND PURPOSE:

A ¾ inch to 1 inch mat of vigorous turf, free from disease, insects and weeds. Sod prevents raindrops from disrupting the soil structure and causing erosion. Sod slows water runoff and acts as a filter when sediment laden runoff crosses over the sodded area.

APPROPRIATE APPLICATIONS:

Typically installed in areas requiring immediate erosion protection, such as swales or detention ponds and as filter strips, around inlets, and adjacent to curbs. Also installed in areas requiring immediate aesthetic appearance or function such as entrances to new subdivisions and off site construction areas.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and low concentrated flows with velocities less than 5 fps.

WHEN BMP IS TO BE INSTALLED:

Immediately after finish grading, installation of area inlets, and installation of underground services and foundations of new homes.

STANDARDS AND SPECIFICATIONS:

Rough grade area and remove all debris larger than 1 inch in diameter and concentrated areas of smaller debris. Soil preparation of area to be sodded shall be determined by tests to determine lime and fertilizer requirements. Level and roll soil lightly to provide an even grade and firm the surface. Soil should not be excessively wet or dry. Lay first row of sod perpendicular to the slope or direction of flow. Butt subsequent rows tight against previous rows with strips staggered in brick-like pattern. Fill minor gaps with good soil and roll entire surface to ensure contact. Stake, staple and/or net corners and centers of sod strips as required, especially areas of concentrated flow. Water immediately after installation, enough to soak 4 inches into the soil without causing runoff.

OPERATION AND MAINTENANCE PROCEDURES:

Water sod daily for 3 weeks, enough to soak 4 inches into the soil without causing runoff. Reposition areas of sod that have moved along the slope. Remove sediment accumulations, replace sod if necessary. Repair any eroded areas, replace sod, and stabilize as needed. Do not mow until 3 inches of new growth occurs. During the first 4 months, mow no more than 1/3 the grass height.

SITE CONDITIONS FOR REMOVAL:

Typically left in place to grow.

CATEGORY: Erosion Control

USE GROUP: Temporary or Permanent

ISSUED: 10-1-2009

EROSION CONTROL BLANKETS (EC-10)

DEFINITION AND PURPOSE:

An erosion control blanket is a preformed protective blanket of plastic fibers, straw or other plant residue designed to protect soil from the impact of precipitation and overland flow, and retain moisture to facilitate establishment of vegetation. Erosion control blankets are sometimes referred to as Rolled Erosion Control Products (RECPs).

APPROPRIATE APPLICATIONS:

Typically installed on seeded areas for temporary use, and in landscaped areas for permanent use.

CONDITIONS FOR EFFECTIVE USE:

Several factors, such as soil conditions, steepness and length of slope, depth of flow, runoff velocities, and time required to establish desired vegetation influence the choice of product. Manufacturer’s recommendations should be followed. Products are available for a variety of uses: Netting-synthetic or natural fiber mesh installed over disturbed areas to hold organic mulch and/or seed in place, biodegradable erosion control blanket-natural fiber blanket held together by netting to provide temporary erosion protection on slopes and channels, and permanent erosion control blanket-synthetic blanket material which provides permanent erosion control on slopes and channels with increased water flow velocities.

WHEN BMP IS TO BE INSTALLED:

Dependent upon intended use-immediately after completion of a phase of grading, or installation of vegetation.

STANDARDS AND SPECIFICATIONS:

Follow manufacturer’s recommendations and specifications, particularly noting requirements for check slots, fastening devices (staples), and need for firm contact with soil.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect at least every week and after every storm until adequate vegetation is established. Repair erosion and/or undermining at top of slope. Repair undermining beneath blankets-pull back the blanket(s), fill compact eroded area, revegetate and then firmly secure the blanket(s). Reposition or replace blanket(s) that have moved along the slope or have been damaged.

SITE CONDITIONS FOR REMOVAL:

Temporary blankets will generally degrade naturally; permanent blankets remain in place.

CATEGORY: Erosion Control

USE GROUP: Permanent

ISSUED: 10-1-2009

TURF REINFORCEMENT MAT (EC-11)

DEFINITION AND PURPOSE:

A turf reinforcement mat (TRM) is a 3-dimensional permanent synthetic mat that provides a matrix to greatly reinforce the root system of the desired vegetation for permanent erosion protection in high flow channels and on critical slopes. May provide erosion protection equivalent to stone or concrete liners.

APPROPRIATE APPLICATIONS:

Typically installed on seeded areas for permanent use. May be used on steep slopes or grass-lined channels with increased water flow velocities and increased shear stress.

CONDITIONS FOR EFFECTIVE USE:

Several factors, such as soil conditions, steepness and length of slope, depth of flow, runoff velocities, and time required to establish desired vegetation, influence the choice of product. Manufacturer’s recommendations should be followed.

WHEN BMP IS TO BE INSTALLED:

Dependent on intended use-immediately after completion of a phase of grading, or seeding of vegetation.

STANDARDS AND SPECIFICATIONS:

Follow manufacturer’s recommendations and specifications, particularly noting requirements for check slots, edge entrenchment, fastening devices (staples), and the need for firm contact with the soil.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event until adequate vegetation is established. Repair erosion and/or undermining at the top of the slope. Repair undermining beneath mats-pull back the mat(s), fill and compact eroded area, revegetate and then secure mat(s) firmly. Reposition or replace mats that have moved along the slope or channel and secure firmly. Replace damaged mats.

SITE CONDITIONS FOR REMOVAL:

Typically turf reinforcement mats are permanently left in place.

CATEGORY: Erosion Control

USE GROUP: Temporary

ISSUED: 10-1-2009

GEOTEXTILES AND PLASTIC COVERS (EC-12)

DEFINITION AND PURPOSE:

This BMP involves the placement of geotextiles or plastic covers to stabilize disturbed soil areas and protect soils from erosion by wind or water.

APPROPRIATE APPLICATIONS:

Limited applications include very small graded areas, stockpiles, and temporary channel linings.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow:    Sheet and concentrated flows.

Geotextiles and plastic covers have maximum flow rate limitations; consult the manufacturer for proper selection. The use of plastic covers shall be limited to covering stockpiles, or very small graded areas for short periods of time. The use of plastics and impermeable geotextiles may result in 100% runoff, which may cause serious erosion problems in the areas receiving the increased velocities and flow-Use With Caution. Plastic sheeting is easily vandalized, easily torn, and photodegradable.

WHEN BMP IS TO BE INSTALLED:

Dependent upon intended use-immediately after completion of a phase of grading.

STANDARDS AND SPECIFICATIONS:

Geotextile blankets shall be secured in place with wire staples or sandbags and by keying into tops of slopes and edges to prevent infiltration of surface water under the geotextile. Plastic sheeting shall be keyed in at the top of the slope and firmly held in place with sandbags or other weights placed no more than 10 feet apart. Seams are typically taped or weighted down their entire length. Anchoring the sheeting is crucial in keep the sheeting from becoming a very large kite in windy weather.

OPERATION AND MAINTENANCE PROCEDURES:

All geotextile and plastic sheeting shall be inspected on a weekly basis and after ½” storms to check for erosion, undermining, and anchorage failure. Any failures shall be repaired immediately. If washout or breakages occur, the material shall be re-installed after repairing the damage to the slope.

SITE CONDITIONS FOR REMOVAL:

Upon establishment of other temporary stabilizations or after permanent stabilization has occurred.

CATEGORY: Erosion Control

USE GROUP: Temporary or Permanent

ISSUED: 10-1-2009

OUTLETS/VELOCITY DISSIPATION DEVICES (EC-13)

DEFINITION AND PURPOSE:

These devices are placed at pipe outlets to prevent scour and reduce the velocity and/or energy of storm water flows. These devices protect the receiving area from erosion.

APPROPRIATE APPLICATIONS:

These devices may be used at the following locations: outlets of pipes, drains, culverts, slope drains, diversion ditches, swales, conduits or channels, outlets located at the bottom of mild to steep slopes, discharge outlets that carry continuous flows of water, outlets subject to short, intense flows of water, such as flash floods, points where lined conveyances to unlined conveyances, and at emergency overflows or outlet pipes of a sediment basin.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow:     Concentrated flow

WHEN BMP IS TO BE INSTALLED:

With the construction of the upstream BMP that creates the concentrated discharge.

STANDARDS AND SPECIFICATIONS:

Install riprap, grouted riprap, concrete apron, etc. at selected outlet. Riprap aprons are best suited for temporary use during construction. Carefully place riprap to avoid damaging the filter fabric. Align the apron with the receiving stream and keep straight throughout its length. If a curve is needed to fit site conditions, place it in the upper section of the apron. If the size of the apron riprap is comprised of large rocks, protect the underlying filter fabric with a gravel blanket.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event during construction. Remove sediment and trash accumulation. Inspect apron for displacement of the riprap and/or damage to the underlying fabric. Repair fabric and replace riprap that has washed away-larger rock may be required. Inspect for scour beneath the riprap and around the outlet. Repair damage to slopes immediately-extend pad if necessary.

SITE CONDITIONS FOR REMOVAL:

Temporary devices need to be completely removed as soon as the surrounding drainage area has been stabilized, or at the completion of construction.

CATEGORY: Erosion Control

USE GROUP: Permanent

ISSUED: 10-1-2009

STREAMBANK STABILIZATION (EC-14)

DEFINITION AND PURPOSE:

A vegetative, structural or combination treatment of streams designed to stabilize the stream and reduce erosion. It is important to note that a systemic analysis of the entire reach of stream must be conducted in order to avoid unintended negative impacts on a stream as a result of a corrective action at an isolated location. A wide array of products and methodologies can be used to stabilize streams: live stakes, cellular confinement matrices, articulated block pavers, riprap, gabion baskets, turf reinforcement mats, revetments, large woody debris, grade controlling structures, stilling basins, etc.

APPROPRIATE APPLICATIONS:

All construction projects that disturb or occur within stream channels and their associated riparian areas.

CONDITIONS FOR EFFECTIVE USE:

Acceptable methods vary widely due to the unique nature of each reach of channel. Design considerations include: current and future watershed conditions, discharge, velocity, sediment load, channel slope, control of bottom scour (incising), soil conditions, compatibility with other improvements, changes in channel alignment, and protection and maintenance of fish and wildlife habitats and existing tree canopy. U.S. Army Corps of Engineers permits may be applicable.

WHEN BMP IS TO BE INSTALLED:

After streambank(s) have been disturbed.

STANDARDS AND SPECIFICATIONS:

Procedures are specific to materials used. Generally, stabilize the channel bottom first to prevent incising and knick points from undermining the bank protection. Start and stop bank protection at stable points along the channel. Minimize the size of all disturbed areas and stabilize as soon as each phase of construction is complete. Use other BMPs to prevent runoff from disturbing the streambank protection area until it has been completed. Store all construction materials well away from the stream. At the end

of each workday, move all construction equipment out of and away from the stream to prevent flooding. Avoid steep slopes on the streambank.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event during construction. Repair, relocate, or add BMPs protecting channel until the streambank protection is operational. Remove sediment as needed.

SITE CONDITIONS FOR REMOVAL:

Not Applicable

CATEGORY: Erosion Control

USE GROUP: Temporary

ISSUED: 10-1-2009

TEMPORARY STREAM CROSSING (EC-15)

DEFINITION AND PURPOSE:

A temporary stream crossing is a structure placed across a waterway that allows vehicles to cross the waterway during construction, minimizing, reducing, or managing erosion and downstream sedimentation caused by the vehicles. Use of temporary stream crossings is discouraged-crossings are a direct source of pollution and should be avoided if alternatives are feasible.

APPROPRIATE APPLICATIONS:

Temporary stream crossings are installed at sites: where appropriate permits have been secured, where construction equipment or vehicles need to frequently cross a waterway, when alternate access routes impose significant constraints, and where construction activities will be less than 1 year.

CONDITIONS FOR EFFECTIVE USE:

Design considerations include: current and proposed watershed conditions, average and peak discharge (2 year rainfall intensity event), effect on water surface elevation off-site, velocity, sediment removal, and protection of fish and trees. Criteria for a Low Water Crossing includes: light traffic, bank height less than 5 feet, and perpendicular to flow or with a slight upstream arc. Criteria for a culvert crossing includes: sized for 2 year rainfall intensity event with 1 foot freeboard and no flooding of offsite areas, pipe parallel to flow, embankment perpendicular to channel or with a slight upstream arc, riprap on exposed faces sized for overtopping during a peak storm period.

WHEN BMP IS TO BE INSTALLED:

During dry periods-installation may require dewatering or temporary diversion of the stream.

STANDARDS AND SPECIFICATIONS:

Procedures are specific to the type of crossing used. Generally, provide a stable means to bypass normal channel flow prior to disturbing channel, stabilize channel bottom, install culvert (if used), grade and compact access ramps and soil embankment, install fabric, stone, and riprap according to design.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event-checking for: blockage in channel, debris buildup, erosion of abutments, channel scour, riprap displacement, piping of soil, and structural weakening. Remove sediment and trash accumulation. Repair and stabilize eroded areas-extend riprap if necessary.

SITE CONDITIONS FOR REMOVAL: Remove as soon as alternative access is available. All foreign materials should be removed from creek. The streambed/banks should be returned to the original contour and stabilized if necessary.

CATEGORY: Runoff Management

USE GROUP: Temporary

ISSUED: 10-1-2009

CHECK DAMS (RM-1)

DEFINITION AND PURPOSE:

Check dams reduce scour and channel erosion by reducing flow velocity and encouraging sediment settlement. A check dam is a small device constructed of rock, gravel bags, sandbags, fiber rolls, or other proprietary product placed across a natural or man-made channel or drainage ditch. Not to be constructed from straw bales or silt fence.

APPROPRIATE APPLICATIONS:

Check dams can be placed at intervals along drainage swales or channels. The top of the downstream check dam should be level with the base of the upstream check dam. Check dams can also be used during the establishment of grass linings in drainage ditches or channels or in temporary ditches where the short length of service does not warrant establishment of erosion-resistant linings.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Moderate concentrated flow.

Contributing Area:  Maximum of 10 acres.

Not to be used in perennial streams.

WHEN BMP IS TO BE INSTALLED:

Before disturbing vegetation in contributing drainage area; right after construction of drainageway.

STANDARDS AND SPECIFICATIONS:

Check dams should be placed at a distance and height to allow small pools to form behind them. Install the first check dam approximately 5 meters (16 feet) from the outfall device and at regular intervals based on slope gradient and soil type. For multiple check dam installation, backwater from the downstream check dam should reach the toe of the upstream dam. High flows (typically a 2-year storm or larger) should safely flow over the check dam without an increase in upstream flooding.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Remove trash and leaf accumulation. Remove sediment when depth reaches one-half of the check dam height. Repair/restore dam structure, if necessary, to original configuration to protect the banks.

SITE CONDITIONS FOR REMOVAL:

Remove after contributing areas have been adequately stabilized and vegetation is adequately established in drainageway. Regrade and vegetate area of check dam.

CATEGORY: Runoff Management

USE GROUP: Temporary or Permanent

ISSUED: 10-1-2009

EARTH BERMS AND DRAINAGE SWALES (RM-2)

DEFINITION AND PURPOSE:

A compacted earth or gravel ridge, excavated channel or a combination of ridge and channel designed to direct runoff away from or around disturbed areas. Diversions built on a level contour are used in combination with temporary slope drains to provide adequate conveyance. Diversions built with positive drainage slopes release runoff into additional BMPs, such as sediment traps or level spreaders.

APPROPRIATE APPLICATIONS:

These features may be used to: convey surface runoff down sloping land, intercept and divert runoff to avoid sheet flow over sloped surfaces, divert and direct runoff towards a stabilized watercourse, drainage pipe or channel, and intercept runoff from paved surfaces. Berms, swales, and lined ditches also may be used: below steep grades where runoff begins to concentrate, along roadways and facility improvements subject to flood drainage, at the top of slopes to divert run-on from adjacent or undisturbed slopes. Also, at bottom and mid-slope locations to intercept sheet flow and convey concentrated flows.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and low-volume concentrated flows.

Contributing Area: Contributing slope length-300 feet maximum.

WHEN BMP IS TO BE INSTALLED:

Prior to disturbance of natural vegetation on slopes and at intervals during construction of fill slopes.

STANDARDS AND SPECIFICATIONS:

Care must be applied to correctly size and locate berms, swales, and ditches. Excessively steep, unlined berms and swales are subject to gully erosion. Grade and compact channel and/or ridge. Conveyances should be stabilized with vegetation or a protective lining. Provide stabilized outfall areas. Other BMPs, such as check dams and erosion control blankets, may be necessary to prevent scour and erosion.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Inspect channel linings, embankments, and beds of ditches and berms for erosion and accumulation of debris and sediment. Remove debris and sediment, repair linings and embankments as needed-replace riprap, linings or soil stabilizers as needed.

SITE CONDITIONS FOR REMOVAL: Temporary diversions should be removed as soon as the surrounding drainage area has been stabilized.

CATEGORY: Runoff Management

USE GROUP: Temporary

ISSUED: 10-1-2009

WATER DIVERSIONS (RM-3)

DEFINITION AND PURPOSE:

Water diversions consist of a system of structures and measures that intercept clear surface water runoff upstream of a project site, transport it around the work area, and discharge it downstream with minimal water quality degradation for either the project construction operations or the construction of the diversion.

APPROPRIATE APPLICATIONS:

A water diversion is typically implemented where appropriate permits have been secured and work must be performed in a live stream or water body. Water diversions are appropriate for isolating construction activities occurring within or near a water body such as streambank stabilization, or culvert, bridge, pier or abutment installation. They also may be used in combination with other methods, such as water bypasses and/or pumps. Pumped diversions are suitable for intermittent and low flow streams. Excavation of a temporary bypass channel, or passing the flow through a pipe is appropriate for the diversion of streams less than 20 feet wide, with flow rates less than 99 cubic feet/second.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Concentrated flow.

Capacity of Device: Sized for 2 year rainfall intensity event.

WHEN BMP IS TO BE INSTALLED:

Prior to work being done in or adjacent to a water body.

STANDARDS AND SPECIFICATIONS:

Site conditions will dictate the design. Generally, excavate diversion area except for area of upstream connection. Install pipe bedding or channel lining as required. Install pipe and backfill to required dimensions. Install additional BMPs as designed-both in the diversion and downstream. Make the final connection to upstream storm sewer system.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Remove debris and sediment. Repair eroded areas and stabilize-a wider channel, bigger pipe, or additional stabilization may need to be designed.

SITE CONDITIONS FOR REMOVAL:

Remove the water diversion when work in or adjacent to the water body has ceased.

CATEGORY: Runoff Management

USE GROUP: Permanent

ISSUED: 10-1-2009

T E R RA C I N G RM‐4

TERRACING (RM-4)

DEFINITION AND PURPOSE:

Terracing involves defined swales constructed at regular intervals along the face of a slope designed to reduce erosion by capturing surface runoff and directing it to an adequate, stable outlet. Due to the steep slopes needed to create the terrace, swales may only be created by construction of earth ridges/berms.

APPROPRIATE APPLICATIONS:

Typically installed on long steep slopes on which erosion is a concern. Terraces should not be constructed in sandy or rocky soil.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow.

Slope Characteristics: Maximum of 3:1 slope.

Contributing Slope Length: Maximum of 30 feet for slopes steeper than 4:1; maximum for 50 feet for 4:1 and flatter.

WHEN BMP IS TO BE INSTALLED:

Installed as fill/grade is constructed. On existing slopes, terraces should be graded prior to removal of all vegetation.

STANDARDS AND SPECIFICATIONS:

Grade terraces as required by the design. Construct the stable outfall as designed. Vegetate the slope and terraces.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event during construction. Remove sediment accumulations along terraces. Repair settled and eroded areas. Remove sediment and stabilize eroded areas at outlet. Re-vegetate as needed.

SITE CONDITIONS FOR REMOVAL:

Not Applicable

CATEGORY: Runoff Management

USE GROUP: Permanent or Temporary

ISSUED: 10-1-2009

GRASS LINED CHANNEL (RM-5)

DEFINITION AND PURPOSE:

A grass-lined channel conveys runoff through a stable trapezoidal or parabolic stormwater conveyance channel. Vegetation lining the channel slows down concentrated runoff. Because grassed channels are not usually designed to control peak runoff loads by themselves, they are often used with other BMPs, such as subsurface drains and riprap stabilization.

APPROPRIATE APPLICATIONS:

Site grass-lined channels in accordance with the natural drainage system. They should not cross ridges. The channel design should not have sharp curves or significant changes in slope. The channel should not receive direct sedimentation from disturbed areas and should be sited only on the perimeter of a construction site to convey relatively clean stormwater runoff. To reduce sediment loads, separate channels from disturbed areas by using a vegetated buffer or another BMP.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Concentrated flow.

WHEN BMP IS TO BE INSTALLED:

Immediately after clearing, prior to upstream grading activities.

STANDARDS AND SPECIFICATIONS:

Excavate and shape channel to required design. Install subsurface drain, if needed. Install erosion resistant lining, such as rip-rap or sod, at concentrated inflow points. Prepare and fertilize the soil. Install sod or seed with protection (erosion control blankets or turf reinforcement mats), or hydroseeding. Sod should be perpendicular to flow, with a brick-like joint pattern. Stake, staple and/or net corners and center of sod strips as required. Water sod/seed immediately after installation.

OPERATION AND MAINTENANCE PROCEDURES:

Water sod/seed daily for three weeks-enough to soak 4 inches into the soil without causing runoff. Inspect every week and after every ½” storm event. Remove any debris from channel, channel outlet or road crossings. Reposition areas of sod that have moved. Remove any sediment accumulation in the bottom of the channel. Repair any eroded areas, revegetate, and stabilize as needed.

SITE CONDITIONS FOR REMOVAL:

Temporary channels can be removed after the permanent storm sewer system is operational.

CATEGORY: Runoff Management

USE GROUP: Temporary

ISSUED: 10-1-2009

SLOPE DRAINS (RM-6)

DEFINITION AND PURPOSE:

A slope drain is a flexible/rigid pipe or lined channel/swale which extends from the top to the bottom of a cut or fill slope. These structures are designed to protect exposed slopes from upstream runoff and can be used with other BMPs to intercept and direct surface flow away from disturbed slope areas. Slope drains typically extend beyond the toe of the slope to a stable area or outlet.

APPROPRIATE APPLICATIONS:

Slope drains may be used on construction sites where slopes may be eroded by surface runoff.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and concentrated flow.

Contributing Area: Maximum of 5 acres per slope drain; pipe sized for 2 year rainfall intensity event.

WHEN BMP IS TO BE INSTALLED:

Concurrently with diversion devices as soon as cut and fill operations have occurred.

STANDARDS AND SPECIFICATIONS:

Slope drains must be installed and maintained properly because failure will usually result in severe erosion of the slope. Other points of concern are failure from overtopping due to inadequate pipe inlet capacity or blockage, and lack of maintenance of the upstream diversion device capacity. Generally install slope drain down the slope-perpendicular to slope contours, extending beyond the toe of slope. Install flared end or t-section at pipe inlet. Section should be well entrenched and stable so water can enter freely. Compact fill over and around pipe in area of diversion device. Ensure that all pipe connections are secure and watertight. Securely anchor the exposed section of the drain with stakes.

Install flared end section at pipe outlet-discharge into a sediment trap or other stabilized outlet. Protect area around inlet with filter fabric. Protect outlet with riprap or other energy dissipation device.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect at every week and after every ½” storm event during construction. Remove sediment and trash accumulation at inlet. Repair settlement, cracking, or piping holes. Repair leaks or inadequate anchoring along pipe. Remove sediment and stabilize eroded areas at outlet-extend if necessary.

SITE CONDITIONS FOR REMOVAL: Remove concurrently with upstream diversion device after slope has been stabilized. Stabilize the exposed areas where the slope drain and diversion device were removed.

CATEGORY: Runoff Management

USE GROUP: Temporary

ISSUED: 10-1-2009

GRAVEL BAGS (RM-7)

DEFINITION AND PURPOSE:

Open mesh nylon or burlap bags of gravel designed to pond water and cause sediment to settle out. Gravel bags can be used alone or as a part of other BMPs. A gravel bag berm consists of a single row of gravel bags that are installed end to end to form a barrier across a slope to intercept runoff, reduce its flow velocity, release the runoff as sheet flow and provide some sediment removal.

APPROPRIATE APPLICATIONS:

Gravel bags may be implemented on a project-by-project basis with other BMPs when determined necessary and feasible. Generally, gravel bags can be used: along streams and channels, below the toe of exposed and erodible slopes, around stockpiles, across channels to serve as a barrier for utility trenches, parallel to roadways, in water diversions, as perimeter protection, as inlet protection, to create a temporary sediment basin, at grade breaks of exposed and erodible slopes to shorten slope lengths, or when site conditions require adjustments or relocation of a barrier.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and concentrated flow.

WHEN BMP IS TO BE INSTALLED:

Dependent upon function it is designed to perform.

STANDARDS AND SPECIFICATIONS:

Fill bags approximately 2/3 full with gravel. When used as a linear control for sediment removal: install along a level contour and turn ends of gravel bag row up slope (j-hook style) to prevent flow around the ends. When used for concentrated flows: stack gravel bags to required height using a pyramid approach, the upper rows of gravel bags should overlap joints in lower rows. Construct gravel bag barriers with a set-back of at least 3 feet from the toe of a slope to allow for cleaning out of accumulated sediment.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event during construction. Replace and stabilize any damaged bags or bags that have moved out of place. Repair washouts or other damages as needed. Inspect gravel bags for sediment accumulations and remove sediment when accumulation reaches ½ the height of the structure.

SITE CONDITIONS FOR REMOVAL:

Completion of upstream/upslope work and vegetation/stabilization of contributing runoff areas.

CATEGORY: Runoff Management

USE GROUP: Temporary

ISSUED: 10-1-2009

LEVEL SPREADERS (RM-8)

DEFINITION AND PURPOSE:

A level, graded area designed to slow and spread concentrated runoff and release it as sheet flow to a stabilized area. The level spreader outfall can be stabilized by vegetation, erosion control blankets or a combination of wood timber and gravel. Undisturbed vegetated areas with a minimal slope at the outfall may not require additional stabilization. Level spreaders can also be in the form of a perforated pipe laid parallel to the contour of the slope, then concentrated runoff is diverted into the perforated pipe and finally released as sheet flow through the perforated holes.

APPROPRIATE APPLICATIONS:

At the downstream end of diversion devices and the upstream end of filter strips.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and concentrated flow.

Contributing Area: Flow from 2 year rainfall intensity event-under 5 cfs for vegetated lip, and up to 30 cfs for rigid lip.

WHEN BMP IS TO BE INSTALLED:

Immediately after rough grading and concurrent with diversion devices prior to completion of filter strips downstream.

STANDARDS AND SPECIFICATIONS:

Excavate to length, width, depth and slopes according to plan. For a rigid lip, excavate and stabilize a level area for timber and gravel. Fill remaining excavated area behind timber with gravel. Seed and net, or “hydroseed”, the “channel” area of spreader. For vegetated lip, staple erosion control blanket to protect the lip. Stabilize outfall area as depicted on the plan. Install monitoring posts at each end and center of the spreader. Mark maximum allowable sediment depth at ½ the depth of the spreader.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Remove sediment accumulations once sediment reaches ½ design depth; as indicated on the monitoring posts. Repair and re-vegetate any erosion damage in spreader “channel” or downstream of the lip.

SITE CONDITIONS FOR REMOVAL:

Remove after upstream areas are stabilized with vegetation; subsequent to removal of diversion devices.

CATEGORY: Runoff Management

USE GROUP: Temporary

ISSUED: 10-1-2009

SOIL ROUGHENING (RM-9)

DEFINITION AND PURPOSE:

Soil roughening is a temporary erosion control practice often used in conjunction with grading. Soil roughening involves increasing the relief of a bare soil surface with horizontal grooves by either stair-stepping (running parallel to the contour of the land) or using construction equipment to track the surface. Slopes that are not fine-graded and left in a roughened condition can also reduce erosion. Soil roughening reduces runoff velocity, increases infiltration, reduces erosion, traps sediment, and prepares the soil for seeding and planting by giving seed an opportunity to take hold and grow.

APPROPRIATE APPLICATIONS:

Soil roughening is appropriate for all slopes but works especially well on: slopes greater than 4:1, on piles of excavated soil, and in areas with highly-erodible soils. This technique is especially appropriate for soils that are frequently disturbed because roughening is relatively easy.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow.

Contributing Area: Unlimited on slopes <10%, slopes >10% may require additional BMPs (such as a diversion channel, slope drain, fiber rolls/wattles, etc.).

WHEN BMP IS TO BE INSTALLED:

Immediately after rough grading and prior to seeding or mulching.

STANDARDS AND SPECIFICATIONS:

Depending on the type of slope and the available equipment, use different methods for roughening soil on a slope. These include stair-step grading, grooving, and tracking. When choosing a method, consider factors such as slope steepness, mowing requirements, whether the slope is formed by cutting or filling, and available equipment. Soil roughening is not appropriate for rocky slopes. Tracked machinery can excessively compact the soil, therefore light weight machinery should be considered.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect at least every week and immediately after every storm. Rework the slope and re-groove after sediment buildup is deeper than ½ the groove depth. Rework the slope and re-groove if rills have cut across the roughened surface.

SITE CONDITIONS FOR REMOVAL:

The slope should be reworked to the design grades immediately prior to final stabilization.

CATEGORY: Runoff Management

USE GROUP: Temporary or Permanent

ISSUED: 10-1-2009

FIBER ROLLS/WATTLES (RM-10)

DEFINITION AND PURPOSE:

Fiber rolls (also called “coir logs” or “straw wattles”) are tube-shaped erosion-control devices filled with straw, flax, rice, coconut fiber material, or composted material. Each roll is wrapped with UV-degradable polypropylene netting for or with 100 percent biodegradable materials like burlap, jute, or coir. These devices reduce the effects of long or steep slopes by breaking up the slope length.

APPROPRIATE APPLICATIONS:

Fiber rolls can be used in areas of low shear stress including; (1) along the toe, top, face, and at grade breaks consisting of exposed and erodible slopes to shorten slope length and spread runoff as sheet flow, (2) at the end of a downward slope where it transitions to a steeper slope, (3) along the perimeter of a project or stockpile, (4) as check dams in unlined ditches, and (5) downslope of exposed soil areas.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and concentrated flow.

WHEN BMP IS TO BE INSTALLED:

Immediately after rough grading; prior to seeding or mulching.

STANDARDS AND SPECIFICATIONS:

On slopes, install fiber rolls along the contour with a slight downward angle at the end of each row to prevent ponding at the midsection. Turn the ends of each fiber roll upslope (like a j-hook) to prevent runoff from flowing around the roll. Determine the vertical spacing for slope installations on the basis of the slope gradient and soil type. A good rule of thumb is: 1:1 slopes=10 feet apart, 2:1 slopes=20 feet apart, 3:1 slopes=30 feet apart, and 4:1 slopes=40 feet apart. Stake fiber rolls securely into the ground and orient them perpendicular to the slope. Fiber rolls can also be used on projects with minimal slopes.

Typically, the rolls are installed along sidewalks, on the bare lot side, to keep sediment from washing onto sidewalks and streets and into gutters and storm drains.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Remove sediment accumulation when it reaches ½ the height of the roll/wattle. Repair or replace split, torn, unraveled, or slumping fiber rolls.

SITE CONDITIONS FOR REMOVAL:

Fiber rolls are typically left in place on slopes. If they are removed after stabilization has been achieved, collect and dispose of the accumulated sediment.

CATEGORY: Runoff Management

USE GROUP: Temporary

I		SSUED: 10-1-2009

DEWATERING OPERATIONS (RM-11)

DEFINITION AND PURPOSE:

Dewatering operations are practices, such as dewatering bags, filter socks, and pump trucks, that manage the discharge of pollutants when non-stormwater and accumulated precipitation must be removed from a work location so that construction work may be accomplished. Water cannot be directly pumped into the City’s storm sewer system, streams, or lakes.

APPROPRIATE APPLICATIONS:

These practices are implemented for removing standing stormwater and non-stormwater from construction sites. Non-stormwaters include, but are not limited to, groundwater, water from cofferdams, water diversions, and waters used during construction activities that must be removed from a work area. Practices identified in this section are also appropriate for implementation when managing the removal of accumulated precipitation (stormwater) from depressed areas at a construction site.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Standing water.

WHEN BMP IS TO BE INSTALLED:

Prior to work being done in or adjacent to standing water.

STANDARDS AND SPECIFICATIONS:

Site conditions will dictate the design. A dewatering plan should be submitted as part of the SWPPP detailing the location of dewatering activities, equipment, and discharge point. Additional permits or permissions from other agencies may be required for some dewatering operations. Sediment control and other appropriate BMPs (e.g outlet protection/energy dissipation, sediment trap, weir tank, gravity bag filter, sand media particulate filter, pressurized bag filter, etc.) need to be employed when water is discharged. Dewatering discharges must not cause erosion at the discharge point.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect all BMPs associated with the dewatering, repair or replace to ensure the BMPs function as designed. Accumulated sediment removed during the maintenance of a dewatering device can be incorporated into the site. Accumulated sediment that is co-mingled with other pollutants must be disposed of in accordance with all applicable laws and regulations.

SITE CONDITIONS FOR REMOVAL:

Remove the dewatering operation when work in or adjacent to the standing water has ceased.

CATEGORY: Sediment Control

USE GROUP: Permanent

ISSUED: 10-1-2009

VEGETATED FILTER STRIP (SC-1)

DEFINITION AND PURPOSE:

Vegetated buffers are areas of natural or established vegetation maintained to protect the water quality of neighboring areas. Buffer zones slow stormwater runoff, provide an area where runoff can permeate the soil, contribute to ground water recharge, and filter sediment. Slowing runoff also helps to prevent soil erosion and streambank collapse.

APPROPRIATE APPLICATIONS:

Vegetated buffers can be used in any area able to support vegetation. They are most effective and beneficial on floodplains, near wetlands, along streambanks, and on unstable slopes. Filter strips can be used adjacent to low or medium density residential areas on gently sloping ground.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Overland sheet flow only-cannot treat high velocity flows.

WHEN BMP IS TO BE INSTALLED:

Immediately after rough grading to trap sediment during construction and/or immediately after final grading as a permanent measure to control surface runoff.

STANDARDS AND SPECIFICATIONS:

Determine buffer widths after carefully considering slope, vegetation, soils, depth to impermeable layers, runoff sediment characteristics, type and amount of pollutants, and annual rainfall. Make sure buffer widths increase as slope increases. In areas where flows are more concentrated and fast, combine buffer zones with other practices such as level spreaders, infiltration areas, or diversions to prevent erosion and rilling. Fence off any undisturbed vegetated strips to be preserved. No activity, including parking/storing vehicles or equipment, shall be permitted in the vegetated/woody strip. If a grass filter

strip is constructed, it must be completed and vegetated before construction in a contributing area is started.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Remove sediment accumulation as it becomes noticeable. Fill and compact eroded areas and reseed, mulch and fertilize or establish other vegetation in the affected areas. After improvements are complete, regrade and reseed the top edge of the filter strip to remove sediment trapped during construction and prolong the effective use of the filter strip.

SITE CONDITIONS FOR REMOVAL:

Not Applicable

CATEGORY: Sediment Control

USE GROUP: Temporary

ISSUED: 10-1-2009

SILT FENCE (SC-2)

DEFINITION AND PURPOSE:

A silt fence consists of a length of filter fabric stretched between anchoring posts spaced at regular intervals along the site at low/downslope areas. The filter fabric should be entrenched in the ground between the support posts. When installed correctly and inspected frequently, silt fences encourage the ponding of runoff and settling of sediment. Silt fence should not be placed perpendicular to a slope.

APPROPRIATE APPLICATIONS:

Installed along slopes, at bases of slopes, and around the perimeter of a site as a final barrier to sediment being carried off site. Silt fence should not be used in areas of concentrated flow or as check dams.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow only

Contributing Area: Drainage area should not exceed 0.25 acres per 100-foot fence length.

WHEN BMP IS TO BE INSTALLED:

Prior to disturbance of natural vegetation and at intervals during construction of fill slopes.

STANDARDS AND SPECIFICATIONS:

If a standard-strength fabric is used, it can be reinforced with wire mesh behind the filter fabric. This increases the effective life of the fence. The maximum life expectancy for synthetic fabric silt fences is about 6 months, depending on the amount of rainfall and runoff. The fence should be designed to withstand the runoff from a 10-year peak storm event. Generally, drive posts for fence line, dig trench to required dimensions in front of posts for fabric burial, attach wire mesh to posts (if necessary), attach fabric to posts-allowing required length below ground level to run fabric along bottom of trench, and

backfill and compact soil in trench to protect and anchor fabric. Alternate construction procedures include installing the fence by slicing it into the ground with specialized equipment.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Remove sediment buildup once it accumulates to 6 inches. Replace torn/clogged fabric; repair loose fabric. Repair unstable or broken posts. Stabilize any areas susceptible to undermining. Add additional fencing if necessary to provide adequate protection.

SITE CONDITIONS FOR REMOVAL: After permanent vegetation of slope is established. Remove fence, regrade trench area and vegetate.

CATEGORY: Sediment Control

USE GROUP: Temporary

ISSUED: 10-1-2009

COMPOST FILTER SOCKS (SC-3)

DEFINITION AND PURPOSE:

A compost filter sock is a type of contained compost filter berm. It is a mesh tube filled with composted material that is placed perpendicular to sheet-flow runoff to control erosion and retain sediment in disturbed areas.

APPROPRIATE APPLICATIONS:

Compost filter socks are generally placed along the perimeter of a site, or at intervals along a slope, to capture and treat stormwater that runs off as sheet flow. Filter socks can also be used on pavement as inlet protection for storm drains and as small check dams to slow water flow in ditches. Filter socks used for perimeter control are usually 12 inches in diameter, although 8 inch, 18 inch, and 24 inch– diameter socks are used in some applications.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and small concentrated flow

Contributing Area: Drainage area should not exceed 0.25 acres per 100-foot sock length.

WHEN BMP IS TO BE INSTALLED:

Prior to disturbance of natural vegetation and at intervals during construction of fill slopes.

STANDARDS AND SPECIFICATIONS:

The diameter of the filter sock used will vary depending upon the steepness and length of the slope. In areas of concentrated flow filter socks are sometimes placed in an inverted V going up the slope, to reduce the velocity of water running down the slope. The project engineer may also consider placing filter socks at the top and base of the slope or placing a series of filter socks every 15 to 25 feet along the vertical profile of the slope. Generally, the filter sock is filled, put in place, and anchored using stakes- no trenching is required. During installation, the ends of the sock should be directed upslope.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Remove sediment buildup deeper than ½ the height of the sock. Repair/replace unstable/broken posts and sections of sock. Stabilize any areas susceptible to undermining. Add additional socks if necessary to provide adequate protection.

SITE CONDITIONS FOR REMOVAL:

After permanent vegetation of slope is established. Remove socks, re-grade trench area and vegetate.

CATEGORY: Sediment Control

USE GROUP: Temporary or Permanent

ISSUED: 10-1-2009

COMPOST FILTER BERMS (SC-4)

DEFINITION AND PURPOSE:

A compost filter berm, trapezoidal in cross section, is a dike of compost or a compost product that is placed perpendicular to sheet flow runoff to control erosion in disturbed areas and retain sediment. It can be used in place of a traditional control tool such as a silt fence or compost filter socks.

APPROPRIATE APPLICATIONS:

Vegetated compost filter berms are generally placed along the perimeter of a site, or at intervals along a slope. A filter berm also can be used as a check dam in low-slope, small drainage ditches.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and small concentrated flow.

Contributing Area: Drainage area should not exceed 0.25 acres per 100-foot berm length.

WHEN BMP IS TO BE INSTALLED:

Prior to disturbance of natural vegetation and at intervals during construction of fill slopes.

STANDARDS AND SPECIFICATIONS:

The compost filter berm dimensions should be modified based on site-specific conditions, such as soil characteristics, existing vegetation, site slope, and climate, as well as project-specific requirements. Generally the berms are trapezoidal in cross section with the base twice the height of the berm. The compost should be uniformly applied to the soil surface, compacted, and shaped to into a trapezoid. Compost filter berms can be installed on frozen or rocky ground. The filter berm may be vegetated by hand, by incorporating seed into the compost prior to installation, or by hydraulic seeding following berm construction.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Remove sediment buildup deeper than ½ the filter berm. Any areas that have been washed away should be replaced. If the berm has experienced significant washout, a filter berm alone may not be the appropriate BMP for this area or the size of the berm may need to be increased.

SITE CONDITIONS FOR REMOVAL:

Vegetated filter berms are normally left in place and provide long-term filtration of stormwater as a post-construction best management practice (BMP). If temporary, break down the berm once construction is complete and spread the compost around the site as a soil amendment or mulch.

CATEGORY: Sediment Control

USE GROUP: Temporary or Permanent

ISSUED: 10-1-2009

SEDIMENT BASIN (SC-5)

DEFINITION AND PURPOSE:

A temporary settling pond designed to slowly release runoff, detaining it long enough to allow most of the sediment to settle out. Basins should be used in conjunction with additional BMPs, such as temporary seeding, velocity dissipaters, perimeter controls, inlet protection, etc., to reduce the total amount of sediment washing into them. Sediment basins may also be designed to be converted to permanent storm water detention basins after construction has ended.

APPROPRIATE APPLICATIONS:

Should be located as close to the sediment source as possible. A sediment basin should not be used in areas of continuously running water (live streams) or areas where failure of the embankment will result in loss of life, damage to homes or structures, or prevent the use of roadways or utilities.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and concentrated flow.

WHEN BMP IS TO BE INSTALLED:

Prior to disturbance of natural vegetation.

STANDARDS AND SPECIFICATIONS:

A qualified professional engineer experienced in designing dams should complete the basin design. Excavate basin to length, width, depth and slopes specified on plans. Place and compact fill to construct dam to elevation at least 1 foot above crown of outlet pipe. Install outlet pipe and compact clayey soil around pipe. Install the perforated riser pipe, wrap with fabric, and surround with uniformly graded gravel. Install BMP at downstream end of outlet pipe. Grade and stabilize spillway. Install monitoring post near outlet of basin. Mark maximum allowable sediment depth.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Remove trash accumulation at outlet. Remove sediment accumulations once sediment reaches design depth, as indicated on monitoring posts. Repair and re-vegetate any erosion damage on spillway. Repair settlement, cracking, piping holes, or seepage at embankment. Replace gravel around riser if basin does not drain properly.

SITE CONDITIONS FOR REMOVAL:

Remove after upstream areas are stabilized. Re-grade as appropriate and vegetate immediately.

CATEGORY: Sediment Control

USE GROUP: Temporary

ISSUED: 10-1-2009

SEDIMENT TRAP (SC-6)

DEFINITION AND PURPOSE:

A sediment trap is a temporary containment area that allows sediment in collected storm water to settle out during infiltration or before the runoff is discharged through a stabilized spillway/dewatering pipe.

APPROPRIATE APPLICATIONS:

Sediment traps are commonly used at the outlets of stormwater diversion structures, channels, slope drains, construction site entrances, vehicle wash areas, or other runoff conveyances.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and concentrated flow.

Contributing Area: Maximum of 5 acres.

Trap Volume: Silt load of 1800 cf/acre.

WHEN BMP IS TO BE INSTALLED:

Prior to disturbance of natural vegetation.

STANDARDS AND SPECIFICATIONS:

Take care to situate sediment traps for easy access by maintenance crews. Excavate an area for a sediment trap-make sure the side slopes are no steeper than 2:1 and the embankment height no more than 5 feet from the original ground surface. Install dewatering pipe, if necessary. Place and compact fill to construct embankments and the spillway. To reduce flow rate from the trap, line the outlet with rip rap and gravel over the dewatering pipe, if necessary. The spillway weir for each temporary sediment trap should be at least 4 feet long for a 1-acre drainage area and increase by 2 feet for each additional drainage acre added, up to a maximum drainage area of 5 acres. Install monitoring posts in the trap which mark ½ the design depth for sediment accumulation.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after every ½” storm event. Remove trash accumulation. Remove sediment accumulations once sediment reaches ½ the design depth, as indicated on monitoring posts. Repair and re-vegetate any erosion damage. Repair settlement, cracking, piping holes, or seepage at embankment.

SITE CONDITIONS FOR REMOVAL:

Remove after upstream areas are stabilized. Regrade as appropriate and vegetate immediately.

CATEGORY: Sediment Control

USE GROUP: Temporary or Permanent

ISSUED: 10-1-2009

SEDIMENT FILTERS AND CHAMBERS (SC-7)

DEFINITION AND PURPOSE:

Sediment filters are sediment-trapping devices typically used to remove pollutants from stormwater runoff. Sediment filters have four components: inflow regulation, pretreatment, filter bed, and outflow mechanism. Sediment chambers are one component of the sediment filter system. Sediment filter systems can be confined or unconfined, on-line or off-line, and aboveground or belowground. Confined sediment filters are constructed with the filter medium contained in a structure, often a concrete vault.

Unconfined sediment filters are made without a confining structure. Sand might be placed on the banks of a permanent wet pond detention system to create an unconfined filter. On-line systems retain stormwater in its original stream channel or storm drain system. Off-line systems divert stormwater.

APPROPRIATE APPLICATIONS:

Sediment filters might be a good alternative for small construction sites where a wet pond is being considered as a sediment-trapping device. They are widely applicable, and they can be used in urban areas with large amounts of highly impervious area. Confined sand filters are man-made systems, so they can be applied to most development sites and have few constraining factors.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and concentrated flow.

Contributing Area: Maximum of 10 acres.

WHEN BMP IS TO BE INSTALLED:

Prior to disturbance of natural vegetation.

STANDARDS AND SPECIFICATIONS:

The available space is likely to be the most important siting and design consideration. Another important consideration when deciding to install sediment-filtering systems is the amount of available head. The depth of filter media will vary depending on media type.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect sediment filters of all media types weekly and after each ½” rainfall event to make sure they are filtering properly. Remove trash and debris. Remove sediment from the filter inlets/sediment chambers when 75 percent of the storage volume has been filled. Replace medium when necessary.

SITE CONDITIONS FOR REMOVAL:

Typically left in pace, if temporary-remove after upstream areas are stabilized.

CATEGORY: Sediment Control

USE GROUP: Temporary

ISSUED: 10-1-2009

INLET PROTECTION-CURB AND GUTTER (SC-8)

DEFINITION AND PURPOSE:

A temporary sediment control barrier consisting of a filter media, such as compost filter socks, gravel and mesh, sandbags, gravel bags, etc., around a curb and gutter inlet designed to prevent sediment from entering the storm sewer. Shallow temporary ponding during and after rainfall should be expected.

APPROPRIATE APPLICATIONS:

At inlets where runoff may contain sediment-laden water.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and concentrated flow.

Contributing Area: Maximum of 1 acre.

WHEN BMP IS TO BE INSTALLED:

Immediately after installation of the inlet, or prior to land disturbing activities beginning on the contributing upstream area to the inlet.

STANDARDS AND SPECIFICATIONS:

Typical types of curb and gutter inlet protection include: fabricated inlet filters (follow manufacturer’s instructions), compost filter sock (make sure that both ends of the sock are anchored accordingly), gravel and wire mesh (construct and anchor wood frame, fasten wire mesh and fabric to frame, and place the gravel on top of the entire structure), and sandbags and gravel bags (may be placed either as a j-hook on the upstream end of the inlet or as a full barrier, sometimes stacked 2 bags high, across the entire opening of the inlet). Incorporate an overflow bypass into the inlet protection structure in areas, such as heavy traffic streets, where excessive ponding of water around the inlet may become a safety issue.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect inlet protection of all media types weekly and after each ½” rainfall event to make sure they are functioning properly. Remove trash and debris. Remove sediment from the inlet protection when half of the protection structure height has been filled. Repair elements to original configuration as needed.

SITE CONDITIONS FOR REMOVAL:

Remove after contributing drainage areas have been adequately stabilized.

CATEGORY: Sediment Control

USE GROUP: Temporary

ISSUED: 10-1-2009

INLET PROTECTION-RECESSED (SC-9)

DEFINITION AND PURPOSE:

A temporary sediment control barrier consisting of a filter media, such as block and gravel, fabric drop, sod, etc., around a recessed area inlet designed to prevent sediment from entering the storm sewer. Shallow temporary ponding during and after rainfall should be expected.

APPROPRIATE APPLICATIONS:

At recessed area or yard inlets where runoff may contain sediment-laden water.

CONDITIONS FOR EFFECTIVE USE:

Type of Flow: Sheet flow and concentrated flow.

Contributing Area: Maximum of 1 acre.

WHEN BMP IS TO BE INSTALLED:

Immediately after installation of the inlet, or prior to land disturbing activities beginning on the contributing upstream area to the inlet.

STANDARDS AND SPECIFICATIONS:

Typical types of curb and gutter inlet protection include: manufactured filter bags (follow

manufacturer’s instructions), block and gravel (blocks which are stacked should be anchored against movement, place geotextile filter fabric or wire mesh over the outside vertical face of the concrete blocks, place clean stone against the geotextile filter fabric/mesh up to the top of the concrete blocks), fabric drop (install wood frame, dig a trench around the inlet for fabric to be buried, fasten fabric tightly to frame, backfill and compact trench), and sod filter (prepare and fertilize soil, install sod for a distance of at least 4 feet in each direction, stake, staple and/or net corners and center of sod strips as required, water immediately). For safety, inlet protection structures which pond water onto streets, parking lots or driveways should be designed to have some method for allowing excess water from large storms to bypass or overflow.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect inlet protection of all media types weekly and after each ½” rainfall event to make sure they are functioning properly. Remove trash and debris. Remove sediment from the inlet protection when half of the protection structure height has been filled. Repair elements to original configuration as needed.

SITE CONDITIONS FOR REMOVAL:

Remove after contributing drainage areas have been adequately stabilized.

CATEGORY: Sediment Control

USE GROUP: Temporary

ISSUED: 10-1-2009

STREET SWEEPING AND VACUUMING (SC-10)

DEFINITION AND PURPOSE:

Practices used to remove tracked sediment to prevent the sediment from entering a storm drain or watercourse.

APPROPRIATE APPLICATIONS:

These practices are implemented anywhere sediment is tracked from the project site onto public or private paved roads, typically at points of ingress/egress.

CONDITIONS FOR EFFECTIVE USE:

Sweeping and vacuuming may not be effective when soil is wet or muddy.

WHEN BMP IS TO BE INSTALLED:

Anytime sediment/silt has been tracked from the site onto public or private paved surfaces.

STANDARDS AND SPECIFICATIONS:

Visible sediment tracking should be swept and/or vacuumed daily. Adjust brooms frequently to maximize efficiency of sweeping operations. Be careful not to sweep up any unknown substance or any object that may be potentially hazardous. If not mixed with debris or trash, consider incorporating the removed sediment back into the project. After sweeping is finished, properly dispose of sweeper wastes at an approved dumpsite. Do not wash any sediment or debris down the storm drain!

OPERATION AND MAINTENANCE PROCEDURES:

Inspect ingress/egress access points daily and sweep tracked sediment as needed, or as required.

SITE CONDITIONS FOR REMOVAL:

Not Applicable

CATEGORY: Tracking Control

USE GROUP: Temporary

ISSUED: 10-1-2009

CONSTRUCTION ENTRANCE/EXIT (TC-1)

DEFINITION AND PURPOSE:

A stabilized entrance to a construction site is designed to minimize the amount of sediment tracked from the site on vehicles and equipment. Mud and sediment fall off of tires as they bounce along the stabilized entrance. Additional measures in the form of a washdown area could also be included on site.

APPROPRIATE APPLICATIONS:

At locations where it is safe for construction vehicles and equipment to access existing streets-preferably at location of future streets or drives.

CONDITIONS FOR EFFECTIVE USE:

Site conditions will dictate design and need. Ditches or pipes, if needed, sized for 2 year rainfall intensity event; HGL 6” below surface of entrance.

WHEN BMP IS TO BE INSTALLED:

One of the first things done, prior to vehicles or equipment accessing unpaved areas.

STANDARDS AND SPECIFICATIONS:

Limit the points of entrance/exit to the construction site. Properly grade and compact each construction entrance/exit to prevent runoff from leaving the site. Install culvert under entrance if needed to maintain positive drainage. Place fabric and cover with aggregate (minimum of 3”-6” shotrock), forming a diversion across the entrance, if needed, to direct runoff away from the roadway. Require all employees, subcontractors, and suppliers to utilize the stabilized construction access.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect routinely, every week and after ½” storm event, for damage and assess effectiveness of the BMP. Remove sediment and clods of dirt from construction entrance continuously. Replace rock, if necessary, to maintain a clean surface. Repair any areas that have settled. Keep all temporary roadway ditches clear. Immediately remove any mud or debris tracked onto paved surfaces.

SITE CONDITIONS FOR REMOVAL:

Remove when vehicles and equipment will no longer access unpaved areas.

CATEGORY: Tracking Control

USE GROUP: Temporary

ISSUED: 10-1-2009

CONSTRUCTION PARKING (TC-2)

DEFINITION AND PURPOSE:

A stabilized pad designed to: provide off street parking for construction related vehicles, eliminate parking on non-surfaced areas, and minimize the amount of sediment tracked from the site. Stabilization generally consists of aggregate over woven fabric. The stabilized pad also distributes the axle load of vehicles over a larger area; thereby mitigating the rutting impact vehicles normally have on unpaved areas.

APPROPRIATE APPLICATIONS:

At locations close to related work zones that have access along continuous paved or stabilized surfaces. Parking may be distributed in clusters and/or relocated with different phases of construction.

CONDITIONS FOR EFFECTIVE USE:

Ditches or pipes, if needed, sized for 2 year rainfall intensity event; HGL below parking surface. Aggregate size should be a minimum of 2”-3” washed stone. Minimum of 6” thick and sized to handle anticipated number of employee and visitor vehicles.

WHEN BMP IS TO BE INSTALLED:

Immediately after, or concurrently with, installation of construction entrance and washdown station.

STANDARDS AND SPECIFICATIONS:

Grade and compact area of pad and ditches, if needed. Install culverts if needed to maintain positive drainage. Place fabric and aggregate, and compact. Install signage indicating the designated parking area.

OPERATION AND MAINTENANCE PROCEDURES:

Inform drivers of inappropriately parked vehicles that they need to be moved. If necessary to ensure compliance on an ongoing basis, contact employers of violators. Install No Parking signage in areas where vehicles are being parked inappropriately. Remove sediment and clods of dirt. Repair areas that have settled. Replace rock if necessary to maintain clean surface.

SITE CONDITIONS FOR REMOVAL:

Remove/relocate when vehicles can legally park on paved areas without impeding non-construction related traffic.

CATEGORY: Tracking Control

USE GROUP: Temporary

ISSUED: 10-1-2009

STABILIZED CONSTRUCTION ROADWAY (TC-3)

DEFINITION AND PURPOSE:

A stabilized pathway providing vehicular access to a remote construction area designed to reduce rutting, tracking of mud in wet weather, and creation of dust in dry weather. The “roadway” can be constructed of aggregate over fabric, asphaltic concrete or Portland cement concrete based on the longevity of the project, required performance, and site conditions.

APPROPRIATE APPLICATIONS:

On long travel paths on unstable areas, adjacent to bodies of water, in areas where poor soil is encountered, and where there are steep grades and additional traction is needed. Roadways should follow the natural terrain to the extent possible. Site conditions will dictate design and need.

CONDITIONS FOR EFFECTIVE USE:

Ditches or pipes, if needed, sized for 2 year rainfall intensity events; HGL 6” below parking surface.

WHEN BMP IS TO BE INSTALLED:

Prior to vehicles or equipment accessing remote areas.

STANDARDS AND SPECIFICATIONS:

Properly grade roadway to prevent runoff from leaving the construction site. Design stabilized access to support the heaviest vehicles and equipment that will use it. Install culvert(s) under road, if needed, to maintain positive drainage. Place and compact roadway materials. Coordinate materials with those used for stabilized construction entrance/exit points. Vegetate road ditches.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect routinely for damage and repair as needed. Remove sediment and clods of dirt from road daily. Keep all temporary roadway ditches clear of sediment and debris. Repair areas that have settled. Replace rock if necessary to maintain a clean surface.

SITE CONDITIONS FOR REMOVAL:

Remove when vehicles and equipment will no longer access remote areas; regrade area and vegetate.

CATEGORY: Tracking Control

USE GROUP: Temporary

ISSUED: 10-1-2009

WASHDOWN STATION (TC-4)

DEFINITION AND PURPOSE:

An area located at stabilized construction access points to remove sediment from tires and undercarriages, and to prevent sediment from being transported onto public roadways.

APPROPRIATE APPLICATIONS:

Tire washes may be used on construction sites where dirt and mud tracking onto public roads by construction vehicles may occur.

CONDITIONS FOR EFFECTIVE USE:

Downstream BMP sized appropriately to treat dirty runoff from the washdown station. Requires a supply of wash water. Requires a turnout or doublewide exit to avoid having entering vehicles drive through the wash area.

WHEN BMP IS TO BE INSTALLED:

Installed along with the stabilized construction entrance/exit, prior to vehicles or equipment accessing unpaved areas.

STANDARDS AND SPECIFICATIONS:

Grade and compact area for drainage under washdown pad. Install wash rack, which should be designed and constructed/manufactured for anticipated traffic loads. Provide a drainage ditch, grade that will convey the runoff from the wash area to a sediment trapping device. The drainage ditch should be of sufficient grade, width, and depth to carry the wash runoff. Install water supply and hose. Post sign in advance of station indicating that all exiting vehicles and equipment must use the station prior to exiting the site.

OPERATION AND MAINTENANCE PROCEDURES:

Remove accumulated sediment in wash rack and/or sediment trap on a daily basis to maintain system performance. Repair any areas that have settled. Replace rock if necessary to maintain a clean surface.

SITE CONDITIONS FOR REMOVAL:

Remove when vehicles and equipment will no longer access unpaved areas.

CATEGORY: Pollution Prevention

USE GROUP: Temporary

ISSUED: 10-1-2009

NON-SEDIMENT POLLUTION CONTROL (PP-1)

(HOUSEKEEPING)

DEFINITION AND PURPOSE:

Control measures designed to prohibit chemicals, hazardous materials, solid waste, human waste and construction debris from polluting stormwater. Pollutants carried in solution or as surface films on runoff will be carried through most erosion control and sediment capture BMPs. Keeping substances like fuel, oil, asphalt, paint, solvents, fertilizer, soil additives, concrete wash water, solid waste, human waste and construction debris from polluting runoff can be accomplished to a large extent through good

housekeeping on the site and following the manufacturer’s recommendations for disposal.

APPROPRIATE APPLICATIONS:

Temporary sanitary facilities (do not place on top of storm inlets or near waterways), collection, storage and fueling areas should be located onsite in an area that does not receive a substantial amount of runoff from upland areas and does not drain directly to lakes, creeks, streams, rivers, sewers, groundwater, wetlands, or road ditches.

CONDITIONS FOR EFFECTIVE USE:

An effective management system requires training and signage to promote proper storage, handling and disposal of materials, and follow up observations of actions and inspection of storage areas by management. Plans should contain notes clearly stating requirements for addressing potential pollutants.

WHEN BMP IS TO BE INSTALLED:

Immediately following installation of construction entrance.

STANDARDS AND SPECIFICATIONS:

Place waste receptacles (empty on a regular basis) near area of work. All fueling facilities present on the site shall adhere to applicable federal and state regulations concerning underground storage, above ground storage, and dispensers. Hazardous wastes shall be managed according to Missouri Hazardous Waste Laws and Regulations. Install appropriate signage. Post guidelines for proper handling, storage and disposal of materials, and emergency spill cleanup on site. Provide sufficient temporary toilet facilities to serve the number of workers on the site.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect activities, storage areas, and control devices weekly and after ½” storm event. Maintenance of temporary toilet facilities should be frequent and thorough. Make necessary corrections and repairs.

SITE CONDITIONS FOR REMOVAL:

Remove after contributing drainage areas have been adequately stabilized.

TYPICAL DETAILS:

See general pollution notes attached.

CATEGORY: Pollution Prevention

USE GROUP: Temporary

ISSUED: 10-1-2009

POLLUTION PREVENTION PROCEDURES (PP-1)

(GENERAL POLLUTION NOTES)

1. Handling and disposal of hazardous materials:

DO: 	Prevent spills

Use products up

Follow label directions for disposal

Remove lids from empty bottles and cans when disposing in trash

Recycle wastes whenever possible

DON’T: Don’t pour waste into sewers or waterways on the ground

Don’t pour waste down the sink, floor drain or septic tanks

Don’t bury chemicals or containers, or dispose of them with other waste

Don’t burn or mix chemicals or containers

Don’t wash sediment down storm sewer inlets

2. Containers shall be provided for collection of all waste material including construction debris, trash, petroleum products and any hazardous materials to be used onsite. All waste material shall be disposed of at facilities approved for that material.

3. No waste materials shall be buried on-site.

4. Mixing, pumping, transferring or otherwise handling construction chemicals such as fertilizer, lime, asphalt, concrete drying compounds, and all other potentially hazardous materials shall be performed in an area away from any watercourse, ditch or storm drain.

5. Equipment fueling and maintenance, oil changing, etc., shall be performed only in an area designated for that purpose. The designated area is equipped for recycling oil and catching spills.

6. Concrete wash water shall not be allowed to flow directly to storm sewers, streams, ditches, lakes, etc without being treated. A sump or pit shall be constructed to contain concrete wash water.

7. All paint, solvents, petroleum products and petroleum waste products, and storage containers (such as drums, cans, or cartons) shall be stored according to BMPs. The materials exposed to precipitation shall be stored in watertight, structurally sound, closed containers. All containers shall be inspected for leaks or spillage during the once per week inspection of BMPs. If substances such as oil, diesel fuel, hydraulic fluid, antifreeze, etc. are spilled, leaked, or released onto soil, the soil shall be dug up and properly disposed of. Spills on pavement shall be absorbed with sawdust, kitty litter or product designed for that purpose and disposed of at a licensed sanitary landfill. Hazardous or industrial wastes such as most solvents, gasoline, oil-based paints, and cement curing compounds require special handling. These materials will be removed from the site and recycled or disposed of in accordance with MoDNR requirements.

8. State law requires the party responsible for a petroleum product spill in excess of 50 gallons to report the spill to MoDNR (537-634-2436) as soon as practical after discovery. Federal law requires the responsible party to report any release of oil if it reaches or threatens a sewer, lake, creek, stream, river, groundwater, wetland, or area, like a road ditch, that drains into one of the above.

9. Sufficient temporary toilet facilities to serve the number of workers on the site shall be provided. The facilities shall be serviced frequently to maintain a sanitary condition.

CATEGORY: Pollution Prevention

USE GROUP: Temporary

ISSUED: 10-1-2009

CONCRETE WASHOUT (PP-2)

DEFINITION AND PURPOSE:

Concrete waste management prevents the discharge of pollutants to stormwater from concrete waste by conducting washout off-site, performing on-site washout in a designated area (concrete washout BMP), and training employees and subcontractors.

APPROPRIATE APPLICATIONS:

Concrete washouts are implemented on construction projects where slurries containing Portland cement concrete (PCC) or asphalt concrete (AC) are generated, such as from saw cutting, coring, grinding, and grooving. Also where concrete trucks and other concrete-coated equipment are washed on-site.

CONDITIONS FOR EFFECTIVE USE:

Washout should be located a minimum of 50 feet from storm drains, open drainage facilities, and watercourses. Avoid mixing excess amounts of fresh concrete.

WHEN BMP IS TO BE INSTALLED:

Installed before the start of any concrete activities or deliveries.

STANDARDS AND SPECIFICATIONS:

Temporary concrete washouts should be designed with sufficient quantity and volume to contain all liquid and concrete waste. Plastic lining material should be a minimum of 10 mil. polyethylene sheeting and should be free of holes, tears, or other defects that compromise the impermeability of the material. Do not wash sweepings from exposed aggregate concrete into the street or storm drain. Collect and return sweepings to aggregate base stockpile or dispose in the trash.

OPERATION AND MAINTENANCE PROCEDURES:

Inspect every week and after ½” storm event. Remove and dispose of hardened concrete and return the facility to a functional condition. Washout facilities must be cleaned, or new facilities must be constructed and ready for use once the washout is 75% full.

SITE CONDITIONS FOR REMOVAL:

When temporary concrete washout facilities are no longer required for the work, the hardened concrete should be removed and disposed of. Materials used to construct temporary concrete washout facilities should be removed from the site and disposed of. Holes, depressions or other ground disturbance caused by the removal of the washout should be backfilled and repaired.

ACRONYMS

ASTM – American Society of Testing Materials

BAT – Best Available Technology

BCT – Best Conventional Technology

BFM – Bonded Fiber Matrix

BMP – Best Management Practice

CFR – Code of Federal Regulations

CGP – Construction General Permit

CSR – Code of State Regulations (Missouri)

CMP – Corrugated Metal Pipe

CPESC – Certified Professional in Erosion and Sediment Control

CWA – Clean Water Act

DSA – Disturbed Soil Area

ECB – Erosion Control Blanket

ECRM – Erosion Control Re-vegetation Mat

ECTC – Erosion Control Technology Council

ENM – Effective Neutralizing Material

EOS – Equivalent Opening Size

EPA (USEPA) – United States Environmental Protection Agency

ESA – Environmentally Sensitive Area

FEMA – Federal Emergency Management Agency

HDPE – High-Density Polyethylene

IECA – International Erosion Control Association

MCWL – Missouri Clean Water Law

MDNR (DNR, MoDNR) – Missouri Department of Natural Resources

MoDOT – Missouri Department of Transportation

MOGP – Missouri General Permit

MSDS – Material Safety Data Sheet

NOI – Notice of Intent

NOT – Notice of Termination

NOV – Notice of Violation

NPDES – National Pollution Discharge Elimination System

NPS – Nonpoint Source Pollution

NRCS – Natural Resources Conservation Service

OSHA – Occupation Safety and Health Association

PCC – Portland Cement Concrete

PVC – Polyvinyl Chloride

PW – Public Works Department of the City of Webb City

RECP – Rolled Erosion Control Product

RUSLE – Revised Universal Soil Loss Equation

SWCS – Soil and Water Conservation Society

SWPPP – Storm Water Polltuion Prevention Plan

SWSD – Storm Water Services Division (City of Webb City)

TRM – Turf Reinforcement Mat

USACE – United States Army Corp of Engineers

USLE – Universal Soil Loss Equation

USDA – United States Department of Agriculture

USDOT – United States Department of Transportation

USFWS – United States Fish and Wildlife Service

USGS – United States Geological Survey

LAND DISTURBANCE INSPECTION CHECKLIST

City of Webb City, Missouri

Department of Public Works-Stormwater Services Division

1060 N Madison, Webb City, MO 64870, 417-673-6297, fax 417-673-6294

This form can be used for either private building and development self-inspections or by city inspection staff. For Self-Inspections this form is to be filled out weekly and after individual rain events of ½” or greater. This form is to be attached to the project’s SWPPP and kept on-site according to federal and state regulations.

Date of Inspection:________ Project Name:__________________________________

Permit #:___________ Contractor: _________________________________________

Location of Sediment/Pollutant Discharge: __________________________________

Inspected By: ______________ Date of Last Rain: ________ Rain Amount: _______

Inspection Type: Weekly___ ≥½” Rain___ Complaint___ Drive By___ Pre-Con___ End___

INSPECTION CHECKLIST

Satisfactory  Deficient   N/A

1. SWPPP is on site and updated with records attached?                  	       ___                  ___          ___

2. Sign/notice is posted at construction site?                                        	       ___                  ___          ___

3. Erosion/sediment control BMPs installed according to SWPPP?  	       ___                  ___          ___

4. Mud tracking is controlled at construction entrance/exit?            	       ___                  ___          ___

5. Streets and other property are free of sediment?                             	       ___                  ___          ___

6. Litter, construction debris, and construction chemicals are controlled?           ___                  ___          ___

7. Disturbed areas are stabilized after activity has ceased for 14 days? 	        ___                 ___           ___

8. Sedimentation basins/traps are properly installed/maintained? 		        ___                 ___           ___

9. Perimeter protection BMPs are properly installed/maintained? 	        ___                 ___           ___

10. Discharge location’s erosion control devices are adequate? 	                        ___                 ___           ___

11. Ditch checks/channel linings are installed/established/maintained? 	        ___                 ___           ___

12. Diversion channels/slope drains are properly installed/maintained?               ___                 ___           ___

13. Inlet protections for active inlets are properly installed/maintained?              ___                 ___           ___

14. Streams/sinkholes are protected from sediment?                                               ___                 ___           ___

15. Permanent stabilization measures are properly installed/maintained?           ___                 ___            ___

16. Dewatering operations are filtering sediment/pollutants?                                ___                 ___             ___

17. Stockpiles are stabilized or contained by a BMP?                                              ___                 ___             ___

18. Have all temporary BMPs that are no longer needed been removed?             ___                 ___             ___

19. Have all control BMPs been repaired/sediment accumulation removed?       ___                 ___              ___

20. Other:__________________________________________________?               ___                  ___              ___

Areas Where Land Disturbance Has Ceased: _______________________________________________

Areas of Concern (attach additional sheets if needed): ____________________________________________________________________________________________________________________________________________________________________________

Recommendations (attach additional sheets if needed): ____________________________________________________________________________________________________________________________________________________________________________

Verbal/Written (circle one) Notification Given To (if applicable): _______________________________ Inspector’s Signature: _____________      					Date: ________________

COMPANION GUIDE

FOR LAND DISTURBANCE INSPECTION CHECKLIST

City of Webb City, Missouri

Department of Public Works-Storm Water Services Division

1060 N Madison, Webb City, Mo 64870, 417-673-6297, fax 417-673-6294

The purpose of an inspection at a land disturbance site is to determine compliance with permitting requirements and to document any potential or detrimental impacts upon waters of the state. This guide will follow the inspection checklist (item by item) and provide insight on what items to look for at a site, why we must do the items contained in the checklist, and how to spot deficiencies of these items in the field.

What-For Self-Inspections this form is to be filled out weekly, and after a ½” rain event.

This form is to be attached to the project’s SWPPP and kept on-site according to federal and state regulations.

Why-MOGP p. 7(12) and CGP 3.10.A,B

How-Every week, and after every ½” rain event, fill out the inspection checklist form, sign it, and attached it to the SWPPP.

What-Location of sediment/pollutant discharge:

Why-MOGP p. 7(12) and CGP 3.10.G

How-Fill in name or location of where all the stormwater leaves the entire site-could be a stream name or simply a location of the main outfall from the site.

What-Date of Last Rain and Rain Amount:

Why-MOGP p. 7(12) and CGP 3.10.G

How-Fill in the date of the last rain event and the amount of rain that occurred.

What-Inspection Type:

Why-MOGP p. 7(12) and CGP 3.10.A

How-Place a mark next to the type of inspection which is occurring. Most inspections will be either a “weekly” or “≥½” rain” inspection.

What-1. SWPPP is on site and updated with records attached?

Why-MOGP p. 4(9), p. 7(11) and CGP 3.10.G, 3.11.C, 3.12.A

How-Look for a SWPPP on site. The SWPPP should be regularly updated to reflect

changing conditions at the project site and have all previous inspections attached.

What-2. Sign/notice is posted at construction site?

Why-MOGP p. 7(14) and CGP 3.12.B

How-Look for a sign within public viewing (usually near the site entrance), which contains information notifying the public that a SWPPP is being implemented.

What-3. Erosion/sediment control BMPs installed according to SWPPP?

Why-MOGP p. 6(10)(i) and CGP 3.13.A

How-Look at the SWPPP and verify that the BMPs required in it are installed at the site.

What-4. Mud tracking is controlled at construction entrance/exit?

Why-MOGP p. 6(10)(l) and CGP 3.10.E

How-Make sure that designated entrance/exit is the only entrance being used at the site.

Also look for sediment/mud in the streets and the condition of the entrance/exit.

What-5. Off-site sediment is removed from street/other property?

Why-MOGP p. 6(10)(l) and CGP 3.13.B

How-Look for sediment/mud in the streets or on other owners’ property. Vacuuming, sweeping, or shoveling should be used (rather than water) to remove the sediment.

What-6. Litter, construction debris, and construction chemicals are controlled?

Why-MOGP p. 3(4), p. 4(8), p. 7(13) and CGP 3.13.C

How-Look around and make sure that trash, material stockpiles, sanitary services (port-opotties), fuels, and chemicals are well maintained and stored properly.

What-7. Disturbed areas are stabilized after activity has ceased for 14 days?

Why-MOGP p. 6(10)(h) and CGP 3.13.D

How-Look for areas which have not been active for more than two weeks and determine if they have been properly stabilized with seed, mulch, tarps, binders, blankets, etc.

What-8. Sedimentation basins/traps are working properly?

Why-MOGP p. 6(10)(j) and CGP 3.13.E.1, 3.13.E.2, 3.6.C

How-Look at the sediment basins/traps and make sure that they are operating properly to control sediment from leaving the site. Make sure sediment is removed when the design capacity is reduced by 50% or more.

What-9. Perimeter protection BMPs (silt fence, fiber rolls, etc.) are functioning?

Why-MOGP p. 5(10)(c), p. 7 (13) and CGP 3.13.A, 3.6.B

How-Look at all of the silt fence/silt soxx/fiber rolls and determine if entrenchment is necessary and done proper, if any of the controls have been torn or run over, and if the accumulated sediment has been removed when it becomes burdensome to the control.

What-10. Discharge locations/velocity dissipation devices are adequate?

Why-MOGP p. 5(10)(c) and CGP 3.10.E

How-Look for any sediment accumulating or leaving the site from the outfall location.

Also, look for any signs of erosion occurring where outfalls discharge water from the site (usually around riprap or concrete velocity dissipation pads).

What-11. Ditch checks/channel linings functioning for conveyance channels?

Why-MOGP p. 5(10)(c), p. 7(13) and CGP 3.13.A

How-Look for ditch checks installed properly to catch sediment. Also look for sediment that needs to be removed from the upstream side of ditch checks. Channel linings (turf reinforcement mats, sod, riprap, articulated concrete mats, etc.) should be installed properly (mats stapled, enough riprap placed, etc.). Look for erosion occurring around edges of linings.

What-12. Diversion channels/slope drains are functioning?

Why-MOGP p. 5(10)(c), p. 7(13) and CGP 3.13.A

How-For diversion channels, look for damage to the linings, accumulating debris, sediment buildup, and adequacy of the slope protection. For slope drains, look for erosion and downstream scour at outlets and inspect slope drainage for accumulations of debris and sediment.

What-13. Inlet protection for active storm sewer inlets is in place?

Why-MOGP p. 5(10)(c), p. 7(13) and CGP 3.13.A

How-Look for bypassed materials in the storm sewer, check to make sure that inlet protection is protecting the entire inlet, and that accumulated sediment has been removed.

What-14. Streams/sinkholes are protected from sediment?

Why-MOGP p. 5(10)(e) and CGP 4.5.A

How-Look for proper perimeter control structures (silt fence, fiber rolls, etc.) around sinkholes and parallel to streams. Also, look for signs of vehicles or heavy machinery being in or within close proximity to sinkhole areas or streams.

What-15. Permanent stabilization measures have been installed?

Why-MOGP p. 4(10)(b), p. 5(10)(c) and CGP 3.13.D

How-Disturbed areas where construction activities have permanently ceased should be stabilized (with seed, mulch, sod, gravel, concrete, etc.) within 14 days of cessation.

What-16. Dewatering operations are filtering sediment/pollutants?

Why-MOGP p. 6(10)(k) and CGP 1.3.A.3.c

How-Look at the flow conditions and condition and capacity of the dewatering bag or sock. Also, inspect the discharge point for signs of erosion and accumulation of unfiltered sediment against other structural BMPs.

What-17. Stockpiles are stabilized with seed/mulch and/or contained by a BMP?

Why-MOGP p. 6(10)(h) and CGP 3.13.D

How-Stockpiles of dirt need to be stabilized if they are inactive for longer than 14 days.

Look to see if stockpiles have perimeter controls (silt fence, fiber rolls, etc.) around them or have been temporarily stabilized with seed, mulch, tarps, etc.

What-18. Have all temporary BMPs that are no longer needed been removed?

Why-MOGP p. 5(10)(d)(viiii) and CGP 3.4.A

How-Look for permanently stabilized areas and check that inlet protection controls, perimeter controls, ditch checks, etc. have been removed. Also check that all accumulated sediment around the removed controls has been disposed of properly.

What-19. Have all control BMPs been repaired and sediment removed?

Why-MOGP p. 7(13) and CGP 3.13.A

How-Look around the site and make sure that all BMPs are functioning properly in order for them to keep sediment from leaving the site. Also, inspect all BMPs for sediment

accumulation (generally, if sediment has accumulated one-third to one-half the height of

the control structure, it needs to be removed for the structure to function properly).

What-20. Other:__________________________________________________?

Why-MOGP and CGP

How-Add any additional site-specific BMPs or areas of interest which need to be regularly inspected.

What-Areas Where Land Disturbance Has Ceased

Why-MOGP p. 6(10)(h), p.7(12) and CGP 3.10.E

How-List any areas of the project site where land disturbance operations have permanently or temporarily ceased.

What-Areas of Concern

Why-MOGP p. 7(12) and CGP 3.10.G

How-Write in any potential violations, which have caught your eye throughout the inspection process. This can include any failing BMPs, new BMPs that are needed, performance deficiencies, or any other aspect of the SWPPP, which may need to be

changed or further addressed in order to keep sediment from leaving the project site.

What-Recommendations

Why-MOGP p. 7(12) and CGP 3.10.G

How-Write in any recommendations or corrective actions required (including changes or updates to the SWPPP). Generally, corrections should be made prior to the next rain event or within 7 days, which ever is sooner.

What-Verbal/Written Notification given to

Why-So there is a record for accountability.

How-If corrective action is necessary, fill in the name of the person you have asked to make those corrective actions.

*MOGP-Missouri General Permit, this is the legally binding contract land disturbers have with the Missouri Department of Natural Resources (MoDNR). MoDNR is authorized by the Environmental Protection Agency (EPA) to allocate NPDES Permits.

*CGP-Construction General Permit, this is the National Pollutant Discharge Elimination

System (NPDES) Permit governed at the federal level.

*Permit holders must abide by both the state and federal rules and regulations.

*Remember that each project site has its own nuances. Therefore, the original SWPPP for a site is the best-estimated plan for keeping sediment from leaving the site. However, SWPPPs, just like construction sites, change with the conditions and situations that arise.

Some BMPs may need to be added or removed or jobsite practices need to be altered.

During the construction process if any components of the SWPPP need to be changed or updated, remember to change/update the SWPPP.

*This form is to be attached to the project’s SWPPP and kept on-site according to federal

and state regulations.

*For any questions, concerns, technical advice, input, etc. please contact:

Department of Public Works-Storm Water Services Division

1060 N Madison, Phone: 417-673-6297

BIBLIOGRAPHY

American Public Works Association. Division III Standard Drawings. APWA Kansas City Metropolitan Chapter. April 2003.

California. California Stormwater BMP Handbook-Construction. California. January 2003.

City of Chesterfield. Model BMPs For Land Disturbance. City of Chesterfield, Missouri. June 2003.

City of Corvallis. Erosion Prevention and Sediment Control Manual. City of Corvallis, Oregon. September 2005.

City of Knoxville, Best Management Practices (BMP) Manual. City of Knoxville, Tennessee. October 2007.

City of Overland Park. Single Family Residential Erosion/Sediment Control Standards. City of Overland Park, Kansas.

City of Portland. Erosion Control Manual. City of Portland, Oregon. March 2000.

City of Springfield. Erosion and Sediment Control Guidelines. City of Springfield, Missouri. July 2000.

City of Springfield. Program for Land Disturbance Involving City Funded Projects in Accordance with Department of Natural Resources General Permit MO‐R100000. City of Springfield, Missouri. March 2003.

Clackamas County. Planning and Design Manual. Clackamas County, Oregon. December 2000.

Douglas County. Grading, Erosion, and Sediment Control (GESC) Manual. Douglas County Department of Public Works‐Engineering Division, Douglas County Colorado. March 2004.

Fifield, Jerald S., Designing for Effective Sediment and Erosion Control on Construction Sites. Forester Communications Inc., 2004.

Fifield, Jerald S., Field Manual on Sediment and Erosion Control: Best Management Practices for Contractors and Inspectors. Forester Communications Inc., 2005.

Greene County. Greene County Storm Water Design Standards. Greene County Resource Management Department, Greene County, Missouri. April 1999.

Greene County. Zoning Regulations. Greene County, Missouri. March 2005.

James City County. Erosion and Sediment Control in James City County. James City County, Virginia. July 2005.

Kentucky Environmental and Public Protection Cabinet. Kentucky Erosion Prevention and Sediment Control Field Guide. Kentucky Transportation Cabinet.

B I B L I O G R A P H Y APPENDIX L I O G R A P H Y APPENDIX

King County. Surface Water Design Manual-Appendix D: Erosion and Sediment Control (ESC) Standards.

King County Department of Natural Resources and Parks, King County, Washington. January 2005.

Mid‐America Association of Conservation Districts. Urban Conservation Policy Handbook. MAACD. June 1998.

Missouri Department of Natural Resources. Protecting Water Quality: A Field Guide to Erosion, Sediment and Stormwater Best Management Practices for Development sites in Missouri and Kansas. MDNR. November 1999.

Missouri Department of Natural Resources. Protecting Water Quality: Part B‐Developing a Storm Water Pollution Plan. MDNR. 2007‐Draft.

North Dakota Department of Health. A Guide to Temporary Erosion-Control Measures for Contractors, Designers, and Inspectors. North Dakota Department of Health Division of Water Quality. June 2001.

South Dakota Department of Transportation. Construction Field Manual: Construction Site Management and Erosion and Sediment Control. South Dakota Department of Transportation Water Quality Enhancement Program.

St. Louis County. Model Best Management Practices (BMP) for Land Disturbance‐Sediment and Erosion Control. Saint Louis County, Missouri. March 2006.

U. S. Environmental Protection Agency. Developing Your Stormwater Pollution Prevention Plan: A Guide for Construction Sites. U.S. EPA. January 2007.

U. S. Environmental Protection Agency. Storm Water Management for Construction Activities: Developing Pollution Prevention Plans and Best Management Practices. U.S. EPA. October 1992.

U. S. Environmental Protection Agency. Construction Site Stormwater Discharge Control: An Inventory of Current Practices. U.S. EPA. June 1991.

U. S. Environmental Protection Agency. NPDES General Permit for Storm Water Discharges from Construction Activities-Fact Sheet. U.S. EPA. January 2005.

U. S. Environmental Protection Agency. Federal Environmental Requirements for Construction. U.S. EPA.

Watershed Approach to Stream Health (WASH) Partners. Erosion and Sediment Control Guidebook. WASH‐Boulder County, Colorado.

Standard Operating Procedures (SOPs) for:

Construction Site Inspections

Purpose of SOP: To assure that construction sites do not lack adequate stormwater controls, so they do not significantly contribute sediment to nearby water bodies.

Location of SOP: Indicate where SOPs are kept- electronic or hard copy.  A hard copy of this SOP is in the Webb City Stormwater Management Plan notebook, located at the Public Works Department.

Administrator of SOP: Indicate who reviews and updates SOPs: Russell Ball and Rick Roth

Standard Operating Procedures/Stormwater Construction Inspection Plan

A Stormwater Construction Site Inspection program is designed by municipalities to track, inspect, and enforce local stormwater requirements at construction sites.

The City has legal authority in place, per the Missouri DNR MS4 Permit, to require sediment and erosion control at construction sites.  This legal authority must require construction site operators “to implement a sediment and erosion control program which includes Best Management Practices that are appropriate for the conditions at the construction site, including efforts to minimize the area of land disturbance.”  The legal authority must also give inspectors the authority to enter the site.

A municipal stormwater Construction Site Inspection program should include or address the following:

- Construction Site Inventory

- A tracking system to inventory projects and identify sites for inspection.

- Track the results of inspection and prioritize sites based on factors such as proximity to waterways, size, slope, and history of past violations.

- Construction Requirements and BMPs

- Municipalities provide contractors with guidance on the appropriate selection and design of stormwater BMPs.

- Plan Review Procedures

- Submitted plans must be reviewed to ensure they address local requirements and protect water quality.

- Construction Site Inspections

- Identify an inspection frequency for each site.

- See more detailed information below.

- Enforcement Procedures

- A written progressive enforcement policy for the inspection program.

- Sanctions, both monetary and non-monetary, shall be utilized to ensure compliance with the program.

- Training and Education

- Municipal staff conducting inspections should receive training on regulatory requirements, BMPs, inspections, and enforcement.

Conducting Stormwater Inspections at Construction Sites

The role of the construction site inspector is to ensure that site operations match the approved site plans and the Stormwater Pollution Prevention Plan (SWPPP) for the project, and that all precautions are taken to prevent pollutants and sediment from the construction site from impacting local waterways.  The inspector is also expected to determine the adequacy of construction site stormwater quality control measures.

The attached Construction Site Stormwater Inspection Report shall be used by the inspector during site visits.  Construction site inspectors should abide by the following guidelines:

- Inspections to monitor stormwater compliance should be performed at least once per month.

- The inspection shall begin at a low point and work uphill, observing all discharge points and any off-site support activities.

- Written and/or photographic records shall be maintained for each site visit.

- During the inspection, the inspector should ask questions of the contractor.  Understanding the selection, implementation, and maintenance of BMPs is an important goal of the inspection process and requires site-specific input.

- The inspector should not recommend or endorse solutions or products.  The inspector may offer appropriate advice, but all decisions must be made by the contractor.

- The inspector shall always wear personal protective equipment appropriate for the site.

- The inspector shall abide by the contractor’s site-specific safety requirements.

- The inspector has legal authority to enter the site.  However, if denied permission to enter the site, the inspector should never force entry.

The Construction Site Inspection process shall include the following:

- Plan the inspection before visiting the construction site

- Obtain and review permits, site plans, previous inspection reports, and any other applicable information.

- Inform the contractor of the planned site visit.

- Meet with the contractor

- Review the Construction SWPPP.  Compare BMPs in the approved site plans with those shown in the SWPPP.

- Get a general overview of the project from the contractor.

- Review inspections done by the contractor.

- Review the status of any issues or corrective actions noted in previous inspection reports.

- Discuss any complaints or incidents since the last meeting.

- Inspect perimeter controls

- Examine perimeter controls to determine if they are adequate, properly installed and properly maintained.

- For each structural BMP, check structural integrity to determine if any portion of the BMP needs to be replaced or requires maintenance.

- Inspect slopes and temporary stockpiles

  - Determine if sediment and erosion controls are effective.

  - Look for slumps, rills, and tracking of stockpiled materials around the site.

- Compare BMPs in the site plan with the construction site conditions.

  - Determine whether BMPs are in place as specified in the site plan, and if the BMPs have been adequately installed and maintained.

  - Note any areas where additional BMPs may be needed which are not specified in the site plans.

- Inspection site entrances/exits

  - Determine if there has been excessive tracking of sediment from the site.

  - Look for evidence of additional entrances/exits which are not on the site plan and are not properly stabilized.

- Inspect sediment basins

  - Look for signs that sediment has accumulated beyond 50% of the original capacity of the basin.

- Inspect pollution and prevention and good housekeeping practices

  - Inspect trash areas and material storage/staging areas to ensure that materials are properly maintained and that pollutant sources are not exposed to rainfall or runoff.

  - Inspect vehicle/equipment fueling and maintenance areas for the presence of spill control measures and for evidence of leaks or spills.

- Inspect discharge points and downstream, off-site areas

  - Walk down the street and/or in other directions off-site to determine if erosion and sedimentation control measures are effective in preventing off-site impacts.

  - Inspect down-slope catch basins to determine if they are protected and identify whether sediment buildup has occurred.

- Meet with the contractor again prior to leaving

  - Discuss the effectiveness of current controls and whether modifications are needed.

  - Discuss possible violations or concerns noted during the site inspection, including discrepancies between the approved site plans, the SWPPP, and/or the implementation of stormwater controls.

  - Agree on a schedule for addressing all discrepancies, and schedule a follow-up inspection.

- Provide a written copy of the inspection report to the contractor.

- Follow up, as determined, and provide copy of subsequent inspection to the contractor.

- Use Stop Work Orders, as needed, until compliance with SWPPP or other regulatory measure.

Webb City Stormwater Pollution Prevention Site Inspection Report

General Information

Project Name: __________________________________________________________________

NPDES MoDNR Permit #: _______________	Physical Location: ________________________

Date of Inspection: _____________		Start/End Time: __________________________

Inspector’s Name: __________________

Inspector’s Contact Information: _____________________

Current Phase Being Inspected: ___________

Type of Inspection:  Regular	Pre-Storm	During Storm	Post-Storm

Weather Information

Date of Most Recent Storm Event: __________________	Approximate Duration (Hrs): _________

Approximate Precipitation Amount (Inches): _____________

Weather at Time of Inspection:    Clear	       Cloudy	Rain	     Sleet 	  Snow

Have any discharges (from the site) occurred since last inspection? 		YES	NO

If YES, describe: _______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Other Comments

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

| NO: | BMP/Activity | Implemented (Yes, No, NA) | Maintenance Required (Yes, No, NA) | Comments |
| --- | --- | --- | --- | --- |
| A | All slopes and disturbed areas not actively being worked are properly stabilized. |  |  |  |
| B | Are natural resource areas (e.g., streams, wetlands, mature trees, etc.) protected with barriers or similar BMPs? |  |  |  |
| C | Are perimeter controls and sediment barriers adequately installed (keyed into substrate) and maintained? |  |  |  |
| D | Are discharge points and receiving waters free of any sediment deposits? |  |  |  |
| E | Are storm drain inlets properly protected? |  |  |  |
| F | Is the construction entrance preventing sediment from being tracked into the street? |  |  |  |
| G | All trash and litter from work site being collected and placed in a covered container? |  |  |  |
| H | All washout facilities (i.e., paint, stucco, concrete, etc.) are available, clearly marked and properly maintained? |  |  |  |
| I | All vehicle and equipment fueling, cleaning and maintenance areas are free of spills, leaks, or any other environmentally detrimental material? |  |  |  |
| J | Are materials that are potential storm water contaminants stored inside or under cover? |  |  |  |
| K | Are non-storm water discharges (e.g., wash water, dewatering) properly controlled? |  |  |  |

Additional BMPs as cited in the Project’s SWPPP

(Note in additional pages)

SWPPP REVIEW CHECKLIST

Project Name: _________________________		Site Address: ____________________________

Project Applicant: ______________________		Contact Person: __________________________

Mailing Address: ________________________		Phone: ___________________________

City, State, Zip: _________________________		Email: _______________________________

SWPPP Prepared By: _____________________		Contact Person: ________________________

Mailing Address: ________________________		Phone: ________________________________

City, State, Zip: __________________________		Email: _________________________________

MS4 SWPPP Reviewer: ______________	Review Date: _________	SWPPP Date: ________

Submittal Date: ______________		Review Date: _________	Approval Date: _______

REQUIREMENTS BASED ON SWPPP TYPE:

YES	NO

○           ○	Basic SWPPP- Sediment and Erosion Control Plan Only

○           ○	Full SWPPP

GENERAL REQUIREMENTS:

YES	NO

- ○           ○	Purpose of Plan and Vicinity Map

- ○           ○	Site Evaluation- Topography & Drainage, Soils, Runoff Water Quality, Receiving

Waters.

- ○           ○	Site Construction Plan- Construction Activities, Construction Sequence

- ○           ○	Stormwater Management Plan- Runoff Coefficient, Project Size, Stabilization                                             			BMPs, Structural BMPs.

- ○           ○	Potential Stormwater Pollutant Sources & Control Measures- Construction Silt

& Dust, Offsite Sediment Tracking, Petroleum Products, Sanitary Wastes,

Hazardous Wastes, Fertilizers, Paints, Concrete Trucks, Construction Waste

Materials, Allowable Non-Stormwater discharges.

- ○            ○	Best Management Practices- Good Housekeeping, Hazardous Materials, Spill

Prevention and Response.

- ○            ○	Inspection, Maintenance and Reporting Procedures- Erosion and Sediment

Controls, Non-Stormwater Controls, Reporting, Sediment and Erosion Control

Inspection Form(s).

- ○            ○	SWPPP Compliance Certification- Contractor Certifications, Engineer’s

Certification

- ○            ○	Project Completion

- ○            ○	Copy of MoDNR General Operating Permit

- ○            ○	Construction Activities Record

- ○            ○	Sediment and Erosion Control Plan

- ○            ○	SWPPP Modification Form(s)

- ○            ○	SWPPP Projected Rainfall Log

- ○            ○	Other review comments on separate sheet

Webb City Stormwater Pollution Prevention Site Inspection Report

General Information

Project Name: __________________________________________________________________

NPDES MoDNR Permit #: _______________	Physical Location: ________________________

Date of Inspection: _____________		Start/End Time: __________________________

Inspector’s Name: __________________

Inspector’s Contact Information: _____________________

Current Phase Being Inspected: ___________

Type of Inspection:  Regular	Pre-Storm	During Storm	Post-Storm

Weather Information

Date of Most Recent Storm Event: __________________	Approximate Duration (Hrs): _________

Approximate Precipitation Amount (Inches): _____________

Weather at Time of Inspection:    Clear	       Cloudy	Rain	     Sleet 	  Snow

Have any discharges (from the site) occurred since last inspection? 		YES	NO

If YES, describe: _______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Other Comments

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

| NO: | BMP/Activity | Implemented (Yes, No, NA) | Maintenance Required (Yes, No, NA) | Comments |
| --- | --- | --- | --- | --- |
| A | All slopes and disturbed areas not actively being worked are properly stabilized. |  |  |  |
| B | Are natural resource areas (e.g., streams, wetlands, mature trees, etc.) protected with barriers or similar BMPs? |  |  |  |
| C | Are perimeter controls and sediment barriers adequately installed (keyed into substrate) and maintained? |  |  |  |
| D | Are discharge points and receiving waters free of any sediment deposits? |  |  |  |
| E | Are storm drain inlets properly protected? |  |  |  |
| F | Is the construction entrance preventing sediment from being tracked into the street? |  |  |  |
| G | All trash and litter from work site being collected and placed in a covered container? |  |  |  |
| H | All washout facilities (i.e., paint, stucco, concrete, etc.) are available, clearly marked and properly maintained? |  |  |  |
| I | All vehicle and equipment fueling, cleaning and maintenance areas are free of spills, leaks, or any other environmentally detrimental material? |  |  |  |
| J | Are materials that are potential storm water contaminants stored inside or under cover? |  |  |  |
| K | Are non-storm water discharges (e.g., wash water, dewatering) properly controlled? |  |  |  |

Additional BMPs as cited in the Project’s SWPPP

(Note in additional pages)

AN ORDINANCE OF THE CITY OF WEBB CITY, MISSOURI, RELATING TO POST-CONSTRUCTION STORMWATER RUNOFF CONTROL REGULATIONS;

SECTION 1. PURPOSE/INTENT.

The intent of this Ordinance is to protect and enhance the water quality of local receiving waters in a manner pursuant to and consistent with the Federal Clean Water Act and also to provide for the health, safety, and general welfare of the citizens of the City through the regulation of non-stormwater discharges to the municipal separate storm sewer system (MS4) according to locally approved standards as required by federal and state law. The objectives of this Ordinance are:

- To regulate the contribution of pollutants to the MS4 by stormwater discharges from construction activity and development;

- To require the construction of locally-approved, permanent post-construction stormwater runoff controls to protect water quality and maintain non-erosive hydrologic conditions downstream of construction activity and development;

- To require responsibility for and long-term maintenance of structural stormwater control facilities and nonstructural stormwater management by the lawful owner; and

- To enable legal authority to carry out all inspection, surveillance, monitoring and enforcement procedures necessary to ensure compliance with this Ordinance.

SECTION 2. POST-CONSTRUCTION.

A) POST-CONSTRUCTION REQUIREMENT OF PERMANENT BMPs.

- Land development that meets the requirements of Section 6 must address stormwater requirements for runoff volume control through the use of permanent BMPs. Permanent BMPs shall be provided for in the drainage plan for any subdivision plat, annexation plat, development agreement, subdivision agreement or other local development plan.

- Structural BMPs located on private property shall be owned and operated by the owner(s) of the property on which the BMP is located; unless the City agrees in writing that a person or entity other than the owner shall own or operate said BMP. As a condition of approval of the BMP, the owner shall also agree to maintain the BMP in perpetuity to its design capacity unless, or until, the City shall relieve the property owner of that responsibility in writing. The obligation to maintain the BMP shall be memorialized on the subdivision plat, annexation plat, development agreement, subdivision agreement or other form acceptable to the City and shall be recorded with the City Public Works Department.

B) CERTIFICATION OF PERMANENT BMP'S

Upon completion of a project, and before a certificate of occupancy shall be granted, the City shall be provided a written certification stating that the completed project is in compliance with the approved Final Stormwater Plan. All applicants are required to submit "as built" plans for any permanent BMPs once final construction is completed and must be certified by a professional engineer. A final inspection by the City of all Post-construction BMPs shall be required before a Certificate of Occupancy will be issued or any public infrastructure is accepted.

C) ONGOING INSPECTION AND MAINTENANCE OF PERMANENT BMPS.

- The owner of site must, unless an on-site stormwater management facility or practice is dedicated to and accepted by the City, execute an inspection and maintenance agreement, that shall be binding on all subsequent owners of the permanent BMPs.

- Permanent BMPs included in a Final Stormwater Plan which are subject to an inspection and maintenance agreement must undergo ongoing inspections to document maintenance and repair needs and to ensure compliance with the requirements of the agreement, the plan and this Ordinance.

SECTION 3. TECHNICAL STANDARDS, SPECIFICATIONS, AND GUIDANCE.

All BMPs designed to meet the requirements of this Ordinance shall reference the appropriate technical standards, specifications and guidance as follows:

- Webb City Erosion Prevention and Sediment Control Guidelines;

- National Menu of Stormwater Best Management Practices

- Greene County Design Standards Section 115 Water Quality Protection

- Any other alternative methodology approved by the City, which is demonstrated to be effective.

SECTION 4. WATER QUALITY PROTECTION

The City will require water quality protection considerations in both construction and post-construction phases, including the implementation and inspections of both structural and non-structural BMPs.

SECTION 5. SUBMISSIONS FROM THE GENERAL PUBLIC.

The City will consider information from the public as it pertains to the implementation and enforcement of this Ordinance.

SECTION 6. AUTHORIZATION OF ENFORCEMENT PERSONNEL.

The City shall designate appointed personnel with authority to conduct inspections, issue notices of violations and implement other enforcement actions under this

Ordinance as provided by the City.

SECTION 7. RIGHT OF ENTRY AND SAMPLING.

Whenever the City has cause to believe that there exists, or potentially exists, in or upon any premises any condition which constitutes a violation of this Ordinance, the owner or operator shall provide access to the premises at any reasonable time to determine if there exists an actual or potential violation requirements of this Ordinance. In the event that the owner or occupant refuses entry after a request to enter has been made, the City is hereby empowered to seek assistance from a court of competent jurisdiction in obtaining such entry.

The City shall have the right to employ such devices and undertake such an inspection, on or off premises, as are necessary, to determine whether the requirements of this Ordinance are met. The inspection may include, but is not limited to, the following: sampling of any discharge and/or process waters, the taking of photographs, interviewing staff on alleged violations, and access to any and all facilities or areas within the premises that may have any effect on the discharge.

SECTION 8. VIOLATIONS, ENFORCEMENT AND PENALTIES.

It shall be unlawful for any person to violate any provision or fail to comply with any of the requirements of this Ordinance. Any person who violates any of the provisions of this Ordinance, shall be subject to one or more of the enforcement actions outlined in this Section. Any violation or threatened violation may be restrained by injunction or otherwise abated in a manner provided by law.

In the event the violation constitutes an immediate danger to public health or public safety, the City representative is authorized to enter upon the subject private property, without giving prior notice, to take any and all measures necessary to abate the violation and/or restore the property. The City is authorized to seek costs of abatement as outlined in Section 14 F.

A. Compliance Directive.

In addition to any other remedy available to the City, City inspectors may issue compliance directives at the time of inspection to require a person to implement actions that will correct any violation of this Ordinance.

B. Notice of Violation.

Whenever the City finds that a person has violated a prohibition or failed to meet a requirement of this Ordinance, the authorized enforcement agency may order compliance by written notice of violation to the responsible person. Such notice may require without limitation:

a. The performance of monitoring, analyses, and reporting;

b. The elimination of illicit connections or discharges;

c. That violating discharges, practices, or operations shall cease and desist;

d. The abatement or remediation of stormwater pollution or contamination

hazards and the restoration of any affected property; and

e. Payment of a fine to cover administrative and remediation costs; and

f. The implementation of source control or treatment BMPs.

If abatement of a violation or the restoration of affected property is required, the notice shall set forth a deadline within which such remediation or restoration must be completed. Said notice shall further advise that, should the violator fail to complete the remediation or restoration within the established deadline, the work may be done by the authorized enforcement agency or its designee and the expense thereof shall be charged to the violator.

C. Appeal of Notice of Violation.

Any person receiving a Notice of Violation may appeal the determination of the authorized enforcement agency. The notice of appeal must be received within 10 days from the date of the Notice of Violation. Hearing on the appeal before the appropriate authority or its designee shall take place within 15 days from the date of receipt of the notice of appeal. The decision of the municipal authority or their designee shall be final.

D. Enforcement Measures after Appeal.

If the violation has not been corrected pursuant to the requirements set forth in the

Notice of Violation, or, in the event of an appeal, within 10 days of the decision of the municipal authority upholding the decision of the authorized enforcement agency, then representatives of the authorized enforcement agency and its designees are authorized to enter upon the subject private property and are authorized to take any and all measures necessary to abate the violation and/or restore the property. It shall be unlawful for any person, owner, agent or person in possession of any premises to refuse to allow the City or designated agent to enter upon the premises for the purposes set forth above.

E. Stop work order.

Whenever the City determines that any activity is occurring which is not in compliance with the requirements of this Ordinance, the City may order such activity stopped upon service of written notice upon the owner and/or operator responsible for or conducting such activity. Such owner and/or operator shall immediately stop all activity until authorized in writing by the City to proceed. If the appropriate owner and/or operator cannot be located, the notice to stop shall be posted in a conspicuous place upon the area where the activity is occurring. The notice shall state the nature of the violation. The notice shall not be removed until the violation has been cured or authorization to remove the notice has been issued by the City. It shall be unlawful for any owner and/or operator to fail to comply with a stop work order.

F. Cost of Abatement of the Violation.

If the authorized enforcement agency abates a violation, then within 10 days after abatement of the violation, the owner of the property will be notified of the cost of abatement, including administrative costs. Such notice shall be given by personal delivery or by mail to the last known address of the owner as shown in the records of the County Assessor. Such notice shall be effective upon the date of mailing or personal delivery. The property owner may file a written protest objecting to the amount of the assessment within 10 days of the effective date of the notice. If no protest is filed, then the charges shall become due and payable on the date set forth in the notice, which date shall be after the expiration 'of the time in which to file an appeal, and such charges shall become a special assessment against the property and shall constitute a lien on the property for the amount of the assessment. In the event a protest is filed, a hearing on such protest shall be held before the appropriate authority or its designee within 15 days from the date of receipt of the written protest. If any charges are upheld upon completion of such hearing, then such charges shall become due and payable 10 days after the issuance of the order upon such protest and if not timely paid, such charges shall become a special assessment against the property and shall constitute a lien on the property for the amount of the assessment. Such charges may also be recovered in a civil action against the owner or other person in control of the premises for which such charges were incurred, and any person violating any of the provisions of this Ordinance shall be liable to the City for all costs, fees, charges and expenses, including but not limited to administrative costs and legal fees and costs, by reason of such violation.

G. Civil Penalties.

In the event the alleged violator fails to take the remedial measures set forth in the notice of violation or otherwise fails to cure the violations described therein within 10 days after the City has taken the actions described above, the City may impose a penalty not to exceed $500 (depending on the severity of the violation) for each day the violation remains un-remedied after the receipt of the notice of violation.

H. Criminal Penalties; Enforcement Costs.

Any person who violates any provision of this Ordinance shall be liable to criminal prosecution to the fullest extent of the law, and shall be subject to a criminal penalty of up to $500 dollars per violation per day and/or imprisonment for a period of time not to exceed one year.

The City may recover all attorneys' fees court costs and other expenses associated with enforcement of this Ordinance, including sampling and monitoring expenses.

I. Injunctive Relief.

The authorized enforcement agency may petition for a preliminary or permanent injunction restraining any person from undertaking any activities which would result in a violation or continued violation of this Ordinance, and may seek mandatory injunctive relief compelling the person to perform abatement or remediation of any violation of this Ordinance.

J. Violations Deemed a Public Nuisance.

In addition to the enforcement processes and penalties provided herein, any condition caused or permitted to exist in violation of any of the provisions of this

Ordinance is a threat to public health, safety, and welfare, and is declared and deemed a nuisance, and may be summarily abated or restored at the violator's expense, or may be subject of a civil action to abate, enjoin, or otherwise compel the cessation of such nuisance.

K. Remedies Not Exclusive.

Except as expressly provided above, the remedies in this Section are cumulative and the exercise of anyone or more remedies shall not prejudice any other remedies that may otherwise be pursued for a violation of this Ordinance. The remedies listed in this Ordinance are not exclusive of any other remedies available under any applicable federal, state or local law and it is within the discretion of the authorized enforcement agency to seek cumulative remedies.

SECTION 9. ACTION WITHOUT PRIOR NOTICE.

Any person who violates a prohibition or fails to meet a requirement of this Ordinance will be subject, without prior notice, to one or more of the enforcement actions identified in Section 14, when attempts to contact the person have failed and the enforcement actions are necessary to stop an actual or potential discharge which presents or may present imminent danger to the environment, or to the health or welfare of persons, or to the MS4.

SECTION 10. OTHER LEGAL ACTION.

Notwithstanding any other remedies or procedures available to the City, if any person discharges into the MS4 in a manner that is contrary to the provisions of this Ordinance, the City Attorney may commence an action for appropriate legal and equitable relief including damages and costs in the County Court. The City Attorney may seek a preliminary or permanent injunction or both which restrains or compels the activities on the part of the discharger.

SECTION 11. REPEAL

Any other ordinances, parts of ordinances, or resolutions of the City of Webb City in conflict herewith are hereby repealed.

SECTION 12. EFFECTIVE DATE

This ordinance shall take effect and be in force from and after its passage, approval, and publication as required by law.

*The only proposed change to our current ordinance is found in Letter C, Section 3. Technical Standards, Specifications, and Guidance.  We are asking for the adoption of the Green County Design Standards Section 115 Water Quality Protection, as required by the DNR as a result of their June 2020 audit of our program.  They felt that we were not sufficient in our standards as it related to water quality issues in post-construction.

Greene County Design Standards - Adopted April 5, 1999

SECTION 115 - WATER QUALITY PROTECTION

SECTION 115 - WATER QUALITY PROTECTION

115.1 PURPOSE

115.2 GENERAL DESIGN GUIDELINES

115.3 REQUIREMENTS

115.4 DESIGN CRITERIA

115.4.1 Water Quality Capture Volume

115.4.2 Directly Connected Impervious Area (DCIA)

115.4.3 Vegetative Filter Strips

115.4.4 Grass Swales

115.4.5 Extended Dry Detention Basins

115.4.6 Extended Wet Detention Basins

115.4.7 Sand Filters

115.4.8 Other Structural BMPs

115.5 OPERATION AND MAINTENANCE

115.6 REFERENCES

Figure 115.1 Examples of Minimizing Directly Connected Impervious Areas

Figure 115.2 Vegetative Filter Strip

Figure 115.3 Typical Grass-Lined Swales

Figure 115.4 Extended Dry Detention Basin - Dam & Outlet

Figure 115.5 Trickle Channel for Extended Dry Detention Basin

Figure 115.6 Extended Dry Detention - Schematic Plan & Section

Figure 115.7 Extended Wet Detention - Schematic Plan & Section

Figure 115.8 Sand Filter Schematic

SECTION 115 - WATER QUALITY PROTECTION

115.1 PURPOSE

This section covers the design of Best Management Practices (BMPs) to minimize the adverse effects of urban stormwater runoff on the quality of receiving waters. This policy applies only to developments in the residential, commercial, office, and manufacturing (R, C, O, and M) zoning districts and Plot Assignment Districts (P.A.D.’s) or other special zoning districts meeting or exceeding the development densities allowed in the R, C, O, and M districts. It does not apply to A-R, Agriculture-Residential District or the A-1, Agriculture District.

The Greene County Northeast Development Plan identifies Fulbright Spring and Pierson Creek as valuable resource waters which are sources of the community’s water supply. The Northeast Plan, as well as the Short Range Recommendations of the Watershed Task Force endorsed by the County Commission in September 1996, call for protection of these water resources by implementing the recommendations of the 1995 Fulbright Spring Protection Study (Reference 115.1). The requirements of this section will apply to all new developments in these watersheds.

As the role which urban runoff from the Springfield metropolitan area plays in the quality of the James River and Table Rock Lake becomes better understood, it is anticipated that water quality requirements will be extended to watersheds of the James River and its tributaries.

It is recognized that specific water quality standards, other than those contained in the Missouri Clean Water Laws, have not been developed or adopted for these receiving waters. The objective of this policy is not to meet specific reductions of targeted pollutants, but rather to provide a generally effective level of pollutant removal by using reasonable, cost effective measures. The goal is to minimize, to the maximum extent practical, adverse impacts on the quality of the receiving waters.

The Role of On-site Water Quality Management Practices

It is important to recognize that the structural Best Management Practices (BMPs) for which design guidance is given in this section represent only one aspect of stormwater quality management. The most effective means of managing stormwater quality lie in overall watershed planning and zoning controls, and other nonstructural practices which are generally beyond the control of an individual development.

The Fulbright Spring study (Reference 115.1) made it clear that a strategy based upon full development in a watershed, with reliance solely upon structural BMP’s to maintain water quality, will not be successful. A combination of non-structural and structural measures was recommended as the best means to manage the impacts of development on water quality.

Data from communities across the country has shown that, as the total impervious area in a watershed exceeds ten to fifteen percent (10-15%), water quality declines unless mitigative measures are taken. The most important management tool is to limit the impervious area in these watersheds to these values. While these limits may be attainable for the watershed as a whole, they may not be possible for individual development or sub-basins. Structural BMP’s will be required for these developments.

115.2 GENERAL DESIGN GUIDELINES

1. Minimize the amount of runoff.

The total quantity of pollutants transported to receiving waters can be minimized most effectively by minimizing the amount of runoff. Both the quantity of runoff and the amount of pollutant wash-off can be minimized by reducing the amount of directly connected impervious area (DCIA). Impervious areas are considered connected when runoff travels directly from roofs, drives, pavement, and other impervious areas to street gutters, closed storm drains or concrete, or other impervious lined channels. Impervious areas are considered disconnected when runoff passes as sheet flow over grass areas, or through properly designed BMP’s, prior to discharge from the site.

- Maximize contact with grass and soil.

The opportunity for pollutants to settle out is maximized by providing maximum contact with  grass and soil. Directing runoff over vegetative filter strips and grass swales enhances settling of pollutants as the velocity of flow is reduced. Infiltration of runoff into the soil is also increased.

- Maximize holding and settling time.

According to ASCE (Reference 115.2 ), the most effective runoff quality controls reduce the runoff peak and volume. The next most effective controls reduce peak runoff rates only. For small storms the runoff rate should not exceed the pre-project peak flow rate from the fifty percent (50%) AEP (2-year) storm. Most obnoxious pollutants (exceptions include water soluble nutrients and metals) can be settled out.

By reducing the rate of outflow and increasing the time of detention storage, settling of pollutants and infiltration of runoff is maximized.

- Design for small, frequent storms.

Drainage systems for flood control are designed for large, infrequent storm events. In contrast, stormwater quality controls must be designed for small, frequent storm events. In Greene County ninety percent (90%) of all twenty-four (24) hour rainfalls are one inch (1") or less (see Figure 104.3). Most pollutants are washed off in the “first flush”, generally considered the first one-half inch (½”) of runoff.

- Utilize BMP’s in series where possible.

Performance monitoring of BMP’s in Florida, Maryland, and Delaware has shown that the combined effect of providing several BMP’s in a series can be much more effective in reducing the level of pollutants than providing a single BMP at the point of discharge. To the greatest extent practical, runoff should be directed first to vegetative filter strips, then to grass swales or channels, and then to extended detention basins, sand filters, etc.

- Incorporate both flood control and water quality objectives in designs, where practical.

Incorporating both flood control and water quality criteria into a single stormwater management facility is not only possible, but is encouraged. Whenever practical, combining several objectives, such as water quality enhancement and flood control, maximizes the cost- effectiveness of stormwater management facilities.

115.3 REQUIREMENTS

The following requirements will apply to any new development within the Fulbright Spring or Pierson Creek watersheds:

1) Stormwater runoff from any new development for which the total impervious area exceeds ten percent (10%) of the total land area of the development,must be directed through an extended wet or dry detention basin, or other properly designed BMP, prior to discharge from the site.

2) Runoff from fueling areas and other areas having a high concentration of pollutants will be required to be directed to a sand filter or other properly designed BMP which provides filtration as well as settling.

3) The required volume for capture and treatment shall be designed as the water quality 	capture volume (WQCV), and shall be determined as set forth in Section 115.4.1.

4) Detention storage must be provided to limit the peak flow rate from the fifty percent (50%) AEP (2-year) storm to pre-project values. Detention facilities for peak flow control shall be designed as set forth in Section 112.

115.4 DESIGN CRITERIA

115.4.1 Water Quality Capture Volume

Water quality BMPs shall be designed to capture the runoff from the 90th percentile rainfall for Greene County as well as to capture the first flush of pollutants from directly connected impervious areas within the proposed development.

The required water quality capture volume (WQCV) to be used in design of extended wet and dry detention basins and other BMPs whose design is based upon capture and treatment of storm water, shall be the greater of the following:

1) the first one-half inch (½") of runoff from the directly connected impervious area (DCIA) in the development, or

2) the runoff resulting from total rainfall depth of one inch (1") in twenty-four (24) hours over the entire development.

115.4.2 Directly Connected Impervious Area (DCIA)

Impervious areas are considered connected when runoff travels directly from roofs, drives, pavement, and other impervious areas to street gutters, closed storm drains or concrete, or other impervious lined channels. Connected and disconnected impervious areas are illustrated in Figure 115.1.

In order for an impervious area to be considered disconnected, runoff from the area must pass through a vegetative filter strip or other BMP meeting the requirements set forth in this section.

For determining the amount of impervious area , the following assumptions shall apply in the absence of more detailed data:

Single Family Lots

Average roof area: 			2500 square feet

Average drive area: 			800 square feet

Average impervious area per lot: 	3500 square feet

If gutter downspouts are directed to drain toward lawn areas, seventy-five percent (75%) of the roof area shall be considered disconnected.

Duplexes and Patio Homes

Average roof area: 			2500 square feet

Average drive area: 			1600 square feet

Average impervious area per lot: 	4500 square feet

If gutter downspouts are directed to drain toward lawn areas, seventy-five percent (75%) of the roof area shall be considered disconnected.

Multi-Family, Commercial and Other Areas

The amount of impervious area contained in multi-family, commercial, office and manufacturing developments shall be determined based upon the site plan for the development.

115.4.3 Vegetative Filter Strips

Vegetative filter strips consist either of areas of undisturbed vegetation in good condition, including trees, grass, sod or other vegetative cover which meets the objectives for this BMP, or areas where new vegetation has been established. Vegetative filter strips shall be provided in areas of sheet flow only. The hydraulic loading for filter strips shall not exceed 0.05 cfs per lineal foot of filter strip length for the fifty percent (50%) AEP (2-year) storm (equal to the runoff per unit width from a four hundred feet (400') length of impervious area).

The minimum width of the filter strip shall not be less than twenty percent (20%) of the length of the sheet flow from the upstream impervious surface, and in no case shall be less than six feet (6'). The slope along the width of the filter strip shall not exceed 4:1 (25%).

Typical details for vegetative filter strips are shown in Figure 115.2.

115.4.4 Grass Swales

Grass swales may be provided to convey runoff from vegetative filter strips and impervious areas to BMP’s designed for capture and temporary storage of runoff. Design criteria for grass swales shall be as follows:

Maximum side slopes: 4:1.

Maximum longitudinal slope: 5%.

Minimum longitudinal slope: 1%.

Maximum velocity: 2 feet per second for peak flow from the 50% AEP (2-year) storm.

Roughness coefficients for use in the design of grass swales shall be determined as set forth in Section 111.4.2.

Grass swales shall be lined with sod or seeded and covered with suitable erosion control blanket and mulch.

Typical details for grass swales are shown in Figure 115.3.

115.4.5 Extended Dry Detention Basins

Extended dry detention basins may be provided to capture and provide temporary storage for the required water quality capture volume. Extended dry detention basins shall be placed outside of the primary watercourses which allow off-site flows to pass through the development (i.e., “offline”) where possible.

Design criteria for extended dry detention basins shall be as follows:

Volume: Minimum volume shall be one hundred and twenty-five percent (125%) of the required water quality capture volume (WQCV). Detention basins for water quality may be combined with detention basins for flood control. Effects of the WQCV may be considered in the design for flood control.

Drain time: The WQCV shall be released over a minimum period of forty (40) hours and a maximum period of seventy-two (72) hours.

Outlet structure: Outlet structures shall consist of a perforated riser pipe, outlet pipe and gravel filter material as shown in Figures 115.4 and 115.5. The minimum allowable riser pipe diameter is eight inches (8"). The riser pipe shall be connected to an outlet pipe of equal of greater diameter. The outlet pipe shall have adequate capacity to carry the maximum rate of flow from the riser pipe. Material for the riser pipe shall be Schedule 40 PVC, ductile iron, or corrugated, galvanized metal.

A removable cap shall be provided at the top of the riser pipe. The cap shall have a one inch (1") diameter hole for air relief.

The outlet pipe shall be bedded in firmly compacted clay, free of stones. For dams exceeding ten feet (10') in height, an anti-seep collar shall be provided around the pipe.

Number of rows of perforations, number of perforations per row and diameter of perforations for the riser pipe shall be specified on the plans. Perforation pattern shall be determined based upon orifice calculations to provide for release of the WQCV over the specified time. Perforations shall meet the following requirements:

Minimum perforation diameter: 	1/4 inch

Maximum perforation diameter: 	1 inch

Minimum number of holes per row: 	4

Maximum number of holes per row: 	8

Minimum row spacing: 			4 inches

Maximum row spacing: 			12 inches

Freeboard: Where the basin is to be utilized as a water quality BMP only, twelve inches (12") minimum freeboard shall be provided above the WCQV.

Forebay: It is preferred that a forebay be provided to dissipate energy from incoming flows and to trap settleable sediment entering the basin. The forebay should be separated from the remainder of the basin by an earth dike meeting the requirements of Section 112.6.2. The top of the dike shall be set six inches (6") above the stage of the WQCV. Outflow from the forebay to the basin shall be through a gravel filter meeting the requirements of Section 114.5.2 (Figure 114.07A). The top of the gravel filter shall be set equal to the stage of the WQCV.

The volume of the forebay shall be a minimum of ten percent (10%) and a maximum of twenty percent (20%) of the WQCV. The volume of the forebay is considered to be part of the required WQCV, not additional volume.

General construction requirements: The optimal length to width ratio for a water quality detention basin is four (4). The length to width ratio should be no less than two (2). The minimum allowable length to width ratio is one (1). Side slopes, dams or dikes, and retaining walls shall meet the requirements of Section 112.6.

Overflow spillways: Where the basin is to be utilized as a water quality BMP only, a spillway or outlet structure meeting the requirements of Section 112.6.5 and capable of passing the peak flow from a 1% AEP (100-year) storm for the drainage area upstream of the basin, shall be provided. The lowest point on the spillway or outlet structure shall be set at the top of the WCQV.

Trickle channels: Trickle channels shall be provided to provide grade control and to minimize chronic wet areas. Trickle channels shall be constructed of six inch (6") stone or other porous medium. A typical trickle channel cross section is shown in Figure 115.6.

A typical plan and section for extended dry detention basins are shown in Figure 115.7.

115.4.6 Extended Wet Detention Basins

Extended wet detention basins may be provided to capture and provide temporary storage for the required water quality capture volume. Extended wet detention basins shall be placed outside of the primary watercourses which allow off-site flows to pass through the development (i.e., “offline”) where possible.

Design criteria for extended wet detention basins shall be the same as for extended dry detention basins, with the following exceptions:

The volume of the permanent pool should not be less than 1.0 to 1.5 times the WQCV.

A bench area (littoral zone) with a width of ten feet (10') shall be provided as shown in Figure 115.8. It is preferred that emergent aquatic vegetation be provided in this zone.

It is recommended that a minimum of twenty-five percent (25%) of the WQCV be provided in the upper eighteen inches (18") of depth. A maximum of fifty percent (50%) of the permanent pool volume shall be provided in the upper eighteen inches (18") of depth.

Depth of the principal portion of the permanent pool shall be a minimum of four feet (4').

It is preferred that a forebay meeting the same requirements as specified for dry detention basins, be provided.

Where perforated riser pipes are not encased in gravel, only corrugated metal or ductile iron pipe may be used.

Typical details for extended wet detention basins are shown in Figure 115.8.

115.4.7 Sand Filters

Runoff from fueling plazas, vehicle maintenance areas, solid waste storage or transfer areas, and other areas having potentially high concentrations of contaminants shall be passed through a sand filter prior to discharge to receiving waters.

Total impervious area draining to a sand filter will generally be one (1) acre or less. Sand filters shall be provided with a sedimentation chamber and a filtration chamber. Design of sand filters shall be based upon the Austin, Texas first flush filtration basin (full sedimentation design) as described in Debo and Reese pp. 596-598 (Reference 115.7). A schematic cross section of a sand filter is shown in Figure 115.9.

115.4.8 Other Structural BMPs

Constructed wetlands, porous pavements and other structural BMPs for which detailed design criteria can be documented in generally accepted literature can be provided in addition to, or in lieu of, the BMPs described above, provided the objectives of this section can be met. The use of infiltration basins and trenches is discouraged due to possible adverse impacts on groundwater.

115.5 OPERATION AND MAINTENANCE

Greene County provides no maintenance of water quality BMPs located on private property. Maintenance must be provided by the owner of the property upon which the BMP is located.

Extended detention basins and wetlands or other “capture and storage” BMPs shall be located within a single lot or property, within a designated drainage easement. Where BMPs are located in common areas or adjoining off-site areas, the property upon which the BMP is located shall remain in the ownership of the developer or property owners’ association.

Where a property owners’ association is formed, restrictive covenants which provide for collection of fees for maintenance of the BMPs shall be filed in the office of the Greene County Recorder of Deeds. Restrictive covenants must be approved by the County legal counselor prior to filing of the final plat.

115.6 REFERENCES

1. Wright Water Engineers, Fulbright Spring Protection Study, Watershed Committee of the Ozarks, Springfield, Missouri, 1995.

2. American Society of Civil Engineers, Manuals and Reports of Engineering Practice No. 77 (WEF Manual of Practice FD-20), Design & Construction of Urban Stormwater Management Systems, Chapter 12. American Society of Civil Engineers, New York, NY, 1992.

3. Urban Drainage and Flood Control District, Urban Storm Drainage Criteria Manual, Volume 3, Best Management Practices, Urban Drainage and Flood Control District, Denver, CO, 1992.

4. Schueler, T., Site Planning for Urban Stream Protection, Center for Watershed Protection and Metropolitan Washington Council of Governments, Washington, DC, 1995.

5. Schueler, T., Controlling Urban Runoff, A Practical Manual for Planning and Designing Urban BMPs, Metropolitan Washington Council of Governments, Washington, DC, 1987.

6. Jones, J.E. and Roesner, L.A., Urban Stormwater Quality Management, Course Notes, American Society of Civil Engineers Continuing Education Services, New York, NY, 1991.

7. Debo, T.N. and Reese, A.J., Municipal Stormwater Management, Chapter 13, Lewis Publishers, Boca Raton, FL, 1995.

8. Missouri Department of Natural Resources and Missouri Department of Conservation, and Conservation Federation of Missouri, Volunteer Water Quality Monitoring Program Training Manual, Jefferson City, MO, 1995.

9. Bullard, L., Water Resources of Greene County, Watershed Committee of the Ozarks, Springfield, MO, 1997.

10. U.S. Environmental Protection Agency, Final Report of the Nationwide Urban Runoff Program, Executive Summary, Water Planning Division, USEPA, Washington, DC, 1983.

- Design Standard Drawings Attached in pdf

Post Construction Stormwater

Management Plan Requirements

Table of Contents

- INTRODUCTION

  - Purpose

  - Applicability

Table 1: Post-Construction Stormwater Management Plan (PCSMP) Applicability

- POST-CONSTRUCTION STORMWATER MANAGEMENT PLAN SUBMITTAL REQUIREMENTS

  - Post-Construction Stormwater Management Plan

  - Post-Construction Management Plan Sheets

  - Post-Construction Best Management Practices Maintenance Requirements

  - Maintenance Agreement and Easement

  - BMP Final Inspection

- DEVELOPMENT OF POST-CONSTRUCTION STORMWATER MANAGEMENT PLAN

  - Site Evaluation

  - BMP Selection

- ROUTINE MAINTENANCE AND TASKS SCHEDULE

- INTRODUCTION

  - Purpose

With new land development and urban redevelopment, stormwater management has become an issue of great importance. With increasing amounts of impervious cover, there is a corresponding increase in stormwater runoff volumes, and an increase in the quantity of pollutants carried by runoff. Therefore, post construction stormwater management is critical for protection of property and environmental quality. To mitigate stormwater issues related to land development, there are measures that can be taken to reduce the impacts of increased imperviousness.

The purpose of this document is to provide guidance and clarity for development of and submittal of a Post‐Construction Stormwater Management Plan, in order to meet requirements, set forth in Section 250-260 of the Webb City Municipal Code. These requirements mandate the incorporation of Post Construction Stormwater Best Management Practices (PCBMPs) in new developments and redevelopments for water quality control of stormwater runoff.

  - Applicability

Stormwater requirements stated in Section 250-260 of the Webb City Municipal Code applies to new land development and significant redevelopment that discharge to the Municipal Separate Storm Sewer System (MS4). New land development includes areas not previously built to urban uses (including but not limited to farmland, pasture, woodland, and green space).

Significant redevelopment includes areas that are currently built to urban and suburban land uses, and are being revitalized with rehabilitation of existing structures, or demolition of existing structures and construction of new ones. Table 1 describes how the requirements are applied to different developments.

| Table 1: Post-Construction Stormwater Management Plan (PCSMP) Applicability |  |
| --- | --- |
| Development | Requirement |
| - For all developments with a preliminary plat approved by City Council on or after January 1, 2021. - For any re-plat in a preliminarily platted subdivision approved by City Council before January 1, 2021 that significantly increases the amount of impervious area. | PCSMP that includes BMPs, and where reasonably practical, provide water quality control of the first one-half inch of runoff from the site.2 |
| - For all developments with a Preliminary Plat approved by City Council before January 1, 2021, with a significant redevelopment that disturbs 1 acre or more and does not require preliminary platting. | PCSMP that includes BMPs, and where reasonably practical, provide water quality control of the first one-half inch of runoff from the site.2 |
| - Significant redevelopment that adds or replaces less than 1 acre but more than 5,000 SF of impervious surface area1 Includes: - The expansion of a building footprint - Addition or replacement of a structure - Replacement of impervious surface that is not part of a routine maintenance activity | PCSMP that included BMPs. |

1 Redevelopment does not include routine maintenance activities that are conducted to maintain original line and grade, hydraulic capacity, original purpose of facility or emergency redevelopment activity required to protect public health and safety.  2 In all cases where control of the first 0.5 inch of runoff cannot be achieved; the management plan should provide BMPs that maximize control and provide a calculation of amount of control that can be practicably attained.

- POST-CONSTRUCTION STORMWATER MANAGEMENT PLAN SUBMITTAL REQUIREMENTS

Approval of a Post Construction Stormwater Management Plan (PCSMP) will be dependent on the type of development proposed. This criterion is defined in the following paragraphs along with more detailed information on the elements that make up a PCSMP submittal.

The PCSMP shall be prepared by or under the supervision of a licensed professional civil engineer registered in the State of Missouri. The responsible professional shall be listed as the Designer on the Application and will be required to provide a seal on PCSMP sheets and calculations.

2.1 Post Construction Stormwater Management Plan

A PCSMP will be required with the submittal of a (1) storm sewer construction plans for subdivisions that have an approved preliminary plat, (2) a Land Disturbance Permit Application for projects that do not require a preliminary plat and disturb 1 acre or more of the site or (3) submittal of a Building Permit Application for projects that add or replace less than 1 acre but more than 5,000 SF of impervious surface area and shall include the following elements:

a. Post‐Construction Stormwater Management Plan Sheets

b. BMP Calculations

c. Drainage Study

d. BMP Maintenance Requirements

e. Maintenance Agreement (Maintenance Agreement will be required before Final Plat is

approved)

2.2 Post-Construction Stormwater Management Plan Sheets

At a minimum, the PCSMP plan set must include:

- A Site Resources Plan of the development site showing existing natural and aquatic resources along with a description of area or length including:

- Existing topography (5’ minimum contour interval)

- Open waterways or flood plains

- Ponds or lakes

- Green space corridors

- General types of vegetation on site, excluding crops (e.g. tree canopy, turf grass, native

grasses or other buffer, wetlands, etc.)

- Steep slopes

- Utility lines, easements, water supply wells, and sewage treatment systems

2. A Preliminary Drainage and Stormwater BMP Plan of the development site at scale showing:

•Existing topography (2’ minimum contour interval)

•Proposed topography (5’ minimum contour interval)

•Proposed drainage basins for each stormwater BMP labeled with an identifier, runoff

coefficient and drainage basin area (acres)

•Proposed land uses/zoning in each drainage basin

- Location of proposed stormwater conveyance systems such as storm sewer, storm drains, grass channels, vegetated swales, and flow paths

- Proposed areas of fill placement and limits of construction

- Proposed BMPs with an identifier that matches their drainage basin (if more than one)

- Proposed utility lines, easements, water supply wells, and sewage treatment systems

3. Final Construction Plans:

a. Vicinity map

b. Existing utilities and infrastructure

c. Proposed stormwater BMPs including structural components

d. Proposed storm sewer and stormwater conveyance systems

e. Other proposed infrastructure as it relates to the construction of the stormwater

BMPs

f. Construction notes

g. Design water surface elevations

h. Structural details of outlet structures, embankments, spillways, stilling basins,

grade control structures, conveyance channels, etc.

i. Plan and profile sheets (if applicable)

j. Reference to the project geotechnical report

2.3 Post Construction Best Management Practice(s) Maintenance Requirements

The owners of lands on which Post Construction Best Management Practices (PCBMPs) have been installed to meet the requirements of this section, shall ensure the maintenance of these PCBMPs and shall themselves maintain the PCBMPs if other persons or entities who are also obliged to maintained the PCBMPs (by contract or covenant, or pursuant to this section) fail to do so. PCBMPs shall be inspected at least once annually, and a written record of inspection results and any maintenance work shall be maintained. Furthermore, a copy of this inspection record shall be sent to the City.

Annual review and inspection of PCBMPs shall be done by a person adequately trained or certified in stormwater BMP function and maintenance. Information to the Inspector should be provided, annual review and inspection of PCBMPs and the holder of the annual inspection report shall be provided in the Post Construction Management Agreement.

To assure compliance with this section, maintenance requirements for PCBMPs must be documented as part of, or an addendum to, the Post Construction Maintenance Agreement to ensure that the system will function properly. The following elements are required:

Site information, BMP information, description and schedule of maintenance and repair tasks for each PCBMP type.

2.4 Maintenance Agreement and Easement

The applicant or owner is required to execute a Post Construction Maintenance Agreement (PCMA), to be filed on record, binding on all subsequent owners of land served by a private stormwater management facility. Such agreements shall provide for access to the facility, at reasonable times, for inspections by the City or its authorized representative to ensure that the facility is maintained in proper working condition to meet design standards.

Such agreements shall document the responsibilities of the owner, the Homeowner’s Association or other responsible party. The PCMA shall be approved by the City as part of the PCSMP and recorded with the County Recorder’s Office. A sample copy of the Maintenance Agreement can be downloaded at www.webbcity.org/stormwater.

Maintenance Agreement exhibits shall include the following:

Exhibit A – Real Property Depiction – Provide lot certificate or platted subdivision with legal description, or PCSMP plan sheet if that information is contained on a sheet already (11”x17”)

Exhibit B – PCBMP Maintenance Requirements as described in Section 2.5 of this document.

2.5 BMP Final Inspection

Upon construction completion, all stormwater BMPs that are part of the PCSMP shall be subject to a final inspection to insure they are correctly installed and are in an effective working condition prior to release of an approved final inspection and the recordation of the final plat.

- Development of a Post-Construction Stormwater Management Plan

3.1 Site Evaluation

The development of the PCSMP must be initiated in the early stages of site planning and design. However, before a PCSMP can be developed, defining site conditions must be completed by conducting a site assessment. The data collected during the site assessment will be used for describing site conditions, including vegetation, soils and drainage patterns. When this information is obtained, appropriate stormwater BMPs can be selected, located, sized, and designed.

The following data should be collected, to the maximum extent practicable, during the development of the PCSMP:

Natural Resources: The development site’s natural resources, including vegetative communities, soils and geology, and aquatic resources need to be determined to assist in stormwater management plan development and is part of the permit application. Important data includes wetlands, riparian (stream) corridors, native prairie and/or woodland, receiving stream(s), floodplain (if applicable). Natural resources should be assessed by trained professionals.

Site topography: Topography dictates how and where water will drain from a site. On steeper sites, stormwater will runoff more rapidly, with less infiltration and greater volume. Stormwater management requirements are substantially different than for more gently rolling or flat sites.

Soils: Soil information is important for development of the PCSMP, and for optimal planning of the new community. Soil depth, texture (sand, silt, and clay content), and structure are important factors that will provide understanding of infiltration capacity (permeability), ability to support vegetation, and erodibility.

Engineering qualities and limitations of the soil are important for determining where structures can be placed, how stormwater runoff can be managed, and possible limitations for underground utilities. If hydric soils are present, it is important to understand limitations of building in these areas. Much of the information can be obtained from a USDA County Soil Survey, but an on‐site soil assessment is recommended.

Aquatic Resources: The identification of streams, ponds, and lakes as receiving waters and as an integral part of the PCSMP plan is critical. Understanding the function of these water bodies, their current condition, and potential impacts from proposed development may influence your choice of stormwater BMPs. The identification of these resources may also be necessary to comply with local, State and Federal regulations.

NOTE: Some or all of this information may already be part of the SWPPP, if that is the case, the PCSMP may simple reference the SWPPP (section and or page number to satisfy the above section requirements).

3.2 BMP Selection

Quality and properly installed BMPs emulate natural systems by integrating a variety of dispersed treatments at multiple scales, from backyard rain gardens to district‐level bio-retention basins. They are widely applicable in both urban and rural environments. These treatments can be designed into new developments or retrofit into existing community open spaces, parks, road rights‐of‐way, side and rear areas of homes and commercial buildings, rooftops of structurally adequate buildings, below parking lots and in many other settings. All aspects of stormwater management can be integrated to contribute to positive community aesthetics and economics.

Stormwater BMPs include a variety of methods that are simple and practical in design, yet provide effective stormwater management as well as aesthetic enhancements for urban, suburban, and rural landscapes. These methods can be cost effective to build while providing long‐term sustainability for City infrastructure and conservation of Webb City’s water resources.

BMP MAINTENANCE REQUIREMENTS

The project designer shall include the following information as Exhibit B as part of the Maintenance Agreement.

Name & Location

Project Name: _________________________________________________________

Address: _________________________________________________________

Site Data

Total Site Area: ____________________________

Total Disturbed Area: ______________________

Total Undisturbed Area: ___________________

Impervious Area Before Construction: _________________

Impervious Area After Construction: ___________________

BMP Information

The designer shall provide, on the PCSMP plan set, the following information on post‐construction stormwater BMPs:

| BMP ID | TYPE OF BMP | LOCATION OF BMP |
| --- | --- | --- |

- Routine Maintenance and Tasks Schedule

The following tables outline recommended maintenance tasks and suggested frequencies for example BMPs. Delete the lists and tables that are not needed according to the types of BMPs within the development and edit the table according to your site-specific conditions. BMPs may be added as well. Inspection Reports should be completed and kept on file with the Inspector, Owner, or otherwise responsible person. At least one copy of each completed inspection report shall be given to the City for record retention.

| BIORETENTION MAINTENANCE |  |
| --- | --- |
| TASK | SCHEDULE |
| Remove trash and debris | Monthly |
| Check and repair any eroded areas | Monthly |
| Re-mulch any void areas | Monthly |
| Check vegetation and replace any damaged plant materials | Monthly |
| Inspect for ponding, washed out areas, soil conditions | Monthly |
| Perimeter mowing | Monthly |
| Inspect collection system for proper function | Quarterly |
| Reseed grass swales | As Needed |
| Repair broken pipes | As Needed |
| Replace filtration rip rap that is chocked with sediment | As Needed |
| Remove any accumulated sediment | As Needed |

| WET DETENTION BASIN/POND MAINTENANCE |  |
| --- | --- |
| Task | Schedule |
| Remove trash and debris from side slopes | Monthly |
| Outlet/inlet inspection and cleanout | Monthly |
| Check pond side slopes and repair eroded areas | Monthly |
| Basin inspection and cleanout | Inspect once Annually Remove sediment when 25% of permanent pool volume has been lost |
| Inspect for structural damage and leaks | Annually |
| Replace filtration rip rap that is choked with sediment | As needed |
| Repair broken pipes | As needed |
| Remove any accumulated sediment | As needed or as directed above |

| DRY DETENTION BASIN/POND MAINTENANCE |  |
| --- | --- |
| Task | Schedule |
| Remove trash and debris from side slopes | Monthly |
| Outlet/inlet inspection and cleanout | Monthly Clean out as needed |
| Check pond side slopes and repair eroded areas | Inspect Quarterly Repair as needed |
| Basin inspection and cleanout | Inspect once annually Remove sediment when 25% of permanent pool volume has been lost |
| Inspect for structural damage and leaks | Annually |
| Replace filtration rip rap that is choked with sediment | As needed |
| Repair broken pipes | As needed |
| Remove any accumulated sediment | As needed |

| WETLANDS MAINTENANCE |  |
| --- | --- |
| Task | Schedule |
| Remove any invasive plants | Monthly |
| Remove trash and debris from Outlet/inlet areas | Monthly Clean out as needed |
| Check wetlands side slopes and repair eroded areas where vegetation has been lost | Inspect Quarterly Repair as needed |
| Inspect for structural damage and leaks | Annually |
| Replace filtration rip rap that is chocked with sediment | As needed |
| Repair broken pipes or risers | As needed |
| Remove any accumulated sediment | As needed |

| GRASSED SWALE/CHANNEL MAINTENANCE |  |
| --- | --- |
| Task | Schedule |
| Remove trash and debris | Monthly |
| Stabilization of eroded areas | Monthly |
| Mowing | Monthly or as needed |
| Check outlet pipes (if present) for clogging | Monthly |
| Check flow dispersion device for accumulated sediment that can cause formation of subchannels | Monthly |
| Re-seed | As needed |
| Remove any accumulated sediment | As needed |

| FLOW LEVEL SPREADER/DISSIPATER BLOCKS MAINTENANCE TASK AND SCHEDULE |  |
| --- | --- |
| Task | Schedule |
| Remove trash and debris | Monthly |
| Inspect for undercutting | Monthly |
| Inspect for settlement | Monthly |
| Inspect and replace degraded or eroded rip rap or stone | Monthly |
| Check flow dispersion/dissipater device for accumulated sediment that can cause formation of subchannels | Monthly Repair-replace as needed |

| PERMEABLE PAVERS OR PAVEMENT MAINTENACE TASK AND SCHEDULE |  |
| --- | --- |
| Task | Schedule |
| Inspect and remove accumulated sediment from pavement surface | Monthly As needed |
| Inspect and clean pavement of accumulated oil or grease | Monthly As needed |
| Spray vegetation and moss with herbicide | Monthly As needed during growing season |
| Vacuum/sweep surface | Annually |
| Inspect for deterioration | Annually |
| Verify surface infiltration after storms | Annually |

CITY OF WEBB CITY MISSOURI POST CONSTRUCTION STORMWATER MANAGEMENT PLAN MAINTENANCE AGREEMENT AND EASEMENT

WHEREAS, The Property Owner recognizes that Post Construction Stormwater Best Management Practices (hereinafter referred to as the PCBMPs) must be maintained for

the development called _____________________, located in the jurisdiction of the City

of Webb City, Missouri; and,

WHEREAS, the Property Owner (whether one or more) is the owner of real property described on Exhibit “A” (hereinafter referred to as “the Property”); and,

WHEREAS, the City of Webb City, Missouri, (hereinafter referred to as “the City”) requires the Property Owner, and its administrators, executors, successors, heirs, or assigns, agree that the health, safety and welfare of the citizens of the City require that the PCBMPs be constructed and maintained on the property; according to guidelines set forth in the Post Construction Stormwater Management Plan, (hereinafter referred to as “PCSMP”).

NOW, THEREFORE, in consideration of the foregoing premises, the covenants contained herein, and the following terms and conditions, the Property Owner agrees as follows:

- The PCBMPs shall be constructed by the Property Owner in accordance with the PCSMP, which has been reviewed and approved by the City.

- The Property Owner must develop and provide the “BMP Maintenance Requirements”, attached here to as Exhibit “B”, which have been reviewed and approved by the City. The BMP Maintenance Requirements shall describe the specific maintenance practices to be performed for the PCBMPs and include a schedule for implementation of these practices. The PCSMP and the BMP Maintenance Requirements shall indicate that the PCBMPs shall be inspected for function, condition and maintenance at least annually to ensure that it is operating properly. A written record of inspection results and any maintenance work shall be submitted by the Property Owner to the City on an annual basis.

- The Property Owner, its administrators, executors, successors, heirs, or assigns, shall construct and perpetually operate and maintain, at its sole expense, the facilities in strict accordance with the attached BMP Maintenance Requirements as approved by the City.

- The Property Owner, its administrators, executors, successors, heirs, or assigns hereby grants permission to the City, its authorized agents and employees, to enter upon the property and to inspect the facilities whenever the City deems necessary. The City shall provide the Property Owner copies of the inspection findings and a directive to commence with the repairs if necessary.

Property Owner will be required to provide, within seven (7) calendar days, a written response addressing what actions will be taken to correct any deficiencies and provide a schedule of repairs within a reasonable time frame. Whenever possible, The City shall provide notice prior to entry.

- The Property Owner, its administrators, executors, successors, heirs, or assigns, agree that should it fail to correct any defects in the PCBMPs within a reasonable time frame agreed to in the response by the Property Owner for corrective actions, or shall fail to maintain the structure in accordance with the attached BMP Maintenance Requirements and with the law and applicable executive regulation or, in the event of an emergency as determined by the City or its designee in its sole discretion, the City or its designee is authorized to enter the property to make all repairs, and to perform all maintenance, construction and reconstruction as the City or its designee deems necessary.

The City or its designee shall have the right to recover from the Property Owner any and all reasonable costs the City expends to maintain or repair the PCBMP(s) or to correct any operational deficiencies subject to the provisions of the immediately preceding sentence relating to negligence or intentional acts of the City. Failure to pay the City or its designee all of its expended costs, after sixty days written notice, shall constitute a breach of the agreement. The City or its designee shall thereafter be entitled to bring an action against the Property Owner to pay, or foreclose upon the lien hereby authorized by this agreement, against the property, or both. Interest, collection costs, and reasonable attorney fees shall be added to the recovery to the successful party.

The Property Owner shall not obligate the City to maintain or repair the PCBMP(s), and the City shall not be liable to any person for the condition or operation of the PCBMP(s).

- The Property Owner, its administrators, executors, successors, heirs, or assigns, hereby indemnify and hold harmless the City and its authorized agents and employees for any and all damages, accidents, casualties, occurrences or claims that may arise or be asserted against the City from the construction, presence, existence, repair or maintenance of the PCBMP(s). In the event a claim is asserted against the City, its authorized agents or employees, the City shall promptly notify the Property Owner and the Property Owner shall defend at its own expense, by an attorney of the choosing of the City, any suit based on such claim unless due solely to the negligence of the City in which event the City shall be required to defend any such suit at its own expense.

Notwithstanding the foregoing, if any claims are made against both the City and the Property Owner, each will be required to defend any such suit or claim against it at its own expense. Each shall be responsible for payment of any recovery to the extent determined in such suit.

If any judgment or claims against the City, its authorized agents or employees shall be allowed, the Property Owner shall pay for all costs and expenses in connection herewith except to the extent of the negligence or intentional act of the City.

- The Property Owner shall not in any way diminish, limit, or restrict the right of the City to enforce any of its regulations or ordinances as authorized by law.

- This Agreement shall be recorded at the Jasper County’s Recorders office in Carthage, Missouri and shall constitute a covenant running with the land and shall be binding on the Property Owner, its administrators, executors, successors, heirs, or assigns, including any homeowners or business association and any other successors in interest.

IN WITNESS THEREOF, the Property Owner(s) has/have executed this agreement this ____________ day of __________________, 20_____.

________________________________

By: ____________________________________

Its:

STATE OF MISSOURI }

COUNTY OF JASPER  }

I, the undersigned notary public in and for said county in said state, hereby certify that

________________________ whose name as ____________________ of _________________,

a corporation, is signed to the foregoing and who is known to me, acknowledged before me on this day that, being informed of the contents, he/she as such officer and with full authority, executed the same voluntarily for and as the act of said corporation.

Given under my hand this ___________ day of __________, 20_____.

___________________________________

NOTARY PUBLIC

My Commission Expires: ____________________________

Exhibit A

Insert Real Property Description

Exhibit B

Insert PCBMP Maintenance Requirements

Webb City, Missouri

Stormwater- Operations and Maintenance Plan

As required by:

Phase II Municipal Stormwater Permit 40046

Index

Sections

Section 1 	Introduction………………………………………………………………….3

Section 2	O&M Plan Primary Components………………………………………….3

Section 3	O&M Plan Facilities and/or Activities……………………………………..3

  - Stormwater Collection and Conveyance System…………………4

  - Roads, Highways and Parking Lots………………………………..6

  - Vehicle Fleets……………………………………………………...…7

  - Municipal Buildings…………………………………………………..8

  - Parks and Open Space…………………………………………….10

  - Construction Projects………………………………………………11

  - Industrial Activities………………………………………………….11

  - Material Storage Areas, Heavy Equipment Storage Areas and Maintenance Areas…………………………………………………11

  - Flood Management Projects………………………………………12

  - Other Facilities………………………………………………………12

Section 4	Best Management Practices……………………………………………..12

Section 5	Department Responsibility- Summary…………………………………..12

Section 6	Record Keeping and Reporting………………………………………….13

Section 7	Training…………………………………………………………………….13

Section 8	Common Pollutants, Sources and Impacts…………………………….14

Tables

Table 3-1	Stormwater Collection and Conveyance………………………………..4

Table 3-2	Roads, Highways and Parking Lots……………………………………..6

Table 3-3	Vehicle Fleets………………………………………………………………7

Table 3-4	Municipal Buildings…………………………………………………………8

Table 3-5	Parks and Open Spaces…………………………………………………...9

Table 5-1	Department Responsibility……………………………………………….12

Table 8-1	Common Stormwater Pollutants, Sources and Impacts………………14

Appendices

Appendix A	Inspection and Maintenance Checklist………………………………….16

Appendix B	Site Visit Assessment Form…………………...…………………………18

Section 1.  Introduction

Webb City is currently subject to the requirements of the State of Missouri’s Department of Natural Resources Phase II Municipal Stormwater Permit (Phase II Permit).  The Phase II Permit is based on the Federal Clean Water Act which is implemented under the National Pollutant Discharge Elimination System (NPDES).  The Environmental Protection Agency (EPA) has an agreement with the State of Missouri to administer the Phase II Permit to local jurisdictions.

Under the Phase II Permit, Webb City is required to develop and implement a municipal Operations and Maintenance (O&M) Plan to protect water quality and reduce the discharge of pollutants into receiving waters of the state from municipal operations.  Those waters include surface waters, groundwater, and the stormwater collection and conveyance system.

Section 2.  O&M Plan Primary Components

The following five (5) primary components must be addressed by the Operations and Maintenance Plan.

- Develop a Schedule of Municipal Operations and Maintenance Activities.

- Pollution prevention and good housekeeping Best Management Practices (BMPs).

- Schedule of inspections and requirements for record keeping.

- Identify the department responsible for each activity.

- Provide training for employees with primary construction, operations, or maintenance job functions.

Section 3.   O&M Plan Facilities and/or Activities

Webb City’s employees engage in a number of activities that may impact water quality.  This O&M Plan addresses stormwater pollution prevention and good housekeeping practices for the ten (10) facilities and/or activities listed below.

- Stormwater Collection and Conveyance System

- Roads, Highways, and Parking Lots

- Vehicle Fleets

- Municipal Buildings

- Parks and Open Space

- Construction Projects

- Industrial Activities

- Material Storage Areas, Heavy Equipment Storage Areas and Maintenance Areas

- Flood Management Projects

- Other Facilities

Below are detailed descriptions and compliance plans for the ten (10) O&M Plan facilities and/or activities.

  - Stormwater Collection and Conveyance System

Catch basin and roadside ditch inspections are scheduled based on priority areas.  High priority areas will be inspected annually and low priority areas will be inspected every three years on a rotating schedule.  Table 3-1 shows the proposed maintenance schedule and inspection frequencies for the Stormwater Collection and Conveyance System.

Table 3-1

Stormwater Collection and Conveyance-

Schedule and Inspection Frequencies

| Catch Basins: High priority facilities | Annually | Summer |
| --- | --- | --- |
| 1/3 of low priority areas | Year A | Summer |
| 1/3 of low priority areas | Year B | Summer |
| 1/3 of low priority areas | Year C | Summer |
| Roadside Ditches: High priority areas | Annually | Summer |
| 1/3 of low priority areas | Year A | Summer |
| 1/3 of low priority areas | Year B | Summer |
| 1/3 of low priority areas | Year C | Summer |
| Culverts: High priority areas | Annually | Summer |
| 1/3 of low priority areas | Year A | Summer |
| 1/3 of low priority areas | Year B | Summer |
| 1/3 of low priority areas | Year C | Summer |

3.1.a	Responsible Departments

All Webb City Departments that have stormwater collection and conveyance system within their jurisdictional properties are responsible for performing all activities as stated herein.

3.1.b	Vegetation Management

Vegetation management includes maintaining landscaping within swales, infiltration areas, ponds, controlling noxious weeds, pests, and unwanted vegetation growth, etc.

3.1.c	Major Storm Event Inspections

Spot checks for potentially damaged stormwater treatment and flow control facilities will be conducted after major storm events (greater than 10-year recurrence interval rainfall or snowmelt).

3.1.d   Field Inspections

During field inspections, inspectors should utilize the inspection checklists in Appendix A to document the condition of each facility and identify any required maintenance activities.  Any identified maintenance needs should be reported to the responsible department, so that work orders can be developed to complete the repair or cleaning.

The “Inspection and Maintenance Checklist- Stormwater Collection and Conveyance System” (checklist) form in Appendix A should be used during regular inspections to indicate when cleaning or repairs are needed.

3.1.e   Waste Disposal

Waste generated from cleaning of catch basins and other stormwater management and treatment facilities must be disposed of according to the requirements of local and state regulations.  In cases where dangerous or hazardous contamination are suspected, the waste material must be tested to determine the proper disposal method.  Material in catch basins with obvious contamination (unusual color, staining, corrosion, unusual odors, fumes, and oily sheen) should be left in place or segregated from other wastes until testing results can identify the nature of the contaminants.  Contaminated materials must be disposed of at a properly licensed facility.

  - Roads, Highways, and Parking Lots

Webb City is responsible for maintaining city jurisdictional roads, highways, and parking lots, with the exception of roads maintained by the Missouri Department of Transportation.  See Table 3-2 for details.  Pollutants accumulate on roadway surfaces and parking lots from pavement and vehicle wear, atmospheric deposition, and littering.  Hydrocarbons, copper, and other heavy metals are deposited on roads from clutch and break wear, vehicle exhaust, and leaking motor fluids.  Degrading road surfaces, litter, and trash, also add pollutants to stormwater runoff.  Anti-icing chemicals that include acetate can deplete dissolved oxygen, increase conductivity, and increase pH of receiving waters.  Sand used for winter traction can accumulate in the stormwater collection and conveyance system, carrying pollutants into receiving waters.  If properly managed, regular municipal street maintenance activities can have a positive impact on the health of local aquatic resources.

Table 3-2

Roads, Highways, and Parking Lots-

Activity, Frequency and Responsibility

Potential Pollutants: Sediment, Hydrocarbons, Heavy Metals, Toxic Chemicals, Debris/Litter

| Activity | Current Activity | Meets Phase II Requirements | Frequency | Responsibility |
| --- | --- | --- | --- | --- |
| Sweeping major arteries | X | X | Annually | Street Department |
| Sweeping/Cleaning Parking Lots | X | X | Annually | Street Department |
| Sweeping all residential streets | X | X | Annually | Street Department |
| Designated snow disposal areas | X | X | N/A | Street Department |
| Storage of De-icing Liquids | X | X | N/A | Public Works Department |
| Storage of sanding materials | X | X | N/A | Public Works Department |

3.2.a  Street Repair and Maintenance

Street repair and maintenance activities include road surfacing (repairing potholes, sealing cracks, overlaying roads, and paving shoulders), pavement marking, signage and signal repairs, and small construction projects.  The BMPs related to these activities are described below.

3.2.b  Vegetation Management

Vegetation management includes maintaining landscaping for roadway right-of-ways and medians and controlling noxious weeds, pests, and unwanted vegetation growth.

3.3	Vehicle Fleets

Webb City is responsible for maintaining city owned vehicles and equipment in proper working order.  Vehicle maintenance activities have the potential to spill or leak fluids, fuel, or other polluting liquids.  Vehicle washing can also contribute soap, debris, and pollutants into the stormwater collection and conveyance system.  Table 3-3 shows the proposed activity, inspection frequency and responsibility for vehicle fleet areas.

Table 3-3

Vehicle Fleets-

Activity, Frequency and Responsibility

Potential Pollutants: Sediment, Hydrocarbons, Heavy Metals, Toxic Chemicals, Debris/Litter

|  | Current Activity | Frequency | Responsibility |
| --- | --- | --- | --- |
| Sweep vehicle storage parking lots annually | X | Annually | Public Works Department |
| Maintain spill kit onsite at all times | X | Continually | Public Works Department |
| Conduct all vehicle washing indoors/or qualified wash areas | X | Continually | Public Works Department |

3.3.a  Vehicle Storage

When vehicles and equipment are parked or stored outside without cover they have the potential to leak or drip hazardous fluids that can be carried to the stormwater system during a rain or snow melt event.  Vehicle storage areas shall be maintained according to the Storm Water Management Plan (SWMP) to prevent polluted stormwater discharge to surface waters of the state.

3.3.b  Vehicle Maintenance

Vehicle and equipment maintenance and repair conducted by Webb City may include vehicle fluid removal, engine repair, engine and parts cleaning, and various general maintenance activities.  All vehicle maintenance activities shall be conducted indoors or at a qualified outdoor facility to reduce potential polluted stormwater discharges to surface waters of the state.

3.3.c  Vehicle Washing

In accordance with Webb City’s Illicit Discharge Ordinance, vehicle wash water is prohibited from entering any part of the stormwater system that discharges to surface waters of the state.

  - Municipal Buildings

Webb City is responsible for the maintenance of City owned municipal buildings.  Municipal building maintenance includes cleaning, washing, painting, and landscape maintenance.  Potential pollutants from these activities include organic compounds, oil and grease, soap, heavy metals, and particulate matter.  All municipal building maintenance activities shall be conducted indoors, when possible, to reduce potential pollutant discharges into the stormwater system.  Table 3-4 shows the proposed activity, inspection frequency and responsibility for the municipal buildings.

Table 3-4

Municipal Buildings-

Activity, Frequency and Responsibility

Potential Pollutants: Sediment, Nutrients, Hydrocarbons, Heavy Materials, Toxic Chemicals, Debris/Litter

|  | Current Activity | Frequency | Responsibility |
| --- | --- | --- | --- |
| Maintain a spill kit onsite at all times | X | Continually | Custodial Supervisor at each location |
| Cover storm drain inlets prior to pressure washing (where required) | X | As Needed | Custodial Supervisor at each location |
| Properly clean maintenance equipment | X | Annually | Custodial Supervisor at each location |
| Properly clean painting equipment | X | Every Occurrence | Custodial Supervisor at each location |

3.4.a  Cleaning and Washing

Municipal building cleaning and washing activities may include washing of carpet and other interior items and/or conducting pressure washing of buildings, rooftops, and other large structures associated with a municipal building.  Wash water from municipal building washing practices has the potential to be contaminated with pollutants harmful to stormwater such as sediment and chemicals.

3.4.b  Painting

Painting activities associated with interior or exterior municipal buildings include surface preparation and application of paints, stains, finishes and other coatings.  Paints, stains, and finishes contain harsh chemicals and can contaminate stormwater.

3.4.c  Winter Activities

Winter activities around municipal buildings include deicing, sanding, and snow removal on sidewalks.  These activities protect public safety during inclement winter weather.

  - Parks and Open Space

Webb City is responsible for the maintenance of City owned parks and open space.  The maintenance of parks and open space areas frequently include fertilization, mowing, pesticide application, and supplemental irrigation.  Potential pollutants from these activities include nutrients, chemicals, organic debris, and sediment.  Improving the way park and open space maintenance activities are conducted can reduce the amount of stormwater pollution that is conveyed to local aquatic resources.  Table 3-5 shows the proposed activity, inspection frequency and responsibility for the parks and open space.

Table 3-5

Parks and Open Space-

Acticity, Frequency, and Responsibility

Potential Pollutants: Sediment, Nutrients, Heavy Metals, Pathogens, Toxic Chemicals, Debris/Litter

|  | Current Activity | Frequency | Responsibility |
| --- | --- | --- | --- |
| Properly apply pesticides, herbicides and fertilizers | X | Continually | Parks Director, Public Works Department |
| Inspect irrigation systems annually | X | Annually | Parks Director, Public Works Department |
| Manage trash on a regular basis | X | Continually | Parks Director, Public Works Department |
| Properly manage sediment and erosion during maintenance activities | X | Continually | Parks Director, Street Construction Supervisor |
| Follow proper landscape maintenance procedures and vegetation disposal | X | Continually | Parks Director, Street Construction Supervisor |

3.5.a  Vegetation Management

Proper turf management and landscape maintenance practices have the potential to reduce the amount of stormwater runoff and the amount of pollutants that drain to receiving waters.  Vegetated spaces provide an excellent opportunity to infiltrate precipitation as it falls and filter pollutants before they can be washed into the stormwater system.  Vegetation management includes maintaining landscaping throughout park and open space areas, erosion and sediment control, proper vegetation disposal, proper fertilization, pesticide and herbicide application, and controlling noxious weeds, pests, and unwanted vegetation growth.

3.5.b  Trash Management

Trash and debris removal helps prevent garbage and leachate from entering the stormwater conveyance system polluting receiving waters.

3.5.c  Storage Areas

Maintenance vehicles, equipment, and uncovered stockpiles have the potential to leak or contribute pollutants to the stormwater system during rain or snow melt events.  Vehicle, equipment, and material storage should be maintained according to the Storm Water Management Plan (SWMP).

  - Construction Projects

During construction, proper erosion and sediment controls should be used to prevent sediment-laden stormwater from flowing away from the site and into the stormwater collection and conveyance system.  The Missouri Department of Natural Resources (DNR) requires construction sites greater than one acre (or that are part of a common plan of development that accumulatively is greater than one acre) to document their planned sediment and erosion control techniques and to obtain an NPDES Construction Stormwater General Permit from DNR.

The following construction projects are required to have a NPDES Construction Stormwater General Permit:

- Clearing, grading and/or excavation (including forest practices) that results in the disturbance of one or more acres and discharges stormwater to surface waters of the State; or

- Clearing, grading and/or excavation on sites smaller than one or more acres that are part of a larger common plan of development or sale that will ultimately disturb one acre or more, and discharge stormwater to surface waters of the State; or

- Any size construction activity discharging stormwater to waters of the State that DNR determines to be a significant contributor of pollutants to waters of the State of Missouri or that DNR reasonably expects to cause a violation of any water quality standard.

The following construction activities are exempt from NPDES permit coverage:

- Construction activities that discharge all stormwater and non-stormwater to ground water, and have no point source discharge to either surface water or a storm sewer system that drains to surface waters of the State.

- Routine maintenance that is performed to maintain the original line and grade, hydraulic capacity, or original purpose of a facility.

Municipal projects that are subject to the NPDES Construction Stormwater Permit should refer to  the Webb City Storm Water Management Plan (SWMP) for information regarding required construction and erosion and sediment control design criteria and best management practices (BMPs).

  - Industrial Activities

Industrial activities require proper erosion and sediment controls to be used to prevent sediment-laden stormwater from flowing away from the site and into the stormwater collection and conveyance system.  Industrial activities are typically subject to the DNR issued Industrial Stormwater General Permit (Industrial Permit) that authorizes stormwater discharges associated with industrial activities.  The Industrial Permit requires the development and implementation of a Storm Water Pollution Prevention Plan (SWPPP) and a sampling plan to the permitted facility.

  - Material Storage Areas, Heavy Equipment Storage Areas and

Maintenance Areas

The Phase II Permit requires all material storage areas, heavy equipment storage areas, and maintenance areas to develop and implement a SWPPP to protect water quality and prevent the discharge of contaminated stormwater to surface or groundwater.  The SWPPP describes both operational and structural BMPs that will be implemented at each facility.

The following Webb City properties are covered by the SWPPP

- Public Works Department

- 110 E Church Street Annex

- City Hall

- Webb City Parks and Park Buildings

- 1st & Hall street Maintenance Barn

- 66 Event Center

- Route 66 & Chamber of Commerce Office

- Police Department

- Fire Department

A copy of the SWPPP must also be kept on hand at each of the facilities listed above.

The “Operations and Maintenance Site Visit Assessment Form” shall be used during the assessment of material storage, heavy equipment storage areas and maintenance areas.

3.9   Flood Management Projects

Webb City is responsible for the design and review of proposed flood management projects.  During the design of all new flood management projects, Webb City will require the use of engineers to assess the water quality impacts of the proposed project and consider the use of controls to minimize impacts to site hydrology.

  - Other Facilities

Webb City also conducts other maintenance activities that have the potential to impact waters of the State and stormwater runoff, such as;

- Sanitary Sewer System Maintenance

Section 4.  Best Management Practices (BMPs)

Please refer to Webb City’s Storm Water Management Plan (SWMP) for the list of BMPs that are to be used in municipal operations of the City.

Section 5.  Department Responsibility Summary

Individual Webb City Departments are responsible for facilities and activities that fall under their jurisdiction as follows described in Table 5-1.

Table 5-1

Department Responsibility

| Facilities and Activities | Responsible Department(s) | Facility/Activities (including but not limited to) |
| --- | --- | --- |
| Stormwater Collection and Conveyance System | Street Department, Parks Department, Maintenance | Catch basins, storm sewer pipes, open channels, ditches, culverts, swales, structural stormwater controls, and structural runoff treatment and/or flow control facilities, etc. |
| Roads, Highways, and/or Parking Lots | Street Department | Deicing, anti-icing, snow removal practices, snow disposal areas, material storage areas (e.g. salt, sand or other chemical), street and parking lot cleaning |
| Vehicle Fleets | Public Works Maintenance Department | Storage, washing, and maintenance of vehicle fleets |
| Municipal Buildings | Public Works, Parks, City Hall, Police, Fire, Sewer Departments | Cleaning, washing, painting and other building maintenance activities |
| Parks and Open Space | Parks, Public Works | Application of fertilizer, pesticides, and herbicides; sediment and erosion control; landscape maintenance; vegetation disposal, trash management, building exterior cleaning and maintenance |
| Construction Projects | Public Works Department | Construction activities that disturb 1 acre or more, or are less than 1 acre but are part of an overall development plan over 1 acre |
| Industrial Activities | Subject to NPDES Industrial Stormwater Permit and/or an NPDES Construction Permit | N/A |
| Material Storage Areas, Heavy Equipment Storage Areas and Maintenance Areas | Public Works, Parks | Material storage- all departments; heavy equipment storage and maintenance |
| Flood Management Projects | Public Works (with Engineering Assistance) | Review of flood management projects |
| Other Facilities | Wastewater Treatment Plant | Maintenance and repair of sanitary sewer system |

Section 6.  Recordkeeping and Reporting

The department conducting the specific operations and maintenance activity is responsible for keeping records of road and parking lot maintenance activities that have the potential to impact stormwater.  Recordkeeping required by the Phase II Permit is limited to documenting any liquid or material spills that could carry pollutants into the stormwater collection and conveyance system.

Spills should be reported to Public Works, and in the case of a hazardous chemical spill, 911 should be called immediately.  All paperwork related to the spill and cleanup activities should be reported to Public Works for stormwater reporting purposes and to the City’s Emergency Management Department for their recordkeeping efforts.

Section 7.  Training

Target employees shall include the following; all employees that perform maintenance or construction activities in areas subject to stormwater discharge to the municipal separate storm sewer system (MS4) that connect to surface waters of the state.  Examples include but may not be limited to: maintenance or construction work on public buildings; and maintenance or construction work on parks or open spaces.

Section 8.  Common Pollutants, Sources, and Impacts

Stormwater runoff contains pollutants that can harm human health, degrade water quality and habitat, and impair ecosystem functions.  These pollutants originate from vehicles, businesses, residential activities, and municipal activities, and include oil, hydrocarbons, heavy metals, deicers, sediment, household products, pesticides/herbicides, fertilizer, and bacteria.  During rain and snow melt events, stormwater runoff may accumulate these pollutants which are then washed into receiving waters.  Table 8-1 shows the sources of common stormwater pollutants and their potential impacts.

Table 8-1

Common Stormwater Pollutants, Sources, and Impacts

| Pollutant | Sources | Impacts |
| --- | --- | --- |
| Sediment | Construction sites; eroding stream banks; winter sand and salt application; vehicle/boat washing; agricultural sites | Destruction of plant & fish habitat; transportation of attached oils, nutrients & other pollutants; increased maintenance costs; plugged conveyance systems; flooding |
| Nutrients (phosphorus nitrogen) | Fertilizers, malfunctioning septic systems, livestock, bird & pet waste, vehicle/boat washing; grey water, decaying grass and leaves; sewer overflows; leaking trash containers, leaking sewer lines | Increased potential for nuisance or toxic algal blooms; increased potential for hypoxia/anoxia (low levels of dissolved oxygen which can kill aquatic organisms) |
| Hydrocarbons (petroleum compounds) | Vehicle and equipment leaks and emissions; pesticides; fuel spills; equipment cleaning; improper fuel storage & disposal | Toxic to humans and aquatic life at low levels |
| Heavy Metals | Vehicle brake and tire wear; vehicle/equipment exhaust; batteries; galvanized metal; paint and wood preservatives; fuels; pesticides; cleaners | Toxic to humans and aquatic life at low levels, drinking water contamination |
| Pathogens (bacteria) | Livestock, bird and pest wastes; malfunctioning septic systems; sewer overflows; damaged sanitary lines | Risk to human health leading to closure of swimming areas; drinking water contamination |
| Toxic Chemicals | Pesticides; dioxins; Polychlorinated Biphenyls (PCBs); spills, illegal discharges and leaks | Toxic to human and aquatic life at low levels |
| Debris/Litter | Improper waste disposal & storage; leaking rubbish containers, cigarette butts; littering | Potential risk to human & aquatic life, can clog conveyance systems; can cause flooding |

Appendix A

Inspection and Maintenance Checklist

Stormwater- Operations and Maintenance

Inspection and Maintenance Checklist

Stormwater Collection and Conveyance System

Date of Inspection:

Field Inspector(s): 				Reason for Inspection:

Rain: In Last 48 hrs:  yes/no		Major Storm Event Inspection:  yes/no

| Facility Type | Location | Code | Action Needed | Date Completed | Completed By |
| --- | --- | --- | --- | --- | --- |

Facility Types:

CB- Catch Basin	   DR- Drywell		  DET- Detention Facility	DP- Dry Pond

EV- Evaporation Pond  WP- Wet Pond	  M- Manhole			C- Culvert

RP- Retention Pond	   IP- Infiltration Pond	  RD- Roadside Ditch		S- Swale

IS- Infiltration Strip	   O- Other

Maintenance Codes:

- Accumulated Sediment

- Trash & Debris

- Vegetation Concerns

- Water Quality Concerns

- Impeded Water Flow

- Erosion

- Structural Repairs

- Cover/Frame/Grate

- Damaged Pipes

- Mosquito/Vector Breeding

- Other

- Could Not Locate

Appendix B

Site Visit Assessment Form

Stormwater- Operations and Maintenance

Stormwater Operations and Maintenance Site Visit Assessment Form

Inspector: 					Date:

Facility: 					Contact:

Parcel #: 					Lat: 		    Long:

1. Waste Management:	N/A?	□ Sketch location of dumpsters and used oil containers on site map.

Dumpsters: 	 Yes □ No □  BMPs □  Condition: Good □  Fair □ Poor □

Trash Compactors: Yes □ No □  BMPs □ Condition: Good □  Fair □  Poor □

Recycling Cont.:	   Yes □ No □  BMPs □ Condition: Good □  Fair □  Poor □

Petroleum Products Yes □ No □  BMPs □ Condition: Good □  Fair □  Poor □

Photos:

Notes

Photos:

2. Cleaning and Washing:   N/A?  Vehicles □      Heavy/Light Equipment □

Tools □ 	     Indoors □ Outdoors □

□ Sketch the drainage characteristics of the wash area on site map.

Wash water drains to: Catch Basin □  Drywell □  Swale □  Dirt □ Street □

Existing BMPs: Yes □  No □	Condition:  Good □  Fair □  Poor □

Photos:

Notes:

3. Transfer of Solids and Liquids:  N/A?

Containers: Barrels □  Bags □ Bottles □ Boxes □  Other

Secondary Containment:  Yes □  No □

Material Safety Data Sheets accessible:  Yes □  No □

Spill Clean-Up Kits:  Yes □ No □

Existing BMPs:  Yes □  No □    Condition: Good □  Fair □ Poor □

Photos:

Notes:

4. Production and Application Activities:  N/A?  Painting □  Coating □ Spraying □  Other □

□ Sketch location of production/application activities and drainage characteristics on site map.

Designated Locations  Yes □  No □     Indoors □    Outdoors □

Drainage Characteristics

Existing BMPs:  Yes □  No □    Condition: Good □ Fair □ Poor □

Photos:

Notes:

5. Material Storage:  N/A?  □ Sketch storage area locations and drainage characteristics on site map.

Type of Materials Stored:

Indoors □   Outdoors □    Drainage Characteristics:

Existing BMPs:  Yes □ No □    Condition: Good □  Fair □  Poor □

Photos:

Notes:

6. Vehicles and Equipment:  N/A?    Maintenance □  Parking □ Repair □  Storage □

□ Sketch locations of storage and parking areas, structures, surfaces, floor drains, drainage characteristics, and location of clean-up kits on site map.

Location:  Indoors □  Outdoors □    Structures: Yes □  No □  Shop Floor Clean: Yes □  No □

Surface Type:  Asphalt □  Concrete □  Dirt/Gravel □    Floor Drains: Yes □  No □

Drainage Characteristics:

Solid Wastes Disposed Properly: Yes □  No □   Leaks:  Yes □  No □

Spill Clean Up Kits Easily Accessible:  Yes □  No □

Photos:

Notes:

7. Dust, Erosion, Sediment, and Landscape Maintenance:  N/A?

□ Sketch erosion, sediment, and landscape maintenance on site map.

Dust Producing Activities: Yes □ No □

Exposed or Eroded Soils: Yes □  No □

Deposited Sediment: Yes □  No □

Pesticides/Herbicides Used: Yes □  No □

Stored in Lockable Cabinet:  Yes □  No □

Applied By Licensed Operators: Yes □  No □

Photos:

Notes:

8. Stormwater Drainage System:  N/A?	□ Sketch flow directions and storm drains on site map.

Type of system:

Does stormwater have ability to flow offsite: Yes □  No □

Does stormwater flow into storm drain outlets: Yes □  No □

MS4 Connection: Yes □  No □

Does stormwater come into contact with pollutants before leaving the site: Yes □  No □

List Potential Pollutants:

Existing Structural BMPs: Yes □  No □  Condition:  Good □  Fair □  Poor □

Photos:

Notes:

Standard Operating Procedures (SOPs) for:

Street Sweeping, Sweeper Cleaning and Waste Disposal

Purpose of SOP: Stormwater pollution prevention procedures for the operation of street sweepers, frequency of sweeping, disposal of debris, and cleaning of sweeper.

Location of SOP: Indicate where SOPs are kept- electronic or hard copy.  A hard copy of this SOP is in the Webb City Stormwater Management Plan notebook, located at the Public Works Department.

Administrator of SOP: Indicate who reviews and updates SOPs: Russell Ball and Rick Roth

Stormwater Protection Equipment and Materials

- 2016 Pelican

- Superior Broom

Standard Operating Procedures

Operation of Street Sweepers

- Operate all sweepers according to the manufacturer’s recommended procedures.

- While sweeping, drive between 3 and 18 mph.

- Make sure brushes and water spray hoses are functional before leaving the shop.

- Fill the water tank daily or as needed.

- Replace brushes when bristle length is less than 3 inches.

Sweeping Frequency

- Streets should be swept according to an established schedule.  The schedule is located at the Public Works Office.

| Area | (Suggested) Minimum Frequency | Actual Frequency |
| --- | --- | --- |
| Main Arterials | Every 2 weeks |  |
| Commercial Areas | Every 2 months |  |
| Industrial Areas | Monthly |  |
| Downtown Area | Every 2 weeks |  |
| Municipal Parking Lots | Monthly |  |
| Residential Areas | 2 x’s per year |  |
| Hot Spots | Every 2 weeks |  |
| Seasonal Sweeping | After leaf pickup in Fall or debris pickup in Spring |  |
| Winter Sand Removal | Within 4 days of snow/sanding event |  |
| Outdoor Special Events | After each event |  |

- List any “hotspot” areas that have been identified for extra sweeping.  ______________________________________________________________________________

- Sweep after outdoor special events (fairs, festivals and parades).

Disposal of Sweeper Wastewater and Debris

- Always decant sweeper wastewater into the sanitary sewer.

Decant areas are located at: ______________________________________________________

- Dispose of debris at the designated, temporary, storage area.  The debris storage areas should be on an impervious surface and bermed.  The temporary storage area is located at: ______________________________________________________________________________

- Inspect and maintain the temporary storage area daily for run-on or run-off or debris scattering.

- Debris should be disposed of regularly or as needed.

- How often is debris disposed of?  _______ x’s week	_______x’s month	Other________

- The permanent disposal site is located at: ______________________________________________________________________________

Cleaning the Sweeper

- Clean out solid debris and store in an impervious area or in a temporary disposal area such as a truck or dumpster.

- Scrape out left over debris from the hopper after the last dump of the day.  Dispose of waste in trash or dumpster or temporary storage area.

- Always wash sweepers in a wash area or wash bay that drains to sanitary sewer.

- The wash area is located at: _______________________________________________________

Other SOPs

- Do not wash down any streets or curbs for routine cleaning.

- If spills or illegal discharges are seen, report them immediately.

Employee Training

- All applicable employees should be trained in stormwater pollution prevention; including how to recognize and report illegal connections or discharges.

Record Keeping and Documentation

- Keep a written street sweeping schedule or prioritized routes.  This is located: At the Public Works Office

- The number of loads or cubic yards removed per area (or per week)

- The number of miles driven per area or route.

Keep a list of all employees trained in the facility’s Stormwater Pollution Prevention Plan.

Standard Operating Procedures (SOPs) for:

Waste Management, Storage and Disposal

Purpose of SOP: Stormwater pollution prevention procedures for proper management, handling and storage of waste, trash, or garbage to prevent the discharge of pollutants to storm water from waste handling and disposal.

Location of SOP: Indicate where SOPs are kept- electronic or hard copy.  A hard copy of this SOP is in the Webb City Stormwater Management Plan notebook, located at the Public Works Department.

Administrator of SOP: Indicate who reviews and updates SOPs: Russell Ball and Rick Roth

Stormwater Protection Equipment and Materials

- Dumpster covers or lids

- Tarps

- Spill Kit and equipment for dry clean up (socks, absorbant pads, kitty litter, broom, and dustpan)

- Berms

Standard Operating Procedures

Waste Management, Storage and Disposal

- All waste receptacles should be leak-tight with tight fitting lids or covers.  Plastic liners can be used to ensure leak tightness.

- Keep lids on dumpsters closed at all times unless adding or removing material.

- Place waste receptacles indoors or under a roof or overhang whenever possible.

- Locate dumpsters on a flat, paved surface and, if possible, install berms or curbs around the storage area to prevent run-on and run-off.

- Sweep up around outdoor waste containers regularly.

- Arrange for wastes to be picked up regularly and disposed of at approved disposal facilities.

- Waste Disposal Company: W.C.A. 	Phone: 623-6620

- Never place hazardous materials, liquids or liquid-containing wastes in a dumpster or trash receptacle.  If liquid wastes must be disposed of in the trash, absorb them with kitty litter or other absorbents before disposal.

- Non-hazardous liquid waste must be disposed of in the sanitary sewer (if approved) or transported to a disposal site that will accept that type of wastewater.

- Do not wash out waste containers or dumpsters outdoors unless the wastewater drains to the sanitary sewer or wash containers/dumpsters in a wash bay or floor drain that goes to the sanitary sewer.

- When working in the field, place all wastes and bring them back to the shop for proper disposal.

- Minimize waste by purchasing recyclable products that have minimal packaging.  Recycle cardboard, plastics and paper products.

Employee Training

- All applicable employees should be trained in general stormwater pollution prevention; including how to recognize and report illegal connections or discharges-annually or bi-annually.

Record Keeping and Documentation

- Keep a list of all employees trained in the facility’s Stormwater MS4 Office

- Keep records on all wastes disposed of including: hazardous waste manifests, trash removal statements (bills), receipts or invoices from recyclers.

Standard Operating Procedures (SOPs) for:

Vehicle and Equipment Washing

Purpose of SOP: To protect Stormwater using proper washing techniques, proper washing locations, and proper disposal of wash water for heavy and light-duty vehicles and equipment.

Location of SOP: Indicate where SOPs are kept- electronic or hard copy.  A hard copy of this SOP is in the Webb City Stormwater Management Plan notebook, located at the Public Works Department.

Administrator of SOP: Indicate who reviews and updates SOPs: Russell Ball and Rick Roth

Standard Operating Procedures

Vehicle and Equipment Washing

Always:

- Operate a closed system with wastewater recycling (such as a floor drain discharge to a holding tank), or

- Discharge to a municipal sanitary sewer, or

- Wash fewer than 30 vehicles per week and discharge to the ground surface, if

  - Vehicle washing BMPs are observed

  - The wash water:

*is not from power washing, steam cleaning, engine cleaning, or undercarriage cleaning

*does not contain soaps or other products that contain regulated contaminants, and

*does not discharge to a surface water.

Whenever Possible:

- Use a commercial car wash for light-duty vehicles

- Obtain and use drain guards (filter inserts) to catch sediments, petroleum products, etc., that might enter the storm drains because of vehicle washing.

- Minimize water and soap use when washing or rinsing vehicles.

Never:

- Never perform engine or undercarriage washing outside.

- Never wash vehicles over a storm drain or near drinking water wells.

- Never discharge wash water to a surface water.

Employee Training

- All applicable employees should be trained in general stormwater pollution prevention; including how to recognize and report illegal connections or discharges-annually or bi-annually.

Record Keeping and Documentation

- Keep a list of all employees trained in the facility’s Stormwater MS4 Office